RURAL HEALTH CLINIC (RHC)

EMERGENCY OPERATIONS PLAN

COMPLIANCE & REGULATORY REVIEW CHECKLIST

━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━

CMS Emergency Preparedness  •  RHC Conditions for Certification
Maine DLC / Professional Licensure & Credentialing  •  Maine FMO / Local AHJ

| Field | Facility Entry |
| --- | --- |
| Facility / Organization |  |
| Site / Location |  |
| Provider Type | Rural Health Clinic (RHC) |
| CMS Certification / CCN / PTAN |  |
| Prepared By |  |
| Review Date |  |

Designed for Maine Rural Health Clinics. This checklist integrates 42 CFR Part 491 and §491.12, CMS Appendix Z, CMS State Operations Manual Appendix G, current RHC survey/certification guidance, Maine DHHS/DLC oversight, Maine professional licensure and credential-verification expectations, laboratory/CLIA requirements, and applicable Maine State Fire Marshal / local-AHJ requirements.

Version: September 16, 2026

HOW TO USE THIS CHECKLIST A survey-readiness, EOP-development, certification, credentialing, and regulatory crosswalk for Maine RHCs

IMPORTANT REGULATORY NOTE This is an HCC-ME readiness and planning tool, not an official CMS, Maine DHHS/DLC, professional licensing board, Maine Office of State Fire Marshal, CLIA, accreditation, or local-AHJ survey form. Current statutes, regulations, CMS survey guidance, Maine rules, professional board requirements, and AHJ determinations control if they differ from this checklist.

## Purpose

Use this checklist to verify that a Rural Health Clinic (RHC) emergency preparedness program and Emergency Operations Plan contain the applicable CMS §491.12 elements; that the clinic can produce the policies, staffing, credentialing, referral, medical-emergency, laboratory, records, physical-plant, and program-evaluation evidence required by 42 CFR Part 491; and that applicable Maine certification, professional licensure, laboratory, public-health, fire/life-safety, and local requirements have been addressed. Appendices A and B consolidate the policy/procedure and regulatory crosswalks so each requirement can be mapped to the EOP or another controlled document.

## RHC-specific requirements and differences to keep visible

| Topic | RHC-specific application |
| --- | --- |
| CMS emergency preparedness review cycle | Under §491.12, the emergency plan, EP policies/procedures, communication plan, and training/testing program are reviewed and updated at least every 2 years. |
| Outpatient exercise cycle | RHCs test the emergency plan at least annually. Every 2 years the exercise is community-based full-scale, or a facility-based functional exercise when a community exercise is not accessible; the opposite year may use another qualifying exercise. |
| RHC certification and location | RHCs must meet 42 CFR Part 491, including rural/shortage-area location requirements and CMS certification. Permanent/mobile units and multiple locations have provider-specific approval rules. |
| Staffing / 50% rule | RHC staffing includes one or more physicians and one or more PAs or NPs; at least one PA or NP is an employee. An NP, PA, or CNM must be available to furnish patient care at least 50% of RHC operating time. |
| Medical direction | Only an MD or DO may serve as the RHC medical director under CMS Appendix G guidance; maintain current State licensure and promptly report medical-director changes to the State Survey Agency. |
| RHC medical emergencies | Separate from the all-hazards EOP, §491.9(c)(3) requires first-response medical emergency procedures and an appropriate supply of lifesaving drugs/biologicals. |
| RHC laboratory / CLIA | RHCs have provider-specific laboratory requirements under §491.9(c)(2) and 42 CFR Part 493. Current eCFR requires urine chemistry, blood glucose, pregnancy testing, and collection/transmittal of specimens for culturing. |
| Maine facility licensure applicability | Maine DLC’s current RHC materials emphasize Federal certification and do not identify a stand-alone RHC-specific State licensing chapter. Document the facility’s actual State/local licensure status and confirm applicability with DLC. |
| Maine professional licensure / credentialing | CMS requires the RHC to verify that staff and contracted personnel hold current State-required licenses, certifications, or registrations and practice within scope. Maintain auditable credential-verification records. |
| CMS Life Safety Code form | Do not automatically apply CMS-2786R K-tags to an RHC. The supplied CMS-2786R Health Care Occupancy form does not list RHC as a certification category. Determine Maine FMO/local-AHJ occupancy and any independent federal/state fire/life-safety layer based on actual services and building use. |

## Recommended workflow

| Step | Action | What to do |
| --- | --- | --- |
| 1 | Confirm RHC applicability | Document Medicare/CMS RHC certification, CMS-29/enrollment status, rural and shortage-area basis, site type/location(s), Maine/local facility-license applicability, CLIA status, and any integrated-system participation. |
| 2 | Complete CMS EP review | Work through Part I and identify the EOP section, policy, plan, record, agreement, or other evidence for each §491.12 requirement. |
| 3 | Complete Part 491 RHC review | Review certification/location, physical plant, medical direction, staffing, patient-care policies, medical-emergency response, laboratory/CLIA, referral arrangements, health records, and biennial program evaluation. |
| 4 | Verify licenses / credentials | Confirm current professional licensure/certification/registration for employees and contracted personnel, State-permitted scope, medical director, PA/NP/CNM requirements, and credential-verification procedures. |
| 5 | Complete Maine overlay | Review Maine DLC survey/certification responsibilities, medical-laboratory requirements, public-health reporting, professional boards, State Fire Marshal/local-AHJ occupancy and construction requirements, and other applicable State/local laws. |
| 6 | Close gaps and retain evidence | Use Appendices A/B, assign owners/dates, revise documents, train staff, test changes, and retain evidence sufficient for survey and program review. |

## Identifier key

| Identifier | Meaning |
| --- | --- |
| CMS-EP E-#### | CMS Appendix Z emergency preparedness survey tag. |
| CMS-RHC J-#### | CMS Appendix G RHC survey tag. |
| 42 CFR §491.12 | Federal Emergency Preparedness Conditions for Certification/Coverage for RHCs/FQHCs. |
| 42 CFR Part 491 | Federal RHC Conditions for Certification / related clinic requirements. |
| CLIA / 42 CFR Part 493 | Federal clinical laboratory requirements; Maine DLC administers applicable CLIA/laboratory oversight. |
| ME-DLC | Maine DHHS Division of Licensing & Certification certification/survey or State applicability item. |
| ME-PRO LIC | Maine professional licensure/certification/registration requirement through the applicable board. |
| ME-LAB Ch. 256 | 10-144 CMR Chapter 256, Maine Medical Laboratories and Health Screening Permits, when applicable. |
| ME-FMO / AHJ | Maine State Fire Marshal / local Authority Having Jurisdiction applicability or code requirement. |
| ME-CDC | Maine CDC public-health / reportable-disease requirement. |
| HCC-ME REC | HCC-ME recommended operational practice; not a stand-alone regulatory requirement. |
| CROSS-REG | Verification item connecting multiple regulatory layers. |

SOURCE INTERPRETATION NOTE RHC emergency preparedness is governed by §491.12, but a complete RHC readiness review also requires the rest of 42 CFR Part 491. Use the current eCFR text as controlling. CMS Appendix G (Rev. 223) remains the posted RHC survey manual, but some older passages reflect requirements that were subsequently revised. For example, CMS QSO-25-27-RHC directs surveyors to the updated RHC laboratory requirements. This checklist uses the current §491.9(c)(2) laboratory test list and flags any area where current law/guidance must be verified.

FACILITY APPLICABILITY PROFILE Complete before using the compliance tables

| Field | Facility Entry |
| --- | --- |
| Facility / Organization |  |
| RHC Site / Physical Address |  |
| County |  |
| CMS Certification Number / CCN / PTAN |  |
| NPI |  |
| CMS-29 / RHC Enrollment Status |  |
| RHC Structure | □ Independent □ Provider-based □ Other: __________ |
| Site Type | □ Permanent □ Mobile □ Multiple approved locations |
| Rural / Shortage-Area Basis |  |
| Maine / Local Facility License Status |  |
| CLIA Certificate Number / Type |  |
| Medical Director (MD/DO) |  |
| RHC Administrator / Person in Charge |  |
| Emergency Preparedness Lead |  |
| Facilities / Safety Lead |  |
| Date of Review |  |
| Next CMS EP Program Review Due |  |

## Regulatory / organizational profile

| Select | Select |
| --- | --- |
| □ Federally certified RHC | □ CMS-29 / enrollment information current |
| □ Independent RHC | □ Provider-based RHC |
| □ Permanent location | □ Mobile unit |
| □ Multiple permanent locations independently approved | □ Stand-alone EP program |
| □ Unified / integrated health-system EP program | □ CLIA certificate current / appropriate |
| □ One or more physicians on staff | □ One or more PA/NP on staff |
| □ At least one PA or NP is an RHC employee | □ NP/PA/CNM 50% operating-time requirement met |
| □ Maine/local clinic licensure applicability documented | □ Personnel license/credential verification system current |
| □ Maine FMO / local AHJ applicability verified | □ Rural-health-center pharmacy license applies / does not apply |

## Fire / life-safety and occupancy applicability

| Field | Facility determination / notes |
| --- | --- |
| CMS federal LSC K-tag layer | □ Not applicable solely because of RHC status □ Separate/co-located provider layer applies: __________ |
| Maine FMO / local occupancy classification | □ Business □ Ambulatory Health Care / Health Care □ Mixed □ Other / pending verification |
| Classification verified by | □ Maine FMO □ Local AHJ □ Design professional □ Other: __________ |
| Construction / renovation / change of use | □ None/currently N/A □ Planned/recent — permit/plan-review applicability verified |
| State-adopted NFPA / fire code layer | □ Applicability verified □ Open item / needs review |
| Emergency power / utilities | □ Risk/operations-based planning □ Required by separate code/service layer □ N/A / verified |

DO NOT AUTOMATICALLY APPLY CMS-2786R K-TAGS TO AN RHC The attached CMS-2786R is the 2012 Life Safety Code Health Care Occupancy survey form and identifies hospital, skilled/nursing facility, ICF/IID under Health Care, and hospice certification categories — not RHC. Appendix Z likewise lists other provider types, not RHCs, as having federal Life Safety Code fire-protection regulations. An RHC still must meet §491.6 physical-plant requirements and applicable Maine/local fire, building, accessibility, and occupancy rules. Determine the actual site occupancy and any separate/co-located provider requirements before applying K-tags.

PART I — RHC CMS EMERGENCY PREPAREDNESS COMPLIANCE CHECKLIST Core 42 CFR §491.12 / CMS Appendix Z requirements

## 1. Emergency Preparedness Program Administration

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0001 | A written emergency preparedness program is established and maintained for the RHC. | ☐ | ☐ | ☐ | ☐ |  |
| E-0001 | The RHC complies with applicable Federal, State, and local emergency preparedness requirements. | ☐ | ☐ | ☐ | ☐ |  |
| E-0004 | The program contains a written emergency preparedness plan. | ☐ | ☐ | ☐ | ☐ |  |
| E-0013 | The program contains emergency preparedness policies and procedures based on the plan, risk assessment, and communication plan. | ☐ | ☐ | ☐ | ☐ |  |
| E-0029 | The program contains a written emergency preparedness communication plan. | ☐ | ☐ | ☐ | ☐ |  |
| E-0036 | The program contains a documented training and testing program. | ☐ | ☐ | ☐ | ☐ |  |
| E-0001 | Emergency preparedness documentation can be produced in written/electronic form for survey review. | ☐ | ☐ | ☐ | ☐ |  |
| E-0004 | The RHC emergency plan is reviewed and updated at least every 2 years. | ☐ | ☐ | ☐ | ☐ |  |
| E-0013 | Emergency preparedness policies and procedures are reviewed and updated at least every 2 years. | ☐ | ☐ | ☐ | ☐ |  |
| E-0029 | The emergency communication plan is reviewed and updated at least every 2 years. | ☐ | ☐ | ☐ | ☐ |  |
| E-0036 | The training and testing program is reviewed and updated at least every 2 years. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Document control identifies the plan owner, version, approval/review dates, revision history, and controlled locations. | ☐ | ☐ | ☐ | ☐ |  |

## 2. Risk Assessment / Hazard Vulnerability Analysis

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0006 | A documented facility-based risk assessment has been completed. | ☐ | ☐ | ☐ | ☐ |  |
| E-0006 | A documented community-based risk assessment is incorporated or used to inform the emergency plan. | ☐ | ☐ | ☐ | ☐ |  |
| E-0006 | The assessment uses an all-hazards approach and reflects the RHC’s geographic location, services, infrastructure, and outpatient setting. | ☐ | ☐ | ☐ | ☐ |  |
| E-0006 | Natural hazards, human-caused hazards, facility/utility failures, cyber/communications interruption, supply disruption, and emerging infectious disease are considered as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| E-0006 | Strategies are documented for emergency events identified through the risk assessment. | ☐ | ☐ | ☐ | ☐ |  |
| E-0013 | Emergency P&Ps align with the risk assessment and selected response strategies. | ☐ | ☐ | ☐ | ☐ |  |
| E-0036/E-0039 | Training and testing reflect hazards and capabilities identified through the risk assessment. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | The HVA is reconsidered after major facility/service changes, actual events, exercises, community-risk changes, or significant infrastructure changes. | ☐ | ☐ | ☐ | ☐ |  |

## 3. Patient Population, Services & Continuity of Operations

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0007 | The emergency plan addresses the patient population served by the RHC and relevant vulnerabilities in an emergency. | ☐ | ☐ | ☐ | ☐ |  |
| E-0007 | The plan identifies the types of services the RHC can continue, modify, reduce, suspend, or redirect during an emergency. | ☐ | ☐ | ☐ | ☐ |  |
| E-0007 | Continuity of operations addresses essential personnel, essential functions, critical resources, records/data, alternate operating methods or sites, and other dependencies as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| E-0007 | Delegations of authority are documented for emergency activation and key decisions. | ☐ | ☐ | ☐ | ☐ |  |
| E-0007 | Succession planning identifies who assumes critical leadership/functions when normal leaders are unavailable. | ☐ | ☐ | ☐ | ☐ |  |
| RHC NOTE | The specific CMS phrase “persons at-risk” is not a required §491.12(a)(3) subelement for RHCs/FQHCs; nevertheless, the facility-based risk assessment should consider the actual needs and vulnerabilities of the population the RHC serves. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Plans address service interruption, emergency closure, alternate sites/telehealth/remote processes when permitted, urgent referrals, and continuity for time-sensitive patient needs. | ☐ | ☐ | ☐ | ☐ |  |

## 4. Cooperation & Collaboration with Emergency Preparedness Officials

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0009 | The emergency plan includes a process for cooperation and collaboration with local, tribal, regional, State, and Federal emergency preparedness officials. | ☐ | ☐ | ☐ | ☐ |  |
| E-0009 | The RHC can describe how it integrates with local/community emergency response, public health, emergency management, and healthcare partners. | ☐ | ☐ | ☐ | ☐ |  |
| E-0009 | The plan identifies how the RHC will receive official information, warnings, protective-action guidance, and resource/coordination requests. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Local/county EMA, Maine CDC/public health, EMS/fire/law enforcement, HCC-ME, utilities, and key vendors are included in planning contacts as appropriate. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Coalition or community-exercise participation is documented when used to support CMS compliance. | ☐ | ☐ | ☐ | ☐ |  |

## 5. Emergency Policies & Procedures Framework

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0013 | P&Ps are based on the emergency plan, facility/community risk assessment, and communication plan. | ☐ | ☐ | ☐ | ☐ |  |
| E-0013 | P&Ps identify the authority/process for initiating emergency response actions. | ☐ | ☐ | ☐ | ☐ |  |
| E-0013 | P&Ps distinguish actions for evacuation, shelter-in-place, service reduction/closure, continuity, staffing, communications, and recovery as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| E-0013 | P&Ps may be located in the EOP or maintained as separate controlled policies as long as the facility can clearly identify and produce the applicable documentation. | ☐ | ☐ | ☐ | ☐ |  |
| E-0013 | P&Ps are reviewed and updated at least every 2 years. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Interim revisions are made when significant changes in services, hazards, staffing, infrastructure, regulations, systems, or lessons learned make existing procedures inaccurate or unsafe. | ☐ | ☐ | ☐ | ☐ |  |

## 6. Safe Evacuation — RHC-Specific Requirement

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0020 / §491.12(b)(1) | A safe evacuation policy/procedure exists for the RHC. | ☐ | ☐ | ☐ | ☐ |  |
| E-0020 / §491.12(b)(1) | Appropriate exit signs are placed to guide patients and staff during evacuation. | ☐ | ☐ | ☐ | ☐ |  |
| E-0020 / §491.12(b)(1) | Staff responsibilities during evacuation are defined. | ☐ | ☐ | ☐ | ☐ |  |
| E-0020 / §491.12(b)(1) | The procedure addresses the needs of patients who may require assistance during evacuation. | ☐ | ☐ | ☐ | ☐ |  |
| E-0020 Guidance | The RHC considers mobility, clinical condition, communication/access needs, equipment dependence, and other actual patient needs when planning evacuation. | ☐ | ☐ | ☐ | ☐ |  |
| E-0020 Guidance | Evacuation decision authority, assembly/accountability process, primary/alternate routes, and external assistance are operationally defined as appropriate. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Procedures address how staff respond when a patient declines or is unable to follow evacuation instructions, consistent with patient safety and applicable law. | ☐ | ☐ | ☐ | ☐ |  |
| ME-FMO / AHJ | Exit signage, egress, and other fire/life-safety provisions are verified against the site’s actual Maine/local occupancy and code requirements. | ☐ | ☐ | ☐ | ☐ |  |

## 7. Shelter-in-Place

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0022 / §491.12(b)(2) | A policy/procedure provides a means to shelter in place for patients, staff, and volunteers who remain at the RHC. | ☐ | ☐ | ☐ | ☐ |  |
| E-0022 | Shelter-in-place criteria are aligned with the HVA and building/site capabilities. | ☐ | ☐ | ☐ | ☐ |  |
| E-0022 Guidance | The procedure addresses who may remain, designated safer areas, patient/staff needs, communications, security, sanitation, and access to essential supplies/services as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| E-0022 Guidance | The plan considers when sheltering is safer than immediate evacuation and when conditions require transition to evacuation/closure. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | The RHC identifies how patients with urgent/time-sensitive needs will be triaged, referred, transferred, or supported if sheltering delays normal care. | ☐ | ☐ | ☐ | ☐ |  |

## 8. Medical Documentation / EHR & Records Continuity

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0023 / §491.12(b)(3) | A system of medical documentation preserves patient information. | ☐ | ☐ | ☐ | ☐ |  |
| E-0023 / §491.12(b)(3) | The system protects confidentiality of patient information. | ☐ | ☐ | ☐ | ☐ |  |
| E-0023 / §491.12(b)(3) | The system secures and maintains the availability of records during emergencies. | ☐ | ☐ | ☐ | ☐ |  |
| 42 CFR §491.10 | Written records policies and procedures support complete, accurate, accessible, and systematically organized patient records. | ☐ | ☐ | ☐ | ☐ |  |
| 42 CFR §491.10 | Safeguards address loss, destruction, unauthorized use, and release/use of patient records. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | EHR/network downtime procedures identify paper forms, access to critical patient information, documentation during downtime, order/medication processes as applicable, and reconciliation after restoration. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Backup, cybersecurity, vendor dependency, and prolonged network/telecommunications outage are considered in the HVA and continuity strategy. | ☐ | ☐ | ☐ | ☐ |  |

## 9. Volunteers & Emergency Staffing Strategies

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0024 / §491.12(b)(4) | P&Ps address the use of volunteers in an emergency or document other emergency staffing strategies. | ☐ | ☐ | ☐ | ☐ |  |
| E-0024 / §491.12(b)(4) | The process and role for integration of State- or Federally-designated healthcare professionals is addressed for surge needs. | ☐ | ☐ | ☐ | ☐ |  |
| E-0024 Guidance | Credential/identity verification, role assignment, supervision, scope-of-practice, orientation, and documentation are addressed as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| E-0024 Guidance | The RHC identifies emergency call-back, reassignment/cross-coverage, contracted/agency staffing, and other staffing contingencies appropriate to its operations. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Fatigue/relief staffing, transportation, lodging, childcare, behavioral health, safety, and other staff-support needs are considered when prolonged operations are plausible. | ☐ | ☐ | ☐ | ☐ |  |

## 10. Emergency Communication Plan

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0029 / §491.12(c) | A written emergency communication plan exists, complies with Federal/State/local law, and is reviewed/updated at least every 2 years. | ☐ | ☐ | ☐ | ☐ |  |
| E-0030 / §491.12(c)(1) | The plan includes names/contact information for staff. | ☐ | ☐ | ☐ | ☐ |  |
| E-0030 / §491.12(c)(1) | The plan includes entities providing services under arrangement. | ☐ | ☐ | ☐ | ☐ |  |
| E-0030 / §491.12(c)(1) | The plan includes patients’ physicians, other RHCs/FQHCs, and volunteers as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| E-0031 / §491.12(c)(2) | Contact information is maintained for Federal, State, tribal, regional, and local emergency preparedness staff and other sources of assistance. | ☐ | ☐ | ☐ | ☐ |  |
| E-0032 / §491.12(c)(3) | Primary and alternate means exist for communicating with RHC staff. | ☐ | ☐ | ☐ | ☐ |  |
| E-0032 / §491.12(c)(3) | Primary and alternate means exist for communicating with Federal, State, tribal, regional, and local emergency management agencies. | ☐ | ☐ | ☐ | ☐ |  |
| E-0033 / §491.12(c)(4) | The communication plan includes a means to provide information about the general condition and location of patients under the RHC’s care as permitted by 45 CFR 164.510(b)(4). | ☐ | ☐ | ☐ | ☐ |  |
| E-0034 / §491.12(c)(5) | The RHC has a means to provide information about its needs and ability to provide assistance to the AHJ, Incident Command Center, or designee. | ☐ | ☐ | ☐ | ☐ |  |
| RHC NOTE | CMS occupancy reporting under E-0034 is not an RHC requirement; the RHC requirement is to report its needs and ability to provide assistance. | ☐ | ☐ | ☐ | ☐ |  |
| RHC NOTE | E-0035 sharing of emergency-plan information with residents/families is an LTC/ICF-IID requirement and is not an RHC §491.12 requirement. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Rural connectivity risks are addressed with practical alternate methods and clearly assigned responsibilities for use of alternate communications. | ☐ | ☐ | ☐ | ☐ |  |

## 11. Training Program

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0036 | A written training/testing program is based on the EOP, HVA, P&Ps, and communication plan. | ☐ | ☐ | ☐ | ☐ |  |
| E-0037 / §491.12(d)(1) | Initial emergency preparedness training is provided to new and existing staff, individuals providing services under arrangement, and volunteers, consistent with expected roles. | ☐ | ☐ | ☐ | ☐ |  |
| E-0037 / §491.12(d)(1) | Emergency preparedness training is provided at least every 2 years. | ☐ | ☐ | ☐ | ☐ |  |
| E-0037 / §491.12(d)(1) | Documentation of emergency preparedness training is maintained. | ☐ | ☐ | ☐ | ☐ |  |
| E-0037 / §491.12(d)(1) | Staff can demonstrate knowledge of emergency procedures appropriate to their roles. | ☐ | ☐ | ☐ | ☐ |  |
| E-0037 / §491.12(d)(1) | If emergency P&Ps are significantly updated, training is conducted on the updated P&Ps. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Training records identify date, content/objectives, audience/participants, instructor/method, and record location. | ☐ | ☐ | ☐ | ☐ |  |

## 12. Testing, Exercises & Actual Emergency Events

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0039 / §491.12(d)(2) | The RHC conducts at least one emergency-plan testing exercise each year. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 / §491.12(d)(2)(i) | At least every 2 years, the RHC participates in a community-based full-scale exercise, when accessible. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 / §491.12(d)(2)(i)(A) | When a community-based full-scale exercise is not accessible, the RHC conducts an individual facility-based functional exercise every 2 years. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 Guidance | If a community-based exercise is not used, the RHC documents efforts to identify/access one and the basis for using a facility-based functional exercise. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 / §491.12(d)(2)(ii) | In the opposite year, the RHC conducts an additional exercise that may be a second full-scale/functional exercise, mock disaster drill, or facilitator-led tabletop/workshop. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 / §491.12(d)(2)(i)(B) | A qualifying actual natural or human-caused emergency requiring EOP activation is documented if used for the regulatory exemption from the next required full-scale/functional exercise. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 Guidance | The actual-event exemption does not eliminate the separate opposite-year exercise-of-choice requirement. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 / §491.12(d)(2)(iii) | The RHC analyzes and documents response to drills, tabletop exercises, and actual emergency events and revises the EOP as needed. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 Guidance | Exercises are tied to the HVA, P&Ps, communication plan, and patient population/services and vary hazards/capabilities over time. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 Guidance | Participation is sufficient to meaningfully test the selected scenario/capability and is documented. | ☐ | ☐ | ☐ | ☐ |  |
| CMS Guidance | Retain enough exercise documentation to demonstrate the required testing cycle; Appendix Z recommends at least the past two cycles (generally 4 years for outpatient providers). | ☐ | ☐ | ☐ | ☐ |  |

## 13. Unified / Integrated Healthcare System Program (If Applicable)

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0042 / §491.12(e) | If the RHC participates in a unified/integrated healthcare-system EP program, participation is documented. | ☐ | ☐ | ☐ | ☐ |  |
| E-0042 | Each separately certified participating facility actively participated in development of the unified/integrated program. | ☐ | ☐ | ☐ | ☐ |  |
| E-0042 | The program accounts for the RHC’s unique circumstances, patient population, location, and services. | ☐ | ☐ | ☐ | ☐ |  |
| E-0042 | The RHC can demonstrate that it is capable of actively using the integrated program and complying with it. | ☐ | ☐ | ☐ | ☐ |  |
| E-0042 | The integrated plan includes a community-based all-hazards risk assessment. | ☐ | ☐ | ☐ | ☐ |  |
| E-0042 | An individual facility-based all-hazards risk assessment exists for the separately certified RHC. | ☐ | ☐ | ☐ | ☐ |  |
| E-0042 | Integrated P&Ps, communication, and training/testing meet §491.12 requirements. | ☐ | ☐ | ☐ | ☐ |  |
| E-0042 Guidance | The RHC’s involvement in required reviews/updates and changes in participating facilities is documented. | ☐ | ☐ | ☐ | ☐ |  |

## 14. After-Action Review, Improvement & Record Retention

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0039 | Exercise and actual-event response is analyzed and documented. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 | Strengths, gaps, corrective actions, responsible owners, and follow-up are documented. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 | The emergency plan and supporting P&Ps/communication/training are revised as needed based on lessons learned. | ☐ | ☐ | ☐ | ☐ |  |
| CMS Guidance | Exercise files can produce, as applicable, the exercise plan/scenario, objectives, participant evidence, evaluator notes, AAR/improvement documentation, and evidence of corrective-action integration. | ☐ | ☐ | ☐ | ☐ |  |
| CMS Guidance | For an actual-event exemption, documentation shows that the emergency program was activated and includes the after-action review/corrective actions. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Improvement items are tracked to closure and retested when appropriate. | ☐ | ☐ | ☐ | ☐ |  |

## 15. CMS Emergency Preparedness Elements That Are Not Core §491.12 RHC Requirements

| Identifier / Topic | Item | RHC application |
| --- | --- | --- |
| E-0015 | Subsistence / alternate energy P&P | Not a §491.12(b) RHC minimum P&P. Plan for utilities, supplies, medication/refrigeration, or alternate power when identified by the HVA, §491.6, site operations, or other applicable law/code. |
| E-0018 | On-duty staff / sheltered patient tracking | Not a §491.12 RHC minimum P&P. Staff/patient accountability and triage tracking remain useful operational practices when relevant. |
| E-0025 | Prearranged receiving-facility arrangements | Not a §491.12 RHC minimum P&P. However, RHCs separately must maintain agreements/arrangements for inpatient hospital care, physician services, and additional/specialized diagnostic/laboratory services under §491.9(d), or evidence referred patients are accepted and treated. |
| E-0026 | §1135 alternate-care-site role | Not included as a §491.12(b) RHC minimum P&P. Address waiver/flexibility issues when operationally relevant. |
| E-0035 | Sharing emergency-plan information with residents/families | CMS Appendix Z states this applies only to LTC and ICF/IID. |
| E-0041 | CMS EP emergency/standby power systems | The E-0041 provider-specific rule applies to hospitals, LTC facilities, and CAHs, not RHCs. RHC electrical/utility continuity may still be required or prudent under §491.6, HVA, service needs, Maine/local codes, or another separately applicable standard. |
| CMS-LSC K-tags / CMS-2786R | Federal Health Care Occupancy K-tag survey layer | Not the default RHC CMS survey overlay. Apply only if another certified/co-located service or separate federal occupancy requirement independently makes the form/tags applicable. |

PART II — RHC CONDITIONS FOR CERTIFICATION & OPERATIONAL READINESS 42 CFR Part 491 • CMS Appendix G • Current eCFR / CMS RHC policy updates

## 16. RHC Certification, Location & Facility Applicability — §§491.3–491.5

| Source / Tag | Requirement / Evidence | Status / Notes |
| --- | --- | --- |
| §491.3 | Medicare RHC certification is current; enrollment/certification documentation is retrievable. | □ Met □ Partial □ Not Met □ N/A Evidence: __________________ |
| CMS Appendix G | Initial/certification records include current CMS-required information, including Form CMS-29 as applicable. | □ Met □ Partial □ Not Met □ N/A Evidence: __________________ |
| §491.4(a) / J-0012 | Determine and document whether the clinic/site is subject to State or local facility licensure; maintain a current license if applicable. | □ Met □ Partial □ Not Met □ N/A Evidence: __________________ |
| §491.5(a) | RHC is located in a qualifying rural area designated as a shortage area, subject to applicable CMS exceptions. | □ Met □ Partial □ Not Met □ N/A Evidence: __________________ |
| §491.5(a) | Permanent/mobile unit status is accurately documented. | □ Met □ Partial □ Not Met □ N/A Evidence: __________________ |
| §491.5(a) | If services are furnished at more than one permanent unit, each location has been independently considered/approved as required. | □ Met □ Partial □ Not Met □ N/A Evidence: __________________ |
| CMS RHC Certification | Current ownership, responsible person, location, operating hours, and other certification/enrollment information match clinic operations. | □ Met □ Partial □ Not Met □ N/A Evidence: __________________ |
| ME-DLC / CMS | Changes affecting certification status, medical direction, staffing, ownership/location, or other reportable items are communicated through the applicable State Agency/CMS process. | □ Met □ Partial □ Not Met □ N/A Evidence: __________________ |

## 17. Physical Plant & Environment — §491.6

RHC CONDITIONS FOR CERTIFICATION — OPERATIONAL & CLINICAL LAYERS These requirements are separate from, but directly support, the emergency preparedness program

| Source / Tag | Requirement / Evidence | Status / Notes |
| --- | --- | --- |
| §491.6(a) | Clinic is constructed, arranged, and maintained to ensure patient access and safety and adequate space for direct services. | □ Met □ Partial □ Not Met □ N/A Evidence: __________________ |
| §491.6(b) | A preventive-maintenance program covers essential mechanical, electrical, and patient-care equipment. | □ Met □ Partial □ Not Met □ N/A Evidence: __________________ |
| §491.6(b) | Drugs and biologicals are appropriately stored, including temperature/security requirements as applicable. | □ Met □ Partial □ Not Met □ N/A Evidence: __________________ |
| §491.6(b) | Premises are maintained clean and orderly. | □ Met □ Partial □ Not Met □ N/A Evidence: __________________ |
| CROSS-REG | Utility, HVAC, refrigeration, communications, access, and critical equipment dependencies are incorporated into the HVA/EOP where interruption could affect patient safety or clinic operations. | □ Met □ Partial □ Not Met □ N/A Evidence: __________________ |
| ME-FMO / AHJ | The site’s actual fire/building occupancy and construction/renovation permit applicability are documented. | □ Met □ Partial □ Not Met □ N/A Evidence: __________________ |

## 18. Organizational Structure & Medical Direction — §491.7

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| §491.7(a) | Clinic is under the medical direction of a physician. | □ | □ | □ | □ |  |
| Appendix G / J-0061 | RHC medical director is an MD or DO with a current State-issued/recognized license. | □ | □ | □ | □ |  |
| Appendix G | Medical director name/address/contact information is documented and available. | □ | □ | □ | □ |  |
| Appendix G | Changes in the physician responsible for medical direction are promptly reported to the State Survey Agency with required information/evidence. | □ | □ | □ | □ |  |
| §491.7(a)(2) | Organizational policies, lines of authority, and responsibilities are clearly set forth in writing. | □ | □ | □ | □ |  |
| §491.7(b) | Owners, the person principally responsible for operations, and the person responsible for medical direction are disclosed/documented as required. | □ | □ | □ | □ |  |
| HCC-ME REC | Delegations/succession in the EOP align with the clinic’s actual organizational authority. | □ | □ | □ | □ |  |

## 19. Staffing & Staff Responsibilities — §§491.4(b) and 491.8

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| §491.8(a)(1) | Health care staff includes one or more physicians. | □ | □ | □ | □ |  |
| §491.8(a)(1) | RHC staff includes one or more physician assistants or nurse practitioners. | □ | □ | □ | □ |  |
| §491.8(a)(3) | At least one physician assistant or nurse practitioner is an employee of the RHC, unless a valid CMS waiver applies. | □ | □ | □ | □ |  |
| §491.8(a)(5) | Staffing is sufficient to provide services essential to RHC operations. | □ | □ | □ | □ |  |
| §491.8(a)(6) | A permitted practitioner is available to furnish patient care at all times the clinic operates. | □ | □ | □ | □ |  |
| §491.8(a)(6) | An NP, PA, or CNM is available to furnish patient care at least 50% of RHC operating time. | □ | □ | □ | □ |  |
| Appendix G | Schedules/records support actual on-site practitioner coverage and the 50% NP/PA/CNM calculation. | □ | □ | □ | □ |  |
| §491.8(b) | Physician responsibilities for medical direction, consultation/supervision, policy participation, record review, orders, and care are documented/implemented. | □ | □ | □ | □ |  |
| §491.8(c) | PA/NP responsibilities include policy participation, record review with physician, services within policy/scope, referral, and records transfer when applicable. | □ | □ | □ | □ |  |
| §491.4(b) | Clinical and ancillary staff required to be licensed/certified/registered hold current credentials and practice within State-permitted scope. | □ | □ | □ | □ |  |
| Appendix G | Contracted/arranged personnel are included in the clinic’s license/certification verification process. | □ | □ | □ | □ |  |
| CMS Waiver / if applicable | Any temporary RHC staffing waiver is current, documented, and tracked through expiration/renewal requirements. | □ | □ | □ | □ |  |

## 20. Patient Care Policies, Services & Referral Arrangements — §491.9

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| §491.9(a) | All services are furnished in accordance with applicable Federal, State, and local law. | □ | □ | □ | □ |  |
| §491.9(a) | RHC provides primary care services and meets current RHC service requirements. | □ | □ | □ | □ |  |
| §491.9(b)(1) | Health care services are furnished under appropriate written patient-care policies consistent with State law. | □ | □ | □ | □ |  |
| §491.9(b)(2) | Policies are developed with advice of a professional group including one or more physicians and one or more PAs or NPs; at least one member is not clinic staff. | □ | □ | □ | □ |  |
| §491.9(b)(3) | Policies describe services furnished directly and through agreement/arrangement. | □ | □ | □ | □ |  |
| §491.9(b)(3) | Policies include medical-management guidelines, conditions requiring consultation/referral, health-record maintenance, and review/evaluation procedures. | □ | □ | □ | □ |  |
| §491.9(b)(3) | Policies include rules for storage, handling, and administration of drugs and biologicals. | □ | □ | □ | □ |  |
| §491.9(b)(4) | Patient-care policies are reviewed at least biennially by the required professional group and as necessary by the RHC. | □ | □ | □ | □ |  |
| §491.9(d) | Agreements/arrangements exist with Medicare/Medicaid providers/suppliers for inpatient hospital care, physician services, and additional/specialized diagnostic/laboratory services not available at the RHC. | □ | □ | □ | □ |  |
| §491.9(d) | If arrangements are not written, evidence shows referred patients are accepted and treated. | □ | □ | □ | □ |  |
| CROSS-REG | Referral/transfer pathways are reflected in emergency closure, service interruption, and continuity procedures. | □ | □ | □ | □ |  |

## 21. First-Response Medical Emergencies & Emergency Drugs — §491.9(c)(3)

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| §491.9(c)(3) | Clinic provides medical emergency procedures as a first response to common life-threatening injuries and acute illness. | □ | □ | □ | □ |  |
| Appendix G / J-0136 | Staff are available and prepared to handle first-response medical emergencies whenever the RHC operates. | □ | □ | □ | □ |  |
| §491.9(c)(3) | Lifesaving drugs and biologicals commonly used in emergency procedures are available. | □ | □ | □ | □ |  |
| Appendix G | Written policies identify which emergency drugs/biologicals are maintained and the basis for type/quantity. | □ | □ | □ | □ |  |
| Appendix G | Emergency drug/biological inventory is current, available in policy-specified quantities, stored appropriately, and monitored for expiration. | □ | □ | □ | □ |  |
| CROSS-REG | Medical-emergency response is coordinated with EMS activation, emergency communications, and the all-hazards EOP without confusing routine medical emergencies with EOP activation criteria. | □ | □ | □ | □ |  |

## 22. RHC Laboratory / CLIA — §491.9(c)(2) & 42 CFR Part 493

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| §491.9(c)(2) | RHC laboratory services operate in accordance with 42 CFR Part 493 (CLIA). | □ | □ | □ | □ |  |
| Current §491.9(c)(2) | RHC can perform/provide chemical urine examination by stick/tablet method, including urine ketones. | □ | □ | □ | □ |  |
| Current §491.9(c)(2) | RHC can perform/provide blood glucose testing. | □ | □ | □ | □ |  |
| Current §491.9(c)(2) | RHC can perform/provide pregnancy testing. | □ | □ | □ | □ |  |
| Current §491.9(c)(2) | RHC can collect patient specimens for transmittal to a certified laboratory for culturing. | □ | □ | □ | □ |  |
| CLIA / Part 493 | Clinic holds a current CLIA certificate appropriate to the complexity/type of testing performed. | □ | □ | □ | □ |  |
| ME-LAB Ch. 256 | Maine medical-laboratory / health-screening permit or license requirements are identified and met as applicable. | □ | □ | □ | □ |  |
| CMS QSO-25-27-RHC | Survey/readiness materials use the current laboratory requirements rather than the older six-test list still visible in earlier Appendix G passages. | □ | □ | □ | □ |  |
| HCC-ME REC | Laboratory downtime, specimen transport, refrigeration, supply disruption, and result-communication dependencies are addressed in continuity planning as applicable. | □ | □ | □ | □ |  |

## 23. Patient Health Records, Privacy & Downtime — §491.10

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| §491.10(a) | Clinic maintains a clinical-record system in accordance with written P&Ps. | □ | □ | □ | □ |  |
| §491.10(a) | A designated professional staff member is responsible for complete, accurate, accessible, systematically organized records. | □ | □ | □ | □ |  |
| §491.10(a) | Records contain required patient identification/consent/history/assessment/episode/disposition/instructions and clinical documentation as applicable. | □ | □ | □ | □ |  |
| §491.10(b) | Records are protected from loss, destruction, unauthorized use, and inappropriate release. | □ | □ | □ | □ |  |
| §491.10(b) | Written P&Ps govern use/removal/release of records and patient consent where required. | □ | □ | □ | □ |  |
| §491.10(c) | Records are retained at least 6 years from last entry and longer when required by State law. | □ | □ | □ | □ |  |
| §491.12(b)(3) | Emergency documentation preserves patient information, confidentiality, and availability during disruptions. | □ | □ | □ | □ |  |
| HCC-ME REC | EHR/cyber downtime procedures include paper workflow, order/medication/lab processes, secure storage, restoration, reconciliation, and vendor escalation. | □ | □ | □ | □ |  |

## 24. Biennial Program Evaluation & Corrective Action — §491.11

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| §491.11(a) | RHC carries out or arranges for a biennial evaluation of its total program. | □ | □ | □ | □ |  |
| §491.11(b) | Evaluation reviews utilization, including patients served and volume of services. | □ | □ | □ | □ |  |
| §491.11(b) | Evaluation reviews a representative sample of active and closed clinical records. | □ | □ | □ | □ |  |
| §491.11(b) | Evaluation reviews the clinic’s health care policies. | □ | □ | □ | □ |  |
| §491.11(c) | Evaluation determines appropriateness of utilization, adherence to policies, and needed changes. | □ | □ | □ | □ |  |
| §491.11(d) | Clinic staff consider findings and take corrective action when necessary. | □ | □ | □ | □ |  |
| CROSS-REG | EP exercise/AAR findings, actual events, patient-safety trends, and operational disruptions are incorporated into corrective-action/program-review processes when relevant. | □ | □ | □ | □ |  |

## 25. Professional Licensure, Credential Verification & Scope-of-Practice Evidence

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| §491.4(b) / J-0013 | Clinic has written procedures to determine and verify that personnel are properly licensed, certified, and/or registered. | □ | □ | □ | □ |  |
| Appendix G | Verification process covers both employees and personnel working under contract/arrangement. | □ | □ | □ | □ |  |
| ME-PRO LIC | Credential file identifies licensing board, credential type/number, status, expiration/renewal date, and verification date/source. | □ | □ | □ | □ |  |
| ME-PRO LIC | MD/DO medical director and physicians hold current Maine-issued/recognized licenses. | □ | □ | □ | □ |  |
| ME-PRO LIC | PAs hold an active Maine license and clinic verifies current State requirements affecting scope, practice agreements/collaboration, or employment notices as applicable. | □ | □ | □ | □ |  |
| ME-PRO LIC | NP/CNM/APRN staff hold active nursing/APRN licensure and required national certification; applicable Maine supervision requirements are documented. | □ | □ | □ | □ |  |
| ME-PRO LIC | RNs/LPNs and other licensed nursing personnel have current credentials appropriate to assigned duties. | □ | □ | □ | □ |  |
| ME-PRO LIC | Clinical social workers, psychologists, marriage/family therapists, mental health counselors, and other regulated professionals are licensed/registered as required for services furnished. | □ | □ | □ | □ |  |
| CLIA / ME-LAB | Laboratory personnel meet qualification/certification requirements applicable to the testing complexity and laboratory license/certificate. | □ | □ | □ | □ |  |
| Scope / supervision | Assigned duties, supervision, delegation, emergency roles, and cross-coverage remain within each worker’s State-permitted scope and competence. | □ | □ | □ | □ |  |
| HCC-ME REC | Credentialing/privileging files include education/training and organization-specific competency/privilege evidence as applicable; emergency volunteer verification process is cross-referenced to §491.12(b)(4). | □ | □ | □ | □ |  |

PART III — MAINE REGULATORY, LICENSURE, PUBLIC HEALTH & FIRE/LIFE-SAFETY OVERLAY Maine DHHS/DLC • Professional Boards • CLIA/Laboratory • Maine FMO / Local AHJ • Maine CDC

## 26. Maine DHHS / DLC — RHC Certification, Survey & Facility-Licensure Applicability

| Source | Topic | Checklist expectation |
| --- | --- | --- |
| ME-DLC | Federal certification | Maine DLC identifies RHCs as federally certified providers; retain current CMS certification/enrollment evidence and DLC correspondence. |
| ME-DLC | Survey role | DLC conducts RHC certification, recertification, complaint, and revisit surveys under its CMS State Survey Agency responsibilities. |
| ME-DLC / §491.4(a) | State/local facility license applicability | Document whether a separate State/local clinic/facility license applies. Current Maine DLC RHC materials do not list a stand-alone RHC-specific State licensing chapter; confirm the site’s actual status with DLC and retain the basis. |
| ME-DLC | Provider changes | Changes affecting provider information/certification are reported through current DLC/CMS processes as applicable. |
| CMS Appendix G | Medical director changes | Promptly notify the State Survey Agency of a change in the physician responsible for medical direction and provide required identifying/licensure information. |
| CMS / ME-DLC | Survey evidence | Current plans of correction, survey findings, waivers, approvals, and corrective-action evidence affecting readiness are retrievable and cross-referenced. |

## 27. Maine Professional Licensure & Credentialing

| Source | Profession / Topic | Checklist expectation |
| --- | --- | --- |
| Maine Board of Licensure in Medicine / Osteopathic Board | MD / DO | Verify active Maine-issued/recognized physician license; the medical director must be an MD/DO under CMS RHC guidance. |
| Maine medical / osteopathic boards | Physician Associate | Verify active Maine PA license and current requirements affecting practice relationship, notice, scope, and supervision/collaboration as applicable. As of Apr. 3, 2026, practice agreements are no longer required for PAs with more than 4,000 verified clinical hours; verify current Board requirements. |
| Maine State Board of Nursing | NP / CNM / APRN | Verify active RN/APRN licensure, national certification, specialty, and any required supervisory relationship. Maine Board materials currently describe a 2-year NP supervision requirement. |
| Maine State Board of Nursing | RN / LPN | Verify active license and assigned duties/delegation within scope. |
| Maine OPOR / applicable board | Behavioral health professionals | Verify active licenses for clinical social workers, psychologists, marriage and family therapists, mental health counselors, and other regulated professionals when employed/contracted. |
| §491.4(b) / Appendix G | Contracted personnel | Apply credential verification to personnel furnishing services under contract/arrangement, not only employees. |
| CROSS-REG | Emergency staffing | Emergency volunteer/temporary personnel verification, role assignment, scope, and supervision are consistent with normal State licensure requirements and any lawful emergency flexibilities. |

## 28. Maine Medical Laboratory / CLIA

| Source | Topic | Checklist expectation |
| --- | --- | --- |
| 42 CFR Part 493 / ME-DLC | CLIA certificate | Maintain a current CLIA certificate appropriate to the testing performed; make it readily retrievable for RHC survey/readiness review. |
| 10-144 CMR Ch. 256 | Maine medical-laboratory rules | Identify and comply with Maine Medical Laboratory / Health Screening Permit requirements applicable to the site and testing performed. |
| ME-DLC | Laboratory applications/changes | Maintain current Maine laboratory license/permit applications, approvals, and reportable changes as applicable. |
| CROSS-REG | Emergency continuity | Address reagent/supply shortages, specimen transport, refrigerator/freezer outage, lab-system downtime, critical results, and alternate certified laboratory arrangements as applicable. |

## 29. Maine State Fire Marshal / Local AHJ — Occupancy, Construction & Fire/Life Safety

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| ME-FMO / AHJ | Verify actual site occupancy classification and governing fire/building code requirements; do not assign occupancy solely from the RHC provider label. | □ | □ | □ | □ |  |
| ME-FMO | Current applicable State-adopted NFPA standards are identified for the site, including NFPA 1, 10, 13-series, 25, 72, 80, 99, 101, 110 and others as applicable. | □ | □ | □ | □ |  |
| ME-FMO | Construction, alteration, renovation, or change-of-use projects are screened for State/local plan review and permit requirements before work begins. | □ | □ | □ | □ |  |
| ME-FMO guidance | Maine identifies ambulatory outpatient clinics as examples of Business occupancy and ambulatory care centers as Health Care occupancy; actual classification is verified by the appropriate AHJ/design authority. | □ | □ | □ | □ |  |
| ME-FMO / AHJ | Required fire alarms, extinguishers, sprinklers, egress, emergency lighting, door/locking, generator/electrical, and other systems are inspected/tested/maintained under the code applicable to the site. | □ | □ | □ | □ |  |
| CMS-2786R applicability | CMS-2786R/K-tags are not used as the default RHC federal survey checklist; any separate applicability is documented. | □ | □ | □ | □ |  |

## 30. Maine CDC / Public Health

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| ME-CDC Ch. 258 | Current Maine notifiable-disease reporting requirements are incorporated into clinical/infection procedures as applicable. | □ | □ | □ | □ |  |
| ME-CDC Ch. 258 | Clinic has a defined process/responsible role for reporting recognized or strongly suspected notifiable diseases/conditions when required. | □ | □ | □ | □ |  |
| CMS EP / HVA | Emerging infectious disease/pandemic effects on staffing, PPE, patient flow, isolation/source control, supplies, communication, and public-health coordination are included in the all-hazards program. | □ | □ | □ | □ |  |
| HCC-ME REC | Current Maine CDC Health Alert Network / public-health guidance channels and local public-health/EMA contacts are identified. | □ | □ | □ | □ |  |

## 31. Other Maine / Local Applicability Checks — If Applicable

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| Title 32 §13762 / if applicable | If the rural health center contracts for pharmaceutical services under Maine’s rural-health-center pharmacy provisions, applicable Board of Pharmacy licensure is current. | □ | □ | □ | □ |  |
| Maine Pharmacy / other law | Medication storage, dispensing, controlled-substance, and pharmacy service requirements are identified for the services actually furnished. | □ | □ | □ | □ |  |
| ME-FMO / accessibility / local | Accessibility, barrier-free construction, local building/zoning, and municipal permit obligations are identified for the site/project as applicable. | □ | □ | □ | □ |  |
| Other accreditation / payer | Any accreditation, organizational, or payer requirements that exceed CMS/Maine minimums are separately identified and cross-referenced. | □ | □ | □ | □ |  |

CORRECTIVE ACTION / GAP CLOSURE LOG Use for requirements marked Partial or Not Met and for readiness improvements identified during review

| # | Finding / Gap | Corrective Action | Owner | Due Date | Completion / Evidence |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |
| 11 |  |  |  |  |  |
| 12 |  |  |  |  |  |

CLOSE THE LOOP A revised document alone may not close a gap. Determine whether the change also requires staff communication/training, exercise or validation, updated contact/vendor information, leadership approval, and evidence of completion.

APPENDIX A — RHC POLICIES & PROCEDURES CROSSWALK Identify what should exist, the basis, where it is addressed, controlled location, owner, review date, and status

A separate stand-alone policy is not required for every row. CMS permits flexible organization. The facility should be able to show where the required element is addressed and produce the current controlled document. “EOP / Separate” should identify whether the subject is embedded in the EOP, maintained as a separate policy/procedure, or addressed by both.

| Policy / Procedure Subject | Applicable Basis | Source Layer | EOP / Separate? | Facility Policy / Document Name | Controlled Location | Owner | Last Review | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Emergency preparedness program governance & document control | §491.12 / E-0001, E-0004 | CMS | EOP / Admin policy |  |  |  |  |  |
| Facility & community risk assessment / HVA | §491.12(a)(1) / E-0006 | CMS | EOP + HVA |  |  |  |  |  |
| Emergency strategies for identified hazards | §491.12(a)(2) | CMS | EOP / hazard annexes |  |  |  |  |  |
| Patient population / service continuity / COOP | §491.12(a)(3) / E-0007 | CMS | EOP / COOP |  |  |  |  |  |
| Delegations of authority / succession | §491.12(a)(3) | CMS | EOP / governance |  |  |  |  |  |
| Cooperation with emergency officials | §491.12(a)(4) / E-0009 | CMS | EOP / coordination |  |  |  |  |  |
| EP P&P governance / review | §491.12(b) / E-0013 | CMS | EOP / policy index |  |  |  |  |  |
| Safe evacuation / exit signage | §491.12(b)(1) / E-0020 | CMS + AHJ | EOP / evacuation |  |  |  |  |  |
| Shelter-in-place | §491.12(b)(2) / E-0022 | CMS | EOP / SIP |  |  |  |  |  |
| Medical documentation / EHR downtime | §491.12(b)(3) / E-0023; §491.10 | CMS | EOP + records policy |  |  |  |  |  |
| Emergency staffing / volunteers | §491.12(b)(4) / E-0024 | CMS + State scope | EOP / staffing |  |  |  |  |  |
| Emergency communication plan | §491.12(c) / E-0029 | CMS | EOP / communication |  |  |  |  |  |
| Emergency contacts / alternate communications | §491.12(c)(1)-(3) | CMS | Directory / communication |  |  |  |  |  |
| Patient condition/location information | §491.12(c)(4) | CMS / HIPAA | Communication / privacy |  |  |  |  |  |
| Needs / ability-to-assist reporting | §491.12(c)(5) | CMS | Situational awareness |  |  |  |  |  |
| EP training program | §491.12(d)(1) / E-0037 | CMS | Training plan/log |  |  |  |  |  |
| EP exercise/testing program | §491.12(d)(2) / E-0039 | CMS | Exercise tracker |  |  |  |  |  |
| AAR / corrective action / program revision | §491.12(d)(2)(iii) | CMS | AAR/IP tracker |  |  |  |  |  |
| Integrated health-system EP participation | §491.12(e) / E-0042 | CMS | System program + site evidence |  |  |  |  |  |
| RHC certification / CMS-29 / enrollment | §491.3-§491.5 | CMS | Certification records |  |  |  |  |  |
| State/local facility licensure applicability | §491.4(a) / J-0012 | CMS + Maine/local | Compliance file |  |  |  |  |  |
| Personnel licensure / certification verification | §491.4(b) / J-0013 | CMS + ME boards | Credentialing policy |  |  |  |  |  |
| Physical plant / preventive maintenance | §491.6 | CMS + FMO/AHJ | Facilities policy / PM logs |  |  |  |  |  |
| Medical direction / medical director | §491.7 | CMS + ME medical boards | Org / medical direction |  |  |  |  |  |
| Organizational authority / disclosure | §491.7 | CMS | Org chart / enrollment |  |  |  |  |  |
| Staffing / practitioner coverage | §491.8 | CMS + ME professional boards | Staffing policy/schedules |  |  |  |  |  |
| PA/NP employee requirement | §491.8(a)(3) | CMS | HR/personnel records |  |  |  |  |  |
| NP/PA/CNM 50% operating-time coverage | §491.8(a)(6) | CMS | Coverage calculation/schedules |  |  |  |  |  |
| Physician responsibilities | §491.8(b) | CMS | Medical direction policy |  |  |  |  |  |
| PA/NP responsibilities / referral / record transfer | §491.8(c) | CMS | Clinical policy |  |  |  |  |  |
| Patient care policies | §491.9(b) | CMS | Clinical policy manual |  |  |  |  |  |
| Medical consultation / referral criteria | §491.9(b) | CMS | Clinical/referral policy |  |  |  |  |  |
| Drug/biological storage, handling, administration | §491.9(b)(3)(iii); §491.6(b) | CMS + State | Medication policy |  |  |  |  |  |
| First-response medical emergency procedures | §491.9(c)(3) | CMS | Emergency medical response |  |  |  |  |  |
| Emergency drugs / biologicals inventory | §491.9(c)(3); Appendix G | CMS | Medication / emergency cart records |  |  |  |  |  |
| RHC laboratory / required basic services | §491.9(c)(2) | CMS | Lab policy |  |  |  |  |  |
| CLIA / Maine laboratory compliance | 42 CFR Part 493; Ch. 256 | CMS + Maine | Lab compliance file |  |  |  |  |  |
| Services through agreement / arrangement | §491.9(d) | CMS | MOUs / contracts / referral |  |  |  |  |  |
| Patient health records / confidentiality / release | §491.10 | CMS + privacy law | Records policy |  |  |  |  |  |
| Record retention | §491.10(c) | CMS + State law | Records policy |  |  |  |  |  |
| Biennial program evaluation | §491.11 | CMS | Program evaluation |  |  |  |  |  |
| Maine notifiable-disease reporting | 10-144 CMR Ch. 258 | ME-CDC | Infection/public health |  |  |  |  |  |
| Maine FMO / AHJ occupancy & fire safety | State/local code applicability | Maine/local | Facilities/fire safety |  |  |  |  |  |
| Rural-health-center pharmacy license | Title 32 §13762 if applicable | Maine Pharmacy | Pharmacy services policy |  |  |  |  |  |
| Cybersecurity / prolonged IT outage | HVA + §491.12(b)(3) | CMS / HCC-ME REC | EOP / downtime |  |  |  |  |  |
| Clinic closure / reopening / alternate service delivery | HVA / COOP | HCC-ME REC | EOP / COOP |  |  |  |  |  |
| Supply chain / critical supplies / refrigeration | HVA / §491.6 | CMS / HCC-ME REC | EOP / supply continuity |  |  |  |  |  |

APPENDIX B — RHC REGULATORY CROSSWALK Crosswalk each requirement to Federal, Maine/State/local source, EOP section, facility evidence, review date, and status

| Topic / Requirement | Federal CMS / Other Source | Maine / State / Local Source | Suggested EOP Section | Facility Policy / Document Location | Last Review | Status |
| --- | --- | --- | --- | --- | --- | --- |
| EP program / written plan | §491.12(a); E-0001/E-0004 | — | EOP Administration |  |  |  |
| Risk assessment / HVA | §491.12(a)(1); E-0006 | Community/local hazard sources | HVA / Risk Assessment |  |  |  |
| Emergency strategies | §491.12(a)(2); E-0006 | — | Hazard Strategies |  |  |  |
| Patient population / services / COOP | §491.12(a)(3); E-0007 | — | COOP / Services |  |  |  |
| Delegation / succession | §491.12(a)(3) | — | Governance / COOP |  |  |  |
| Emergency-official collaboration | §491.12(a)(4); E-0009 | MEMA/EMA/Maine CDC/HCC-ME | Command & Coordination |  |  |  |
| EP P&Ps | §491.12(b); E-0013 | — | Policy Index |  |  |  |
| Safe evacuation / exit signs | §491.12(b)(1); E-0020 | ME-FMO/local AHJ | Evacuation |  |  |  |
| Shelter-in-place | §491.12(b)(2); E-0022 | ME-FMO/local AHJ as applicable | Shelter-in-Place |  |  |  |
| Records / EHR downtime | §491.12(b)(3); E-0023; §491.10 | HIPAA / applicable Maine law | Records / Downtime |  |  |  |
| Emergency staffing / volunteers | §491.12(b)(4); E-0024 | Maine professional licensure/scope | Staffing / Volunteers |  |  |  |
| Emergency communication | §491.12(c); E-0029-E-0034 | Federal/State/local law | Communication Plan |  |  |  |
| EP training | §491.12(d)(1); E-0037 | — | Training Plan |  |  |  |
| EP testing / annual exercise | §491.12(d)(2); E-0039 | Community/HCC exercise opportunities | Exercise Plan / Tracker |  |  |  |
| Integrated health-system EP | §491.12(e); E-0042 | — | System Program + Site Evidence |  |  |  |
| RHC certification procedures | §491.3 | ME-DLC / CMS State Agency | Certification File |  |  |  |
| Clinic/facility licensure applicability | §491.4(a); J-0012 | Maine/local licensing as applicable | Compliance / Licensure |  |  |  |
| Personnel licensure/certification | §491.4(b); J-0013 | ME professional boards | Credentialing |  |  |  |
| Rural/shortage location | §491.5 | CMS/HRSA designation data | Certification / Site Profile |  |  |  |
| Physical plant / access/safety | §491.6(a) | ME-FMO/local building/accessibility | Facilities |  |  |  |
| Preventive maintenance | §491.6(b) | ME-FMO/local as applicable | Facilities / PM |  |  |  |
| Medical direction | §491.7; Appendix G J-0061 | ME medical/osteopathic boards | Organization / Medical Direction |  |  |  |
| Organization / disclosures | §491.7 | ME-DLC/CMS enrollment | Organization |  |  |  |
| Physician + PA/NP staffing | §491.8(a) | ME professional boards | Staffing |  |  |  |
| PA/NP employee requirement | §491.8(a)(3) | Employment records | Staffing / HR |  |  |  |
| NP/PA/CNM 50% coverage | §491.8(a)(6) | — | Staffing Schedules |  |  |  |
| Physician responsibilities | §491.8(b) | ME physician scope | Medical Direction |  |  |  |
| PA/NP responsibilities | §491.8(c) | ME PA/APRN scope | Clinical Policies |  |  |  |
| Patient care policies | §491.9(b) | Applicable State law | Clinical Policy Manual |  |  |  |
| First-response medical emergencies | §491.9(c)(3); Appendix G | EMS/local response interface | Medical Emergency Response |  |  |  |
| Emergency drugs/biologicals | §491.9(c)(3) | Pharmacy law as applicable | Medication / Emergency Supply |  |  |  |
| RHC laboratory services | §491.9(c)(2); QSO-25-27-RHC | ME Ch. 256 / DLC | Laboratory |  |  |  |
| CLIA certificate | 42 CFR Part 493 | ME-DLC Medical Laboratories | Laboratory Compliance |  |  |  |
| Referral / agreement / arrangement | §491.9(d) | — | Referral / MOUs |  |  |  |
| Patient records / privacy | §491.10 | HIPAA / applicable Maine law | Records |  |  |  |
| Record retention | §491.10(c) | Maine law if longer | Records Retention |  |  |  |
| Biennial program evaluation | §491.11 | — | Program Evaluation |  |  |  |
| Maine RHC survey oversight | 42 CFR Part 491 / CMS State Agency | ME-DLC | Compliance / Survey |  |  |  |
| Notifiable disease reporting | — | 10-144 CMR Ch. 258 | Infection / Public Health |  |  |  |
| Fire/building occupancy | §491.6 / separate federal layer if any | ME-FMO / local AHJ | Fire / Life Safety |  |  |  |
| Construction / renovation permits | — | ME-FMO / local code | Facilities / Projects |  |  |  |
| State-adopted NFPA standards | — | ME-FMO | Fire / Life Safety |  |  |  |
| Rural-health-center pharmacy services | — | Title 32 §13762 if applicable | Pharmacy Services |  |  |  |

OFFICIAL SOURCES & VERSION REFERENCES Primary authorities and official resources used to develop this RHC checklist

VERSION NOTE Federal and Maine sources were reviewed September 16, 2026. The eCFR Part 491 page was current through September 14, 2026. Regulations, CMS manuals/memos, professional-board rules, Maine rules, and State-adopted fire-code editions can change. Current controlling sources govern. CMS Appendix G Rev. 223 remains the posted RHC survey manual, but the current eCFR and later CMS policy memoranda must be used where requirements changed, including the updated RHC laboratory test list.

## Primary Federal CMS sources

| CMS / eCFR | 42 CFR Part 491, Subpart A — RHC Conditions for Certification Official link | Controlling federal RHC regulation, including §§491.3–491.12. |
| --- | --- | --- |
| CMS / Federal | 42 CFR §491.12 — Emergency Preparedness for RHCs/FQHCs Official link | Provider-specific emergency preparedness regulation. |
| CMS | State Operations Manual, Appendix Z — Emergency Preparedness Official link | EP E-tags, interpretive guidance, survey procedures, and provider-specific exceptions. |
| CMS | State Operations Manual, Appendix G — Rural Health Clinics Official link | RHC survey protocol, J-tags, interpretive guidance, and survey procedures (Rev. 223, 06/07/2024). |
| CMS | Rural Health Clinics — Certification & Compliance Official link | RHC certification overview, CMS-29/location/staffing resources. |
| CMS | QSO-25-27-RHC — Primary Care / Laboratory Requirement Updates Official link | Updates survey process for current RHC primary-care and laboratory requirements. |

## Maine sources

| Maine DHHS/DLC | Medical Facilities — Rural Health Clinics & Medical Laboratories Official link | Maine State Survey Agency role, RHC federal certification, CLIA/laboratory resources. |
| --- | --- | --- |
| Maine DHHS/DLC | Rules & Regulations — Rural Health Clinics / CLIA Official link | Current Maine rule/resource listing including Appendix G and 10-144 CMR Ch. 256. |
| Maine Board of Licensure in Medicine | MD Licensure Official link | Maine MD licensure requirements and license resources. |
| Maine Board of Licensure in Medicine | Physician Associate Licensure Official link | Maine PA licensure and current 2026 practice-agreement update. |
| Maine Board of Osteopathic Licensure | Osteopathic Licensure Official link | Maine DO licensure resources. |
| Maine State Board of Nursing | Advanced Practice Registered Nurse Official link | NP/APRN/CNM licensing and supervision resources. |
| Maine OPOR | Professions & Occupations / License Verification Official link | Access to applicable professional licensing boards and license verification. |

## Additional RHC, Maine licensure & credentialing sources

| Maine Office of State Fire Marshal | State Adopted NFPA Standards Official link | Current State-adopted fire/life-safety code editions. |
| --- | --- | --- |
| Maine Office of State Fire Marshal | Construction / Permit Guidance Official link | Public-building permit and occupancy examples, including outpatient clinic/business occupancy. |
| Maine CDC | 10-144 CMR Ch. 258 — Control of Notifiable Diseases and Conditions Official link | Current Maine reporting/public-health overlay. |

## Reference file applicability note

The attached CMS Appendix Z file was used as the primary emergency-preparedness survey-guidance source. The attached CMS-2786R was reviewed for applicability and is not treated as the default RHC federal Life Safety Code survey form because RHC is not listed among the certification categories on the form. Current eCFR Part 491, CMS Appendix G, CMS QSO-25-27-RHC, and current Maine official sources were used for the RHC-specific requirements. Current controlling sources and AHJ determinations govern if requirements change.

| Maine Legislature / Board of Pharmacy | Title 32 §13762 — Rural Health Center Pharmacy Services (if applicable) Official link | Separate rural-health-center pharmacy licensing provision when the statutory conditions apply. |
| --- | --- | --- |

## Facility Review / Sign-Off

| Role | Name / Signature | Date |
| --- | --- | --- |
| RHC Administrator / Site Leader |  |  |
| Medical Director (MD/DO) |  |  |
| Emergency Preparedness Lead |  |  |
| Clinical / Nursing Lead |  |  |
| Facilities / Safety Lead |  |  |
| Credentialing / HR Lead |  |  |
| Laboratory Lead / CLIA Responsible Role |  |  |
| Other Reviewer |  |  |