|  | FQHC EMERGENCY POWER & CRITICAL UTILITIES WORKSHEET Infrastructure Continuity • Utility Failure • Critical Load Planning |
| --- | --- |
| FQHC REGULATORY / PLANNING BASIS CMS E-0041 emergency/standby power is not a core FQHC requirement under 42 CFR §491.12. FQHC utility and alternate-power planning should instead be based on the HVA, 42 CFR §491.6 physical-plant/preventive-maintenance requirements, actual services and equipment, and applicable Maine/local codes and AHJ requirements. |  |  |

FACILITY / SITE INFORMATION

| Facility / Organization | <Insert> | FQHC Site | <Insert> |
| --- | --- | --- | --- |
| Facilities / Safety Lead | <Insert> | Emergency Preparedness Lead | <Insert> |
| Date Completed / Reviewed | <Insert> | Next Review | <Insert> |

1. CRITICAL UTILITY & INFRASTRUCTURE PROFILE

| System | Normal Source / Location | Backup / Alternate | Operational Impact / Trigger | Owner / Evidence |
| --- | --- | --- | --- | --- |
| Electric service | <Utility / account / disconnect location> | <Generator / portable source / UPS / none> | <What functions are lost and when?> | <Owner / record location> |
| Heating / HVAC | <System / fuel source> | <Backup / portable / relocation option> | <Patient/staff safety, medication storage, closure trigger> | <Owner> |
| Water | <Municipal / well> | <Bottled / vendor / alternate source> | <Hand hygiene, toilets, clinical services, closure trigger> | <Owner> |
| Sewer / septic | <System> | <Contingency> | <Sanitation / closure trigger> | <Owner> |
| Telephone / cellular | <Primary> | <Alternate phones / radios / runners> | <Staff/patient/emergency agency communications> | <Owner> |
| Internet / network / EHR | <Primary connectivity> | <Downtime process / alternate access> | <Registration, documentation, orders, referrals, billing> | <IT / record location> |
| Medication / vaccine refrigeration | <Units / locations> | <Backup power / alternate storage> | <Product integrity / relocation trigger> | <Pharmacy / clinical lead> |
| Fire / life-safety systems | <Alarm / sprinkler / egress systems> | <Impairment process per AHJ> | <Occupancy / closure implications> | <Facilities> |
| Other patient-care equipment | <List critical equipment> | <Battery / alternate equipment / referral> | <Clinical impact> | <Owner> |

2. EMERGENCY POWER CAPABILITY

| Permanent generator | <Yes / No / N/A> | Portable generator connection | <Yes / No / N/A> |
| --- | --- | --- | --- |
| UPS / battery systems | <List systems / runtime> | Fuel type / capacity | <Insert> |
| Automatic transfer switch | <Yes / No / N/A> | Qualified service vendor | <Insert / 24-7 contact location> |
| Testing / PM record location | <Insert> | Electrical / generator permit or AHJ records | <Insert / N/A> |

3. CRITICAL LOAD PRIORITIZATION

| Critical Load | Function Supported | Priority | Power Source | Duration / Capacity | Fallback / Closure Trigger |
| --- | --- | --- | --- | --- | --- |
| <System / outlet / equipment> | <Essential function supported> | 1 | <Normal + backup source> | <Estimated runtime / fuel need> | <Action if unavailable> |
| <System / outlet / equipment> | <Essential function supported> | 1 | <Normal + backup source> | <Estimated runtime / fuel need> | <Action if unavailable> |
| <System / outlet / equipment> | <Essential function supported> | 1 | <Normal + backup source> | <Estimated runtime / fuel need> | <Action if unavailable> |
| <System / outlet / equipment> | <Essential function supported> | 1 | <Normal + backup source> | <Estimated runtime / fuel need> | <Action if unavailable> |
| <System / outlet / equipment> | <Essential function supported> | 1 | <Normal + backup source> | <Estimated runtime / fuel need> | <Action if unavailable> |
| <System / outlet / equipment> | <Essential function supported> | 1 | <Normal + backup source> | <Estimated runtime / fuel need> | <Action if unavailable> |
| <System / outlet / equipment> | <Essential function supported> | 1 | <Normal + backup source> | <Estimated runtime / fuel need> | <Action if unavailable> |
| <System / outlet / equipment> | <Essential function supported> | 1 | <Normal + backup source> | <Estimated runtime / fuel need> | <Action if unavailable> |

4. UTILITY FAILURE DECISION TRIGGERS

| Utility / System | Trigger | Protective / Continuity Action | Authority | Notifications / Record |
| --- | --- | --- | --- | --- |
| <Utility / system> | <Failure condition / duration> | <Continue / modify / close / evacuate> | <Decision authority> | <Notifications / documentation> |
| <Utility / system> | <Failure condition / duration> | <Continue / modify / close / evacuate> | <Decision authority> | <Notifications / documentation> |
| <Utility / system> | <Failure condition / duration> | <Continue / modify / close / evacuate> | <Decision authority> | <Notifications / documentation> |
| <Utility / system> | <Failure condition / duration> | <Continue / modify / close / evacuate> | <Decision authority> | <Notifications / documentation> |
| <Utility / system> | <Failure condition / duration> | <Continue / modify / close / evacuate> | <Decision authority> | <Notifications / documentation> |
| <Utility / system> | <Failure condition / duration> | <Continue / modify / close / evacuate> | <Decision authority> | <Notifications / documentation> |

5. OUTAGE RESPONSE & RECOVERY CHECKLIST

| ☐ Assess immediate patient/staff safety and affected clinical services | ☐ Activate incident leadership / notify facilities and IT as applicable |
| --- | --- |
| ☐ Confirm utility/vendor outage status and estimated restoration time | ☐ Implement approved backup power / utility procedures |
| ☐ Protect medication/vaccine refrigeration and document temperatures/relocation as applicable | ☐ Shift to EHR/communications downtime methods when needed |
| ☐ Determine whether to reduce, suspend, relocate, or refer services | ☐ Notify patients/staff/partners using primary and alternate methods |
| ☐ Coordinate with utility, vendor, landlord, FMO/local AHJ or emergency officials as applicable | ☐ Document decisions, status updates, resource requests, and restoration actions |
| ☐ Verify systems/equipment are safe before returning to normal operations | ☐ Reconcile records, supplies, cold-chain products, and delayed services after restoration |
| ☐ Complete AAR/improvement follow-up when indicated |  |

6. KEY VENDORS / RECORD LOCATIONS

| Utility / Vendor | Primary Contact | 24-7 / Alternate | Agreement / Record Location | Verified |
| --- | --- | --- | --- | --- |
| <Utility / vendor> | <Primary contact> | <24-7 / alternate> | <Contract / account / record location> | <Last verified> |
| <Utility / vendor> | <Primary contact> | <24-7 / alternate> | <Contract / account / record location> | <Last verified> |
| <Utility / vendor> | <Primary contact> | <24-7 / alternate> | <Contract / account / record location> | <Last verified> |
| <Utility / vendor> | <Primary contact> | <24-7 / alternate> | <Contract / account / record location> | <Last verified> |
| <Utility / vendor> | <Primary contact> | <24-7 / alternate> | <Contract / account / record location> | <Last verified> |
| <Utility / vendor> | <Primary contact> | <24-7 / alternate> | <Contract / account / record location> | <Last verified> |
| <Utility / vendor> | <Primary contact> | <24-7 / alternate> | <Contract / account / record location> | <Last verified> |