HEALTHCARE COALITION OF MAINE

END-STAGE RENAL DISEASE (ESRD) / DIALYSIS FACILITY

EMERGENCY OPERATIONS PLAN

Template and Planning Resource

| Field | Facility Entry |
| --- | --- |
| Facility / Legal Name | <Insert facility/legal name> |
| DBA / Site Name | <Insert DBA/site name> |
| Physical Address | <Insert> |
| Maine ESRD License / CMS CCN | <Insert> |
| Plan Date / Revision | <Insert> |
| Supersedes | <Insert previous version or N/A> |
| Required CMS EP Review Cycle | At least every 2 years under 42 CFR §494.62; update sooner when changes, exercises, actual events, or new hazards warrant. |

HCC-ME 2026 Edition | Updated September 2026

Designed for Maine ESRD/dialysis facilities subject to 42 CFR §494.62, with supporting Part 494 Conditions for Coverage, Maine licensing, fire/life-safety, public-health, laboratory, and site-specific overlays as applicable.

# IMPORTANT USE & REGULATORY DISCLAIMER

PLANNING RESOURCE ONLY HCC-ME is not a regulatory, licensing, accreditation, survey, or enforcement authority. This optional template helps Maine ESRD/dialysis facilities organize emergency preparedness information and cross-reference applicable requirements. Current controlling law, regulation, code, program requirements, and official survey guidance govern if they differ from this resource.

Each facility remains responsible for identifying and meeting all Federal, State of Maine, local, CMS certification, public-health, privacy, fire/building, accessibility, professional licensing, laboratory, accreditation, and organizational requirements that apply to its certification, services, site, patient population, and physical environment.

CURRENT SOURCES CONTROL The current eCFR version of 42 CFR Part 494 and §494.62, CMS Appendix Z, current CMS Appendix H, Maine rules, Maine Office of State Fire Marshal/local AHJ requirements, and other applicable authority sources should be rechecked at each formal review and before a compliance decision.

## FACILITY ENTRY FORMAT

Replace gray placeholder text with facility-specific information in Arial 12-point regular font. Large policies, rosters, maintenance records, agreements, clinical records, and confidential information may be incorporated by reference using the Supporting Documentation Index rather than embedded in broadly distributed copies of the EOP.

| Source / Requirement Layer | Use |
| --- | --- |
| CMS / FEDERAL | 42 CFR §494.62 Emergency Preparedness for ESRD facilities; CMS State Operations Manual Appendix Z. Core federal emergency preparedness layer. |
| SUPPORTING FEDERAL | 42 CFR Part 494 and CMS Appendix H, including infection control, water/dialysate, physical environment, patient rights/plan of care, home dialysis, QAPI, personnel, records, governance, and emergency coverage. |
| MAINE / LOCAL | Maine DHHS/DLC ESRD licensure (10-144 CMR Ch. 126), 22 MRS §2042, Maine FMO/local AHJ, Maine CDC Ch. 258, and laboratory/professional licensing layers as applicable. |
| HCC-ME REC | Operational readiness prompts suggested by HCC-ME. Recommended practice unless independently required by another authority. |

# FACILITY APPLICABILITY PROFILE

| Profile Element | Facility Entry / Applicability |
| --- | --- |
| Legal / DBA name | <Insert> |
| Maine ESRD license # / expiration | <Insert> |
| CMS Certification Number (CCN) | <Insert> |
| NPI / ownership entity | <Insert> |
| Facility type | <Independent / Hospital-based / SNF-based / Other> |
| Multi-facility / health system | <No / Yes: identify system> |
| Services approved/provided | <In-center HD / PD / HHD / Home training-support / Nursing-home dialysis / Other> |
| Reuse practiced | <No / Yes: Manual / Semi-automated / Automated> |
| Patients / stations | <Total patients / total stations / HD / home training / isolation> |
| Counties / geographic area served | <Insert> |
| Medical Director | <Name / credential verification / nephrology qualification evidence> |
| Administrator / CEO | <Insert> |
| Nurse Manager / Charge Nurse | <Insert> |
| Emergency Preparedness Lead | <Insert name / 24-7 contact> |
| Backup EP Lead | <Insert> |
| Water source / treatment system | <Municipal or well / RO-DI-other / emergency water plan location> |
| Backup emergency generator | <Make/model / kW / fuel / monthly 30-min test log location> |
| Patient treatment-area grade-level exit | <Yes / No; if no, document §494.60(d)/(e) LSC/HCFC applicability> |
| Industrial high-hazard adjacency | <No confirmed / concern-evaluate with AHJ / other> |
| Federal LSC survey layer | <CMS-2786U applies / grade-level exit exemption / hospital layer / needs determination> |
| Maine FMO / local AHJ determination | <Occupancy / permit / inspection record location> |
| CLIA / Maine laboratory status | <No onsite testing / Waiver / PPM / Compliance / Accreditation / certificate #> |
| ESRD Network / KCER contacts | <Network / emergency-KCER resource process> |
| Annual local public health / EMA contact | <Agency / contact / date last confirmed> |
| Unified health-system EP program | <No / Yes - facility-specific participation/evidence location> |

FIRE-SAFETY FORM CHECK For ESRD, CMS-2786U (ASC & ESRD) is the provider-specific federal fire-safety survey form when the federal Life Safety Code survey applies. If the facility is hospital-based or located in a mixed occupancy, document the applicable occupancy/separation determination and survey layer rather than assuming one form applies.

# DIALYSIS SERVICES, PATIENT POPULATION & OPERATIONAL DEPENDENCIES

| Service / Function | Facility Profile |
| --- | --- |
| In-center hemodialysis | <Schedule / stations / isolation / critical dependencies> |
| Peritoneal dialysis | <Insert or N/A> |
| Home hemodialysis | <Insert or N/A> |
| Home training/support | <Insert or N/A> |
| Nursing-home dialysis | <Insert or N/A> |
| Reuse program | <Insert or N/A> |
| Laboratory / specimen services | <Insert or N/A> |
| Medication / emergency drug functions | <Insert> |
| Other renal services | <Insert or N/A> |

## Patient and Access/Functional Considerations

| Patient Need / Consideration | Facility Profile |
| --- | --- |
| Treatment frequency / time sensitivity | <Typical schedules / maximum acceptable interruption / escalation> |
| Transportation dependence | <Typical transportation partners / backup process> |
| Limited mobility / evacuation assistance | <Typical needs / process> |
| Vascular access / access-site considerations | <Insert> |
| Home dialysis patients / caregivers | <Insert or N/A> |
| Limited English proficiency / accessible communication | <Languages / interpreter / alternative format supports> |
| Cognitive / behavioral considerations | <Insert> |
| Nutrition / fluid needs during altered schedules | <Facility process / education location> |
| Electricity-dependent home equipment | <Insert if applicable> |
| Other HVA-identified vulnerabilities | <Insert> |

ESRD-SPECIFIC NOTE The EOP should reflect the facility’s dialysis patient population, treatment frequency and time sensitivity, transportation needs, home-dialysis population when applicable, services the facility can provide during an emergency, and continuity of operations. Patient emergency preparedness orientation is a distinct ESRD requirement under §494.62(d)(3).

# FACILITY NETWORK & KEY EMERGENCY CONTACTS

| Agency / Partner | Contact | Phone | Email / Method |
| --- | --- | --- | --- |
| Local / County EMA | <Contact> | <Phone / 24-7> | <Email> |
| Local Public Health / Maine CDC | <Contact> | <Phone> | <Email> |
| Fire / EMS | <Contact> | <Phone> | <Email> |
| Law Enforcement | <Contact> | <Phone> | <Email> |
| Maine DHHS / DLC | <Contact/unit> | <Phone> | <Email> |
| HCC-ME District Liaison | <Contact> | <Phone> | <Email> |
| ESRD Network / KCER | <Contact> | <Phone> | <Method> |
| Primary hospital / ED | <Contact> | <Phone> | <Email> |
| Alternate dialysis facility #1 | <Contact> | <Phone> | <Email> |
| Alternate dialysis facility #2 | <Contact> | <Phone> | <Email> |
| Transportation partner | <Contact> | <Phone> | <Email> |
| Electric utility | <Contact> | <Phone> | <Email> |
| Water utility / supplier | <Contact> | <Phone> | <Email> |
| Water-treatment vendor | <Contact> | <Phone> | <Email> |
| Dialysis equipment vendor | <Contact> | <Phone> | <Email> |
| IT / EHR vendor | <Contact> | <Phone> | <Email> |
| Generator / fuel vendor | <Contact> | <Phone> | <Email> |
| Other critical vendor | <Contact> | <Phone> | <Email> |

CMS COMMUNICATION PLAN Maintain required contacts and primary/alternate methods in accordance with 42 CFR §494.62(c). Personal staff phone numbers and patient-identifiable information should be kept in secured systems and referenced by controlled location.

# PLAN APPROVAL & BIENNIAL CMS REVIEW

| Approver Role | Name / Title | Approval | Date |
| --- | --- | --- | --- |
| Administrator / CEO | <Insert> | <Signature / electronic approval> | <Date> |
| Medical Director | <Insert> | <Signature / electronic approval> | <Date> |
| Nurse Manager / Clinical Lead | <Insert> | <Signature / electronic approval> | <Date> |
| Emergency Preparedness Lead | <Insert> | <Signature / electronic approval> | <Date> |
| Facilities / Safety Lead | <Insert> | <Signature / electronic approval> | <Date> |
| IT / Security Lead | <Insert> | <Signature / electronic approval> | <Date> |
| Other Required Approver | <Insert or N/A> | <Signature / electronic approval> | <Date> |

| Field | Facility Entry |
| --- | --- |
| Responsible Plan Owner | <Insert> |
| Last Formal CMS EP Review | <Insert> |
| Next CMS EP Review Due | <Insert - no later than 2 years> |
| Interim Revision Triggers | Changes in HVA, services/modalities, patient population, site/building, staffing, water system, generator, equipment, agreements, laws/rules, exercises, actual events, or other material changes. |
| State licensure / survey cross-reference | <Insert current Maine license and most recent survey evidence location> |
| QAPI cross-reference | <Insert QAPI/AAR corrective action review location> |

CMS REQUIRED The ESRD emergency plan, emergency preparedness policies/procedures, communication plan, and training/testing/patient orientation program must be evaluated/reviewed and updated at least every 2 years, with interim updates when needed. Significant policy/procedure updates should be followed by appropriate training.

# RECORD OF CHANGES

| Change # | Date | Section / Page | Description | Initials |
| --- | --- | --- | --- | --- |
| 1 | <Date> | <Section> | <Description> | <Initials> |
| 2 | <Date> | <Section> | <Description> | <Initials> |
| 3 | <Date> | <Section> | <Description> | <Initials> |
| 4 | <Date> | <Section> | <Description> | <Initials> |
| 5 | <Date> | <Section> | <Description> | <Initials> |
| 6 | <Date> | <Section> | <Description> | <Initials> |
| 7 | <Date> | <Section> | <Description> | <Initials> |
| 8 | <Date> | <Section> | <Description> | <Initials> |
| 9 | <Date> | <Section> | <Description> | <Initials> |
| 10 | <Date> | <Section> | <Description> | <Initials> |

# RECORD OF DISTRIBUTION / CONTROLLED ACCESS

| Recipient / Role | Department / Agency | Date | Copy / Access |
| --- | --- | --- | --- |
| <Insert> | <Insert> | <Date> | <Controlled / read-only / hard copy> |
| <Insert> | <Insert> | <Date> | <Controlled / read-only / hard copy> |
| <Insert> | <Insert> | <Date> | <Controlled / read-only / hard copy> |
| <Insert> | <Insert> | <Date> | <Controlled / read-only / hard copy> |
| <Insert> | <Insert> | <Date> | <Controlled / read-only / hard copy> |
| <Insert> | <Insert> | <Date> | <Controlled / read-only / hard copy> |

PRIVACY / SECURITY Do not place patient-identifiable information, unrestricted employee personal contacts, passwords, security-system codes, or other sensitive information in broadly distributed copies of the EOP. Reference secured controlled locations.

# TABLE OF CONTENTS - STANDARD HCC-ME ESRD/DIALYSIS STRUCTURE

| Section | Title |
| --- | --- |
| 1 | INTRODUCTION |
| 2 | ADMINISTRATION |
| 3 | SITUATION / RISK ASSESSMENT |
| 4 | CONCEPT OF OPERATIONS |
| 5 | ROLES AND RESPONSIBILITIES |
| 6 | COMMAND AND COORDINATION |
| 7 | RESOURCES AND ASSETS |
| 8 | MANAGEMENT OF STAFF & VOLUNTEERS |
| 9 | MANAGEMENT OF PATIENTS & DIALYSIS SERVICES |
| 10 | WATER, DIALYSATE, UTILITIES, PHYSICAL PLANT & SUPPLIES |
| 11 | COMMUNICATIONS & INFORMATION SYSTEMS |
| 12 | EVACUATION, SHELTER-IN-PLACE, TREATMENT INTERRUPTION & CLOSURE |
| 13 | RECOVERY, CONTINUITY & QAPI |
| 14 | GLOSSARY |
| 15 | ACRONYMS |
| 16 | ATTACHMENTS & SUPPORTING DOCUMENTATION |
| 17 | ANNEXES |
| 18 | INCIDENT-SPECIFIC APPENDICES |
| 19 | OFFICIAL SOURCES & VERSION REFERENCES |

After facility customization, update Word navigation/TOC fields and page references before final adoption.

# 1. INTRODUCTION

REGULATORY BASIS 42 CFR §494.62(a); CMS Appendix Z. Supporting references include 42 CFR Part 494, CMS Appendix H, and applicable Maine/local requirements.

## A. Purpose

The <Insert facility name> Emergency Operations Plan (EOP) is an all-hazards plan for preparing for, responding to, maintaining essential dialysis services during, and recovering from emergencies that could affect patient safety, treatment continuity, staff, water/dialysate systems, infrastructure, access, service delivery, or facility operations.

## B. Scope

This EOP applies to <insert sites, treatment areas, home-dialysis programs, contracted functions, and other covered operations>. It addresses staff, individuals providing services under arrangement, volunteers, patients, caregivers, visitors, and other persons affected by ESRD facility operations as appropriate.

## C. Planning Assumptions

Emergencies may affect the dialysis facility internally, the surrounding community, or both.

The facility may need to interrupt or shorten treatment, shelter in place, evacuate, close temporarily, alter schedules, redirect/transfer patients, or use an alternate care approach when permitted.

Normal staffing, water supply/treatment, power, communications, transportation, IT/EHR, dialysis equipment, dialysate, medications, vendors, and supplies may be disrupted.

The facility will use primary and alternate methods for critical functions when normal systems are unavailable.

Staff and patients will receive emergency preparedness education/training appropriate to their roles and responsibilities.

## D. Relationship to Supporting Plans

The EOP may incorporate controlled policies, procedures, water-treatment technical plans, fire/life-safety plans, infection-control plans, IT/cyber downtime procedures, vendor agreements, alternate dialysis/transport arrangements, hospital agreements, emergency equipment/drug readiness procedures, patient orientation materials, home-dialysis contingency plans, floor plans, and other supporting materials by reference. The facility must be able to produce written evidence showing where applicable requirements are addressed.

# 2. ADMINISTRATION

REGULATORY BASIS 42 CFR §494.62; CMS Appendix Z; supporting 42 CFR Part 494 and applicable Maine/local layers.

## A. Emergency Preparedness Program

The <Insert facility name> maintains an emergency preparedness program consisting of: (1) an emergency plan based on facility- and community-based risk assessments; (2) emergency preparedness policies and procedures; (3) a communication plan; and (4) a training and testing program that includes patient emergency preparedness orientation/training. These core elements are maintained under 42 CFR §494.62.

## B. Review, Maintenance & Testing Cycle

The emergency plan, policies/procedures, communication plan, and training/testing/patient orientation program will be evaluated/reviewed and updated at least every 2 years. Interim updates will be made when material changes, exercises, actual events, or new hazards make current information inaccurate or unsafe.

CMS TESTING CYCLE The facility conducts an emergency-plan testing exercise annually. At least every 2 years, it participates in a community-based full-scale exercise when accessible or conducts an individual facility-based functional exercise when a community exercise is not accessible. In the opposite year, it conducts another qualifying exercise such as a second full-scale/functional exercise, mock disaster drill, or facilitator-led tabletop/workshop. A qualifying actual emergency requiring EOP activation may support the next full-scale/functional exercise exemption; the opposite-year exercise requirement is still tracked.

## C. Authorities & References

42 CFR §494.62 - ESRD Emergency Preparedness

CMS State Operations Manual Appendix Z - Emergency Preparedness

42 CFR Part 494 and CMS Appendix H - ESRD Conditions for Coverage and survey guidance

Maine DHHS Division of Licensing & Certification / 10-144 CMR Chapter 126

22 MRS §2042 - Maine ESRD licensing and backup generator provisions

Maine Office of State Fire Marshal / local AHJ requirements

Maine CDC public-health reporting requirements

Facility policies, contracts, agreements, risk assessments, QAPI and accreditation requirements, if applicable

## D. Program Governance

| Field | Facility Entry |
| --- | --- |
| Emergency Preparedness Program Lead | <Insert> |
| Backup Lead | <Insert> |
| Leadership Oversight Group | <Insert committee / leadership team> |
| Formal Review Participants | <Administrator, Medical Director, Nurse Manager, EP, Facilities, IT, Infection Prevention, Social Work, Dietitian, Home Program, others as applicable> |
| Unified / Integrated System Program | <Yes / No; if yes, document active facility participation under §494.62(e)> |
| Medical Director P&P oversight | <Controlled approval/review location> |

## E. Regulatory Alignment

Use Attachment A (Regulatory & EOP Crosswalk), Attachment C (Policies & Procedures Index), and the Supporting Documentation Index to document where each CMS, supporting Federal, Maine, fire/building, laboratory, professional licensing, and organizational requirement or evidence item is maintained.

# 3. SITUATION / RISK ASSESSMENT

REGULATORY BASIS 42 CFR §494.62(a)(1) and CMS ESRD emergency preparedness guidance. The plan must include documented facility- and community-based all-hazards risk assessments and strategies for identified events.

## A. Facility-Based Risk Assessment / HVA

| Field | Facility Entry |
| --- | --- |
| Assessment tool / methodology | <Insert> |
| Assessment date | <Insert> |
| Assessment owner/team | <Insert> |
| Next scheduled review | <Insert> |
| Controlled location | <Insert> |

## B. Community-Based Risk Assessment

| Source | Facility Entry |
| --- | --- |
| County / local EMA HVA or hazard plan | <Source / date / location> |
| Maine hazard / public-health sources | <Source / date / location> |
| Utility / infrastructure risk sources | <Insert> |
| Community partner input | <Insert> |
| HCC-ME / coalition planning sources | <Insert if used> |

## C. Priority Hazards & Strategies

| Hazard / Scenario | HVA Rating | Primary Strategy / Annex |
| --- | --- | --- |
| Fire / smoke / building evacuation | <Insert> | <Insert> |
| Dialysis equipment failure / care-related emergency | <Insert> | <Insert> |
| Extended power / generator / HVAC failure | <Insert> | <Insert> |
| Water supply interruption / water-treatment failure / contamination | <Insert> | <Insert> |
| Natural disaster / severe winter weather / storm | <Insert> | <Insert> |
| Emerging infectious disease / outbreak | <Insert> | <Insert> |
| Cyberattack / EHR or network downtime | <Insert> | <Insert> |
| Supply-chain / dialysis supplies disruption | <Insert> | <Insert> |
| Transportation / access disruption | <Insert> | <Insert> |
| Active threat / violence / security incident | <Insert> | <Insert> |
| Hazardous materials / indoor air / environmental event | <Insert> | <Insert> |
| Other locally identified hazard | <Insert> | <Insert> |

## D. Reassessment Triggers

The facility should reconsider the HVA when major facility/service changes, modality changes, actual events, exercises, new community risks, infrastructure/water-system changes, significant IT/vendor changes, or changes in patient population/service delivery could alter preparedness priorities.

# 4. CONCEPT OF OPERATIONS

REGULATORY BASIS 42 CFR §494.62(a), with policies/procedures at §494.62(b).

## A. Incident Phases

| Phase | Facility Approach |
| --- | --- |
| Mitigation | <Risk reduction / prevention strategies> |
| Preparedness | <Plans, training, patient orientation, exercises, agreements, supplies> |
| Response | <Activation, protective actions, dialysis continuity, patient safety, coordination> |
| Recovery | <Restoration, continuity, AAR/QAPI, plan updates> |

## B. Plan Activation

| Activation Level | Triggers | Authority | Initial Actions |
| --- | --- | --- | --- |
| Level 1 - Monitoring | <Triggers> | <Authority> | <Actions> |
| Level 2 - Partial Activation | <Triggers> | <Authority> | <Actions> |
| Level 3 - Full Activation | <Triggers> | <Authority> | <Actions> |

## C. Protective Action Decisions

The Incident Lead or designated successor will determine whether to continue, alter, shorten, or stop dialysis; shelter in place; evacuate; close or reduce services; activate alternate dialysis/receiving arrangements; redirect/transfer patients; or take other protective actions based on patient needs, treatment status, water/dialysate conditions, equipment, building/site conditions, utilities, staffing, transportation, weather, public-health/emergency-official guidance, and available resources.

## D. Demobilization / Return to Normal

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

# 5. ROLES AND RESPONSIBILITIES

| Role / Function | Core Emergency Responsibilities |
| --- | --- |
| Administrator / CEO | Executive authority; continuity and closure decisions; external coordination; resource authorization. |
| Emergency Preparedness Lead | Maintains EOP/HVA; coordinates readiness, training/testing, patient orientation evidence, documentation, exercises and AAR/IP. |
| Medical Director | Clinical governance; patient safety and continuity; clinical policies; emergency coverage; medical decisions and oversight. |
| Nurse Manager / Charge Nurse | Clinical operations, treatment priorities, safe interruption/disconnection, staffing, emergency equipment/drugs, transfers and clinical communications. |
| Technical / Biomedical Lead | Dialysis equipment readiness, alarms, maintenance, technical response and vendor coordination. |
| Water Treatment Lead | Water source/treatment monitoring, alarms, contamination/failure response, restoration verification and technical records. |
| Facilities / Safety Lead | Building conditions, utilities, generator/fuel, egress, fire/life safety, repair vendors, FMO/AHJ coordination. |
| IT / Security Lead | EHR/network/telecommunications continuity, cybersecurity response, downtime and data restoration. |
| Infection Prevention Lead | Outbreak/EID planning, infection-control continuity, PPE, surveillance/reporting, patient/staff communications. |
| Social Worker / Patient Support | Transportation, psychosocial, access/functional needs, patient education/support and continuity coordination. |
| Dietitian | Renal nutrition/fluid continuity support during altered schedules and emergencies within role. |
| Home Dialysis Lead - if applicable | Emergency backup dialysis planning, patient/caregiver support, equipment/supply continuity and alternate treatment coordination. |
| Finance / Administration | Emergency purchases, expense tracking, contracts, documentation, insurance/recovery support. |
| All Staff | Know assigned role, tracking/accountability, evacuation/SIP actions, communication methods, patient emergency instructions, and reporting expectations. |

## A. Delegations of Authority

| Authority / Decision | Primary Role | Successor 1 | Successor 2 | Limits / Notes |
| --- | --- | --- | --- | --- |
| Activate EOP | <Insert> | <Insert> | <Insert> | <Insert> |
| Alter / suspend treatment schedule | <Insert> | <Insert> | <Insert> | <Insert> |
| Evacuate / shelter | <Insert> | <Insert> | <Insert> | <Insert> |
| Close facility / redirect patients | <Insert> | <Insert> | <Insert> | <Insert> |
| Emergency spending | <Insert> | <Insert> | <Insert> | <Insert> |
| Public messaging | <Insert> | <Insert> | <Insert> | <Insert> |
| Activate alternate dialysis agreements | <Insert> | <Insert> | <Insert> | <Insert> |

## B. Succession

Succession plans identify who assumes critical leadership, clinical, water-treatment, technical, and operational functions when normal leaders are unavailable. The facility will maintain an accessible current succession list and ensure successors understand assigned authorities and responsibilities.

# 6. COMMAND AND COORDINATION

REGULATORY BASIS 42 CFR §494.62(a), §494.62(c), and §494.62(e) if using a unified/integrated system program.

## A. Incident Management Structure

| Function | Assigned Role / Backup | Primary Responsibilities |
| --- | --- | --- |
| Incident Lead | <Insert> | Overall direction, priorities, coordination |
| Clinical Operations | <Insert> | Dialysis patient safety, treatment continuity, safe interruption, transfer |
| Technical / Water | <Insert> | Water treatment, dialysis equipment, technical systems |
| Operations / Logistics | <Insert> | Facilities, generator, supplies, vendors, transport |
| Safety / Security | <Insert> | Life safety, site security, hazards |
| Planning / Documentation | <Insert> | Situation status, action planning, tracking, records, AAR |
| Communications / Liaison | <Insert> | Staff/patient/partner communications |
| Finance / Administration | <Insert> | Purchasing, contracts, cost tracking |

## B. Emergency Operations / Coordination Location

| Field | Facility Entry |
| --- | --- |
| Primary command/coordination location | <Insert> |
| Alternate location | <Insert> |
| Virtual/remote coordination method | <Insert> |
| Activation supplies/equipment | <Insert> |
| Situation board / status reporting location | <Insert> |

## C. External Coordination

Local/county emergency management and Incident Command/EOC as appropriate.

Maine CDC/public health for outbreaks, reportable conditions, and public-health guidance.

Fire/EMS/law enforcement for immediate response and site safety.

Alternate dialysis facilities, receiving hospital, transportation partners, utilities, ESRD Network/KCER, vendors, and other healthcare partners as applicable.

HCC-ME and EMResource when used for situational awareness or resource coordination; coalition participation does not replace required regulatory reporting.

## D. Annual Public Health / EMA Contact

At least annually, the facility will document contact with local public health and emergency management officials to confirm those agencies are aware of facility emergency needs and the facility knows how to contact them.

## E. Unified / Integrated Healthcare System Program - If Applicable

If the ESRD facility participates in a unified/integrated emergency preparedness program, retain evidence of active facility participation; facility-specific risk assessment; consideration of unique circumstances, patient population, location and services; integrated policies, communication and training/testing that meet ESRD requirements; and the facility’s ability to actively implement the program.

# 7. RESOURCES AND ASSETS

## A. Critical Resource Priorities

| Resource | Facility Planning Content |
| --- | --- |
| Potable / treatment water | <Normal source / emergency source / capacity / conservation / transfer threshold> |
| Water-treatment consumables | <Filters / disinfectants / test supplies / alternate source> |
| Dialyzers / bloodlines / concentrates / dialysate | <Minimum stock / vendor / alternate source> |
| Normal saline / medications | <Minimum stock / vendor / emergency source> |
| Emergency equipment / drugs | <Oxygen / airways / suction / AED-defibrillator / resuscitator / emergency drugs> |
| PPE / infection-control supplies | <Minimum stock / vendor / contingency> |
| Generator fuel / portable power | <Fuel source / runtime / reorder trigger> |
| Paper downtime / tracking supplies | <Insert> |
| Home dialysis emergency supplies - if applicable | <Insert> |
| Other essential resources | <Insert> |

## B. Vendor / Supply Chain Continuity

| Vendor / Resource | Primary Contact | Alternate Source | Emergency Terms / Lead Time | Record Location |
| --- | --- | --- | --- | --- |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |

## C. Mutual Aid / Agreements / Arrangements

Document alternate dialysis/receiving arrangements, hospital emergency coverage, transportation, vendor, utility, water-supply, home-dialysis support, reciprocal support, and other continuity agreements as applicable. Because a single receiving partner may not be able to accept all affected patients, the facility should identify more than one receiving option where feasible.

# 8. MANAGEMENT OF STAFF & VOLUNTEERS

REGULATORY BASIS 42 CFR §494.62(b)(5), §494.62(d)(1), §494.140 and applicable State licensure/scope requirements.

## A. Emergency Staffing Strategies

| Strategy | Facility Process / Controlled Location |
| --- | --- |
| Staff call-back / notification | <Insert> |
| Cross-coverage / reassignment | <Insert> |
| Contracted / agency staffing | <Insert> |
| Volunteer use | <Insert> |
| State/Federally designated health professionals | <Integration process> |
| Credential / identity verification | <Insert> |
| Licensure / certification / competency verification | <Insert> |
| Scope-of-practice / supervision | <Insert> |
| Minimum RN / charge coverage priorities | <Insert> |
| Fatigue / relief staffing | <Insert> |
| Transportation / lodging / childcare support | <Insert if planned> |
| Staff behavioral health / safety support | <Insert> |

## B. Staff Accountability / Tracking

The facility will maintain a system to track the location of on-duty staff during and after an emergency. If staff are relocated, the specific receiving facility or other location will be documented. The tracking method will remain usable during power/network outages through a hard-copy or other alternate process.

## C. Training & Competency Requirements

Initial emergency preparedness training for all new and existing staff, individuals providing services under arrangement, and volunteers consistent with expected roles.

Emergency preparedness training at least every 2 years and when policies/procedures are significantly updated.

Staff demonstrate knowledge of what patients should do, where to go (including geographic evacuation), whom to contact, the alternate emergency phone number, and safe dialysis machine disconnection expectations.

Patient care staff maintain current CPR certification; nursing staff are trained in use of emergency equipment and emergency drugs.

Training is documented and reflects the HVA, EOP, P&Ps, communication plan, treatment continuity/transfer, alternate dialysis locations, evacuation and applicable infectious-disease/PPE procedures.

Emergency staffing and altered operations will continue to meet applicable ESRD personnel requirements. An RN responsible for nursing care will be present whenever in-center dialysis patients are being treated, with charge coverage and emergency roles consistent with verified licensure, competency, scope of practice, supervision requirements, and any valid emergency waiver or flexibility.

# 9. MANAGEMENT OF PATIENTS & DIALYSIS SERVICES

REGULATORY BASIS 42 CFR §494.62(a), §494.62(b)(1)-(9), §494.62(d)(3), and supporting Part 494 requirements including §§494.70, 494.80/90, 494.100, 494.170, and 494.180(g).

## A. Treatment Continuity / Prioritization

| Service / Patient Need | Continue | Modify | Suspend / Redirect | Alternate Method / Referral |
| --- | --- | --- | --- | --- |
| <In-center HD> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Home support> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Urgent dialysis need> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Laboratory/clinical monitoring> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Other> | <Insert> | <Insert> | <Insert> | <Insert> |

## B. Treatment Interruption / Safe Disconnection

The facility will maintain procedures for safe discontinuation/disconnection from dialysis when evacuation or abrupt treatment interruption is necessary. Procedures will identify staff responsibilities, patient needs, treatment status, access/bloodline considerations, emergency equipment, documentation and criteria for transfer to another dialysis facility or hospital to complete or obtain dialysis.

## C. Patient Tracking & Relocation

A system will track sheltered patients during and after an emergency. If patients are relocated, the specific name and location of the receiving facility/other location will be documented. A downtime-capable backup process will be maintained.

## D. Alternate Dialysis / Receiving Facility Arrangements & Transportation

Arrangements will identify alternate dialysis and/or healthcare providers able to receive patients when this facility cannot provide care, with continuity expectations, contacts, capacity assumptions, modalities, activation steps and transportation arrangements. More than one receiving option should be maintained where feasible.

## E. Emergency Medical Assistance & Immediate-Availability Equipment

The facility will define how EMS assistance is obtained and will cross-reference written patient/staff emergency medical-care instructions, the current physician emergency/on-call roster, and hospital agreement. Emergency equipment will be immediately available on the premises; at minimum, the process addresses oxygen, airways, suction, defibrillator/AED, artificial resuscitator and emergency drugs, with maintenance and storage checks.

## F. Patient Emergency Preparedness Orientation & Training

| Orientation Element | Facility Process / Evidence |
| --- | --- |
| Emergency notification methods / what patients should do | <Insert> |
| Where to go, including geographic evacuation | <Insert> |
| Whom to contact | <Insert> |
| Alternate emergency phone number | <Insert> |
| Alternate treatment locations / transfer services | <Insert> |
| Shelter-in-place expectations | <Insert> |
| Safe dialysis machine disconnection | <Insert> |
| HVA-specific hazards / KCER resources as appropriate | <Insert> |
| Accessible formats / languages | <Insert> |
| Documentation of orientation | <Insert> |

## G. Medical Documentation / EHR Downtime / Information Sharing

The facility will preserve patient medical documentation, protect confidentiality, and secure/maintain availability of records during emergencies. Downtime procedures should support access to current dialysis prescription, medications, allergies, vascular access information, treatment records, labs, emergency contacts and other essential information; support permitted sharing with other providers for continuity; release information during evacuation as permitted by law; and provide general condition/location information as permitted.

## H. Home Dialysis Continuity - If Applicable

The home dialysis program will identify emergency backup dialysis, patient/caregiver support, equipment and supply contingencies, communication, and continuity consistent with the facility’s certified home-dialysis services. Cross-reference applicable home-dialysis and nursing-home dialysis agreements/policies.

## I. Special-Purpose / Temporary Dialysis Operations - If Applicable

If emergency operations contemplate a special-purpose renal dialysis facility, temporary dialysis location, mobile/alternate treatment setting, or other location outside the facility’s normal certified operation, the facility will confirm the applicability of 42 CFR §494.120 and current CMS/Maine requirements before providing dialysis. This EOP does not independently authorize operation of an unapproved temporary dialysis facility or expansion beyond the scope allowed by applicable emergency waivers or approvals.

## J. §1135 Waiver / Alternate Care Site Operations

Under 42 CFR §494.62(b)(7), the facility will maintain policies and procedures describing its role under a Secretary-declared §1135 waiver when providing care or treatment at an alternate care site identified by emergency management officials. Activation of this process does not itself authorize a temporary dialysis site; applicable CMS, State, local, licensure, credentialing, life-safety, and emergency-management requirements must be confirmed for the specific event and location.

| Planning Element | Facility Process / Controlled Location |
| --- | --- |
| Trigger / declared emergency / waiver authority | <Insert declaration/waiver source and activation criteria> |
| Emergency management coordination | <Agency / official / alternate care site designation process> |
| Alternate care site / location | <Insert location / approval / controlled documentation> |
| Dialysis services / modalities to be provided | <Insert scope / patient eligibility / treatment priorities> |
| Staffing / credentials / scope / supervision | <Insert staffing model / verification / waiver-flexibility process> |
| Water / dialysate / utilities / environmental safety | <Insert capability verification / shutdown thresholds> |
| Dialysis machines / supplies / medications / emergency equipment | <Insert source / transport / readiness verification> |
| Patient records / PHI / prescription / treatment information | <Insert downtime / transfer / privacy process> |
| Patient transportation / transfer / receiving facilities | <Insert process / partners / contingencies> |
| Communications / reporting / patient instructions | <Insert primary/alternate methods / AHJ reporting> |
| Return to normal operations | <Criteria / authority / reconciliation / documentation when flexibilities end> |

# 10. WATER, DIALYSATE, UTILITIES, PHYSICAL PLANT & SUPPLIES

SUPPORTING FEDERAL / STATE BASIS 42 CFR §§494.40 and 494.60; 22 MRS §2042(8)(C); CMS Appendix H; Maine FMO/local AHJ requirements as applicable. Water supply/treatment and emergency power are central ESRD operational dependencies.

## A. Water & Dialysate Continuity

| System / Issue | Facility Planning Content |
| --- | --- |
| Municipal / well water source | <Normal source / emergency contact / interruption response> |
| Water-treatment system | <RO/DI/other / capacity / alarms / critical components> |
| Water-treatment failure | <Shutdown / alternate treatment / transfer thresholds> |
| Suspected contamination | <Immediate actions / testing / reporting / patient protection> |
| Monitoring / alarm failure | <Manual/alternate monitoring / shutdown criteria> |
| Emergency water source | <Supplier / connection / quality verification / limitations> |
| Conservation / reduced operations | <Prioritization / schedule modification> |
| Restoration verification | <Who verifies system safety before restarting dialysis> |
| Water-main break / major municipal distribution failure | <Immediate assessment / utility contact / alternate source / treatment suspension or transfer criteria> |
| Sudden source-water quality change | <Water-treatment response / testing / nephrology-clinical notification / treatment decision> |
| Critical water-treatment component failure | <Component bypass limits / repair / alternate treatment / transfer threshold> |
| Chlorine / chloramine breakthrough | <Immediate corrective action / patient protection / treatment stop criteria / retesting before restart> |

## B. Critical Utilities / Infrastructure

| System | Facility Planning Content |
| --- | --- |
| Electricity | <Normal source / generator / transfer / shutdown thresholds> |
| Backup emergency generator | <Make/model / kW / fuel / served loads / monthly 30-min operation record> |
| Fuel | <On-hand / vendor / reorder trigger / delivery constraints> |
| Heating / HVAC | <Loss response / temperature monitoring / closure threshold> |
| Potable water / sewer | <Contingency> |
| Telephone / cellular | <Primary / alternate> |
| Internet / network / EHR | <Downtime / alternate> |
| Security / access control | <Manual override / keys / alarm> |
| Fire alarm / sprinkler | <Impairment / AHJ process as applicable> |
| Medical gases / oxygen | <Continuity / storage / alternate> |

## C. Dialysis Equipment / Preventive Maintenance

| System / Equipment | PM / Inspection Requirement | Owner | Record Location | Last Verified |
| --- | --- | --- | --- | --- |
| <Dialysis machines> | <Insert> | <Owner> | <Location> | <Date> |
| <Water-treatment equipment> | <Insert> | <Owner> | <Location> | <Date> |
| <Generator> | <Monthly 30-min operation + other required maintenance> | <Owner> | <Location> | <Date> |
| <Emergency equipment> | <Manufacturer / facility process> | <Owner> | <Location> | <Date> |
| <Fire/life-safety systems> | <Applicable AHJ testing> | <Owner> | <Location> | <Date> |
| <Other> | <Insert> | <Owner> | <Location> | <Date> |

## D. Fire / Building / Accessibility Applicability

Document whether the patient treatment area has one or more exits directly outside at grade level. If not, address the federal §494.60(d)/(e) LSC/HCFC layer, including 2012 NFPA 101 Ambulatory Health Care Occupancy and applicable 2012 NFPA 99 provisions. When the federal ESRD LSC survey applies, CMS-2786U is the provider-specific survey form. Maintain the separate Maine FMO/local AHJ code layer, including current State-adopted editions, permits, inspections and corrective actions.

MAINE EMERGENCY GENERATOR Maine statute requires ESRD facilities to have a backup emergency generator and to make it operational for at least one-half hour each month, with records retained. This State requirement is distinct from CMS E-0041 language used for other provider types.

# 11. COMMUNICATIONS & INFORMATION SYSTEMS

REGULATORY BASIS 42 CFR §494.62(c)(1)-(7); CMS Appendix Z, with ESRD-specific communication requirements.

## A. Required Communication Elements

| Required Element | Facility Entry / Controlled Location |
| --- | --- |
| Staff names/contact information | <Controlled directory location> |
| Entities providing services under arrangement | <Directory / contract index> |
| Patients' physicians | <Method / directory source> |
| Other dialysis facilities | <Directory> |
| Volunteers | <Directory if used> |
| Federal/State/tribal/regional/local emergency preparedness staff | <Directory> |
| Other sources of assistance | <Directory> |
| Primary/alternate staff communication methods | <Insert> |
| Primary/alternate emergency-agency communication methods | <Insert> |
| Patient information / medical documentation sharing | <Insert / privacy procedure> |
| Patient information release during evacuation | <Insert / privacy procedure> |
| General condition/location information process | <Insert / privacy procedure> |
| Report facility occupancy / needs / ability to assist | <AHJ / Incident Command / EOC process> |

## B. Communication Methods

| Audience | Primary Method | Alternate Method | Responsible Role |
| --- | --- | --- | --- |
| Staff | <Insert> | <Insert> | <Insert> |
| Patients / caregivers | <Insert> | <Insert> | <Insert> |
| Emergency officials | <Insert> | <Insert> | <Insert> |
| Alternate dialysis / hospital partners | <Insert> | <Insert> | <Insert> |
| Transportation partners | <Insert> | <Insert> | <Insert> |
| Vendors / utilities | <Insert> | <Insert> | <Insert> |
| Media / public | <Insert> | <Insert> | <Insert> |

## C. Extended Communications Outage

The facility will identify practical alternate communications for cellular/Internet/VoIP outages based on local connectivity and interoperability. Options may include radios, satellite communications, runners, alternate sites, emergency-agency pathways, or other methods supported by the HVA.

## D. Situational Awareness / Reporting

The facility will define how it provides information about facility occupancy, needs, and ability to provide assistance to the authority having jurisdiction, Incident Command/EOC, or designee, and how HCC-ME/EMResource may be used when appropriate without replacing required regulatory reporting.

# 12. EVACUATION, SHELTER-IN-PLACE, TREATMENT INTERRUPTION & CLOSURE

REGULATORY BASIS 42 CFR §494.62(b)(1)-(3) and ESRD CMS guidance. Staff/patient tracking, safe evacuation, shelter in place, and safe discontinuation/disconnection of dialysis are core elements.

## A. Evacuation / Treatment-Interruption Decision Criteria

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

## B. Evacuation Routes / Patient Needs

| Field | Facility Entry |
| --- | --- |
| Primary exits/routes | <Reference current map / location> |
| Alternate exits/routes | <Insert> |
| Assembly/accountability area | <Insert> |
| Accessible evacuation provisions | <Insert> |
| Patients requiring assistance | <Process> |
| Safe dialysis discontinuation/disconnection | <Process> |
| Access/bloodline considerations | <Process> |
| Emergency equipment / medications / records | <Process> |
| External assistance / EMS | <Process> |
| Alternate dialysis / hospital destinations | <Process> |
| Transportation | <Process> |

## C. Shelter-in-Place

| Field | Facility Entry |
| --- | --- |
| Shelter criteria | <Insert> |
| Designated safer areas | <Insert> |
| Who may remain | <Insert> |
| Dialysis treatment status / continuation criteria | <Insert> |
| Staffing | <Insert> |
| Patient/staff tracking | <Insert> |
| Communications | <Insert> |
| Security / access | <Insert> |
| Water / sanitation / supplies | <Insert> |
| Transition to evacuation / closure triggers | <Insert> |

## D. Service Closure / Patient Redirection

| Closure Level | Trigger / Authority | Patient Communication | Service Redirection / Transfer | Reopening Criteria |
| --- | --- | --- | --- | --- |
| Delayed opening | <Insert> | <Insert> | <Insert> | <Insert> |
| Altered schedule / reduced capacity | <Insert> | <Insert> | <Insert> | <Insert> |
| Partial closure | <Insert> | <Insert> | <Insert> | <Insert> |
| Full closure | <Insert> | <Insert> | <Insert> | <Insert> |

# 13. RECOVERY, CONTINUITY & QAPI

REGULATORY BASIS 42 CFR §494.62(d)(2) requires analysis/documentation of exercises and emergency events and plan revision as needed. Supporting §494.110 connects emergency-related corrective action to QAPI when appropriate.

## A. Re-entry / Reopening Criteria

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

## B. Restoration Priorities

| Priority | System / Service | Owner | Target / Criteria |
| --- | --- | --- | --- |
| 1 | <Insert> | <Insert> | <Insert> |
| 2 | <Insert> | <Insert> | <Insert> |
| 3 | <Insert> | <Insert> | <Insert> |
| 4 | <Insert> | <Insert> | <Insert> |
| 5 | <Insert> | <Insert> | <Insert> |
| 6 | <Insert> | <Insert> | <Insert> |

## C. Patient Continuity / Follow-Up

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

## D. Water / Dialysate / Equipment Restoration Verification

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

## E. Staff / Patient Support & Debrief

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

## F. After-Action Review / Improvement / QAPI

| Finding / Strength | Corrective Action / Sustainment | Owner / Due | Completion Evidence | Retest / QAPI Validation |
| --- | --- | --- | --- | --- |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |

# 14. GLOSSARY

| Term | Definition |
| --- | --- |
| All-Hazards Approach | Integrated preparedness focused on capabilities that address natural, human-caused, facility, technology, clinical and emerging infectious-disease emergencies. |
| After-Action Report / Improvement Plan (AAR/IP) | Documentation of strengths, gaps, corrective actions, owners, due dates and improvement activities following an exercise or actual event. |
| Authority Having Jurisdiction (AHJ) | Agency or official with statutory/regulatory authority for a requirement, inspection or emergency action. |
| Continuity of Operations (COOP) | Planning to sustain essential functions/services during disruption and restore normal operations. |
| Dialysis Treatment Interruption | Unplanned shortening, discontinuation, delay or inability to provide the prescribed dialysis treatment, requiring clinical assessment and continuity action. |
| Emergency Operations Plan (EOP) | Facility plan describing preparedness, response, continuity and recovery. |
| Hazard Vulnerability Analysis (HVA) | Structured assessment used to identify and prioritize hazards, vulnerabilities, impacts and preparedness needs. |
| Home Dialysis | Home hemodialysis or peritoneal dialysis services supported by the certified facility, when applicable. |
| Kidney Community Emergency Response (KCER) | Dialysis emergency preparedness resource referenced in CMS ESRD guidance. |
| Shelter-in-Place (SIP) | Remaining in a safer location within the facility rather than evacuating, with provisions for patient/staff needs and essential operations. |
| Succession | Order in which personnel assume leadership or critical functions when a primary leader is unavailable. |
| Water-Treatment System | Facility system used to produce water meeting dialysis treatment requirements; emergency continuity must address failure, contamination and restoration verification. |

# 15. ACRONYMS

| Acronym | Meaning |
| --- | --- |
| AAR/IP | After-Action Report / Improvement Plan |
| AHJ | Authority Having Jurisdiction |
| CMS | Centers for Medicare & Medicaid Services |
| COOP | Continuity of Operations |
| DLC | Maine DHHS Division of Licensing & Certification |
| EHR | Electronic Health Record |
| EMA | Emergency Management Agency |
| EOP | Emergency Operations Plan |
| ESRD | End-Stage Renal Disease |
| FMO | Maine Office of State Fire Marshal |
| HCC-ME | Healthcare Coalition of Maine |
| HHD | Home Hemodialysis |
| HVA | Hazard Vulnerability Analysis |
| ICS | Incident Command System |
| KCER | Kidney Community Emergency Response |
| LSC | Life Safety Code |
| HCFC | Health Care Facilities Code |
| PD | Peritoneal Dialysis |
| PCT | Patient Care Dialysis Technician |
| PPE | Personal Protective Equipment |
| QAPI | Quality Assessment and Performance Improvement |
| RO | Reverse Osmosis |
| SIP | Shelter-in-Place |

# 16. ATTACHMENTS & SUPPORTING DOCUMENTATION

Use this section to organize facility-specific evidence that supports the EOP. The master EOP should contain or clearly reference current documents needed during an emergency and for regulatory review. Patient-identifiable information, personnel records, security information, technical logs and routine maintenance files may be maintained in controlled systems provided their current location is documented and retrievable.

| Attachment | Documentation Category |
| --- | --- |
| A | Regulatory & EOP Crosswalk |
| B | Hazard Vulnerability Analysis / Risk Assessment |
| C | Emergency Preparedness Policies & Procedures Index |
| D | Training, Exercise & Patient Orientation Documentation |
| E | Emergency Contacts & Communication Resources |
| F | Agreements / Alternate Dialysis / Transportation / Hospital Coverage |
| G | Supply Chain & Dialysis Resource Continuity |
| H | Evacuation / Shelter-in-Place / Treatment Interruption / Tracking |
| I | Patient Continuity / Transfer / Tracking |
| J | Emergency Staffing & Volunteers |
| K | Medical Records / EHR Downtime |
| L | Water / Dialysate / Utilities / Equipment / Generator |
| M | Fire / Life-Safety / Construction / Accessibility |
| N | Incident Management Forms |
| O | Recovery / AAR / QAPI Improvement Documentation |
| P | Affiliated / Sister Site / Integrated System Information |
| Q | Home Dialysis Emergency Backup - If Applicable |
| R | Emergency Coverage / Physician Roster / Hospital Agreement |
| S | Licensure / Credentialing / Laboratory / Public Health Documentation |
| T | Patient Emergency Preparedness Education / Orientation Records |

## SUPPORTING DOCUMENTATION INDEX

| Att. | Document / Evidence | Required / Basis | Owner | Storage Location | Verified |
| --- | --- | --- | --- | --- | --- |
| A | Current EOP approval / 2-year review record | §494.62 | Administration | <Location> | <Date> |
| B | Facility/community HVA | §494.62(a)(1) | EP | <Location> | <Date> |
| C | EP policies/procedures index | §494.62(b) | Administration | <Location> | <Date> |
| D | Staff training / exercise / patient orientation records | §494.62(d) | EP / HR / Clinical | <Location> | <Date> |
| E | Required contact directory / alternate communications | §494.62(c) | Administration | <Location> | <Date> |
| F | Alternate dialysis / transportation / hospital agreements | §494.62(b)(6); §494.180(g) | Clinical / Admin | <Location> | <Date> |
| K | Medical records / EHR downtime procedure | §494.62(b)(4); §494.170 | HIM / IT | <Location> | <Date> |
| L | Water/dialysate/equipment/generator logs | §494.40; §494.60; 22 MRS §2042 | Technical / Facilities | <Location> | <Date> |
| M | LSC/AHJ determination / permits / inspections | §494.60; Maine/local | Facilities | <Location> | <Date> |
| O | AAR/IP / QAPI corrective action evidence | §494.62(d)(2); §494.110 | EP / QAPI | <Location> | <Date> |
| P | Integrated system participation evidence | §494.62(e), if used | EP | <Location> | <Date> |
| Q | Home dialysis emergency backup evidence | §494.100, if applicable | Home Program | <Location> | <Date> |
| R | 24/7 emergency contact / physician roster / hospital agreement | §494.180(g) | Clinical | <Location> | <Date> |
| S | Licenses / credentials / CLIA / public-health evidence | Part 494 / Maine layers | Administration | <Location> | <Date> |
| T | Patient emergency orientation/training evidence | §494.62(d)(3) | Clinical / EP | <Location> | <Date> |
| S | §1135 waiver / alternate care site operational evidence | §494.62(b)(7), if applicable | EP / Administration | <Location> | <Date> |
| T | Special-purpose / temporary dialysis approval evidence | §494.120, if applicable | Administration / Clinical | <Location> | <Date> |

# ATTACHMENT A - REGULATORY & EOP CROSSWALK

| Source | Required / Applicable Content | Template Location |
| --- | --- | --- |
| §494.62 / E-0003 | Emergency preparedness program; review/update at least every 2 years | Sections 1-3 / Administration |
| §494.62(a)(1) | Facility/community all-hazards risk assessment | Section 3 / Attachment B |
| §494.62(a) | Patient population; services; continuity; delegation/succession | Front matter / Sections 5, 9, 13 |
| §494.62(a) / ESRD guidance | Annual local public health / EMA coordination | Section 6 / contact log |
| §494.62(b)(1) | Staff/patient tracking | Sections 8, 9, 12 / Attachment H |
| §494.62(b)(2) | Safe evacuation / treatment interruption | Section 12 / Attachment H |
| §494.62(b)(3) | Shelter in place | Section 12 / Attachment H |
| §494.62(b)(4); §494.170 | Medical documentation continuity | Section 9 / Attachment K |
| §494.62(b)(5) | Emergency staffing / volunteers | Section 8 / Attachment J |
| §494.62(b)(6) | Alternate dialysis / receiving arrangements | Section 9 / Attachment F |
| §494.62(b)(7) | §1135 alternate care site role | Annex / controlled policy |
| §494.62(b)(8); §494.180(g) | EMS / emergency medical assistance | Section 9 / Annex C |
| §494.62(b)(9) | Emergency equipment / emergency drugs | Section 9 / Annex C |
| §494.62(c)(1)-(7) | Emergency communication plan | Section 11 / Annex A |
| §494.62(d)(1) | Staff training / CPR / clinical emergency competency | Section 8 / Attachment D |
| §494.62(d)(3) | Patient emergency preparedness orientation | Section 9 / Attachment T |
| §494.62(d)(2) | Annual testing / alternating 2-year exercise cycle | Attachment D |
| §494.62(e) | Integrated system requirements if elected | Section 6 / Attachment P |
| §494.30 | Infection control / outbreak response | Annex D |
| §494.40 | Water and dialysate quality | Section 10 / Annex F |
| §494.60(a)-(f) | Physical environment / equipment / fire / HCFC | Section 10 / Attachments L-M |
| 22 MRS §2042(8)(C) | Maine backup generator / monthly operation | Section 10 / Attachment L |
| §494.100 | Home dialysis emergency backup - if applicable | Section 9 / Attachment Q |
| §494.110 | QAPI / corrective action | Section 13 / Attachment O |
| §494.130 / CLIA | Laboratory continuity - if applicable | Attachment S |
| §494.140 / §494.180(c) | Personnel qualifications / credentialing | Section 8 / Attachment S |
| §494.150(c) | Medical Director P&P oversight | Section 2 / governance |
| §494.180(g) | Emergency coverage / physician roster / hospital agreement | Attachment R |
| Maine CDC Ch. 258 | Notifiable disease / outbreak reporting | Annex D |
| Maine FMO / local AHJ | Fire/building/accessibility and current State code layer | Section 10 / Attachment M |

# ATTACHMENT B - HAZARD VULNERABILITY ANALYSIS / RISK ASSESSMENT

Maintain the completed facility-based HVA and community-based risk assessment here or reference the controlled location. Document the method, participants, date, sources and resulting priorities. ESRD risk assessment should explicitly consider fire, equipment failure, power failure, care-related emergencies, water-supply interruption, and natural disasters likely in the geographic area, along with other HVA-identified threats.

| Field | Facility Entry |
| --- | --- |
| Facility HVA date | <Insert> |
| Method / tool | <Insert> |
| Participants | <Insert> |
| Community risk sources | <Insert> |
| Top hazards | <Insert> |
| Controlled location | <Insert> |

# ATTACHMENT C - EMERGENCY PREPAREDNESS POLICIES & PROCEDURES INDEX

| Policy / Procedure Topic | Applicable Basis | Source Layer | EOP vs. Separate | Facility Document / Title | Controlled Location | Owner | Last Review / Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Emergency preparedness program governance / review | §494.62 | CMS-EP | EOP + program governance | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| HVA / all-hazards risk assessment process | §494.62(a)(1) | CMS-EP | EOP / HVA | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Continuity of dialysis services / essential functions | §494.62(a) | CMS-EP | EOP / COOP | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Delegation of authority / succession | §494.62(a) | CMS-EP | EOP / governance | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Annual local public health / EMA coordination | CMS ESRD guidance | CMS-EP | EOP / communication | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Staff and patient tracking | §494.62(b)(1) | CMS-EP | EOP or separate | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Safe evacuation / treatment interruption | §494.62(b)(2) | CMS-EP | EOP or separate | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Shelter-in-place | §494.62(b)(3) | CMS-EP | EOP or separate | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Medical record / documentation continuity | §494.62(b)(4); §494.170 | CMS-EP + Part 494 | EOP + downtime policy | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Emergency staffing / volunteer integration | §494.62(b)(5) | CMS-EP | EOP or separate | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Alternate dialysis / receiving facility arrangements | §494.62(b)(6) | CMS-EP | EOP + agreements | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Emergency transportation / transfer | CMS guidance / §494.180(g) | CMS-EP + Part 494 | EOP + transfer process | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| §1135 alternate care site role | §494.62(b)(7) | CMS-EP | EOP or separate | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| EMS / emergency medical assistance | §494.62(b)(8) | CMS-EP | EOP / clinical emergency | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Emergency equipment / emergency drugs availability | §494.62(b)(9) | CMS-EP | Separate clinical policy + EOP ref | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Emergency communications / contact directory | §494.62(c)(1)-(3) | CMS-EP | Communication plan | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Patient information sharing / transfer | §494.62(c)(4)-(6) | CMS-EP + HIPAA | Communication / records | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Occupancy / needs / ability-to-assist reporting | §494.62(c)(7) | CMS-EP | Communication plan | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Emergency staff training | §494.62(d)(1) | CMS-EP | Training program | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| CPR certification / clinical emergency competency | §494.62(d)(1); §494.140 | CMS-EP + Part 494 | Training / personnel files | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Patient emergency orientation / training | §494.62(d)(3) | CMS-EP | Patient education policy | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Exercise/testing cycle | §494.62(d)(2) | CMS-EP | Exercise program | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| AAR / corrective action / plan revision | §494.62(d)(2); §494.110 | CMS-EP + QAPI | AAR/IP / QAPI | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Infection control / outbreak response | §494.30; Maine Ch. 258 | Federal + Maine | Separate policy + EOP annex | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Water treatment / water interruption | §494.40; §494.62 | Federal | Technical policy + EOP annex | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Dialysate / equipment failure | §494.40; §494.60 | Federal | Technical policy + EOP annex | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Backup emergency generator / power failure | 22 MRS §2042; §494.62 | Maine + CMS-EP | Utilities / emergency power | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Generator monthly operation/testing documentation | 22 MRS §2042 | Maine | Maintenance/testing record | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Fire / smoke / evacuation / alarm response | §494.60; ME-FMO/AHJ | Federal + Maine | Fire plan + EOP annex | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| IT / EHR downtime / cyber response | HVA; §494.170 | CMS guidance + Federal | Downtime/cyber policy | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Supply chain / critical dialysis supplies | HVA / §494.62(b)(9) | CMS-EP | EOP / supply plan | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Home dialysis emergency backup - if applicable | §494.100(c)(1)(vii) | Federal | Home dialysis policy | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Hospital emergency coverage agreement | §494.180(g)(3) | Federal | Agreement | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| 24/7 emergency contact / physician roster | §494.180(g)(1)-(2) | Federal | Emergency coverage policy | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Laboratory downtime / CLIA continuity - if applicable | §494.130 / CLIA / Ch.256 | Federal + Maine | Lab policy | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Credentialing / license verification | §494.140; §494.180(c); Maine boards | Federal + Maine | Credentialing policy | <Document title> | <Controlled location> | <Owner> | <Date / status> |
| Controlled document review / revision | §494.62 + facility policy | Cross-reg | Document control | <Document title> | <Controlled location> | <Owner> | <Date / status> |

# ATTACHMENT D - TRAINING, EXERCISE & PATIENT ORIENTATION DOCUMENTATION

CMS TRAINING Initial and every-2-year staff training; training on significant P&P updates; documented competency; patient care staff CPR; nursing emergency equipment/drug training; and ESRD patient emergency preparedness orientation/training.

| Date | Training / Orientation / Exercise | Audience / Participants | Record / AAR Location |
| --- | --- | --- | --- |
| <Date> | <Insert> | <Insert> | <Location> |
| <Date> | <Insert> | <Insert> | <Location> |
| <Date> | <Insert> | <Insert> | <Location> |
| <Date> | <Insert> | <Insert> | <Location> |
| <Date> | <Insert> | <Insert> | <Location> |
| <Date> | <Insert> | <Insert> | <Location> |
| <Date> | <Insert> | <Insert> | <Location> |
| <Date> | <Insert> | <Insert> | <Location> |

ESRD EXERCISE CYCLE One emergency-plan testing exercise each year. At least every 2 years use a community-based full-scale exercise when accessible or a facility-based functional exercise when not accessible; in the opposite year use an allowed exercise of choice. Document actual-event activation if claiming an exemption and complete an AAR/corrective action process. CMS RECOMMENDED RETENTION: Keep at least the past 2 outpatient testing cycles (generally 4 years), including community-exercise outreach, exercise/AAR records, corrective actions, and actual-event exemption evidence.

| Cycle / Requirement | Date | Type / Exemption | Community Availability / Outreach Evidence | AAR / Evidence Location |
| --- | --- | --- | --- | --- |
| 2-year full-scale/functional requirement | <Date> | <Type / actual event exemption> | <Contacts / basis> | <Location> |
| Opposite-year exercise of choice | <Date> | <Type> | N/A | <Location> |
| Current annual exercise status | <Year> | <Complete / planned> | <Notes> | <Location> |

## Patient Orientation Record

| Patient / Cohort | Date | Method / Language / Format | Topics Covered | Educator | Record Location |
| --- | --- | --- | --- | --- | --- |
| <Insert or secured roster reference> | <Date> | <Insert> | <Insert> | <Insert> | <Location> |
| <Insert or secured roster reference> | <Date> | <Insert> | <Insert> | <Insert> | <Location> |
| <Insert or secured roster reference> | <Date> | <Insert> | <Insert> | <Insert> | <Location> |
| <Insert or secured roster reference> | <Date> | <Insert> | <Insert> | <Insert> | <Location> |
| <Insert or secured roster reference> | <Date> | <Insert> | <Insert> | <Insert> | <Location> |

# ATTACHMENT E - EMERGENCY CONTACTS & COMMUNICATION RESOURCES

| Partner / Audience | Contact / Directory | Primary Method | Alternate Method |
| --- | --- | --- | --- |
| Staff | <Secured roster> | <Insert> | <Insert> |
| Patients / caregivers | <Secured system> | <Insert> | <Insert> |
| Patients' physicians | <Source> | <Insert> | <Insert> |
| Other dialysis facilities | <Directory> | <Insert> | <Insert> |
| Volunteers | <Directory if used> | <Insert> | <Insert> |
| Local / County EMA | <Contact> | <Insert> | <Insert> |
| Maine CDC / Public Health | <Contact> | <Insert> | <Insert> |
| Fire / EMS / Law Enforcement | <Contact> | <Insert> | <Insert> |
| Maine DHHS / DLC | <Contact> | <Insert> | <Insert> |
| HCC-ME District Liaison | <Contact> | <Insert> | <Insert> |
| ESRD Network / KCER | <Contact> | <Insert> | <Insert> |
| Utilities / water | <Contact> | <Insert> | <Insert> |
| Key vendors | <Directory> | <Insert> | <Insert> |

# ATTACHMENT F - AGREEMENTS / ALTERNATE DIALYSIS / TRANSPORTATION / HOSPITAL COVERAGE

| Partner / Vendor | Purpose | Agreement Type | Effective / Expiration | 24/7 Contact | Controlled Location |
| --- | --- | --- | --- | --- | --- |
| <Insert> | <Alternate dialysis / hospital / transportation / vendor / other> | <MOU / agreement / contract> | <Dates> | <Contact> | <Location> |
| <Insert> | <Alternate dialysis / hospital / transportation / vendor / other> | <MOU / agreement / contract> | <Dates> | <Contact> | <Location> |
| <Insert> | <Alternate dialysis / hospital / transportation / vendor / other> | <MOU / agreement / contract> | <Dates> | <Contact> | <Location> |
| <Insert> | <Alternate dialysis / hospital / transportation / vendor / other> | <MOU / agreement / contract> | <Dates> | <Contact> | <Location> |
| <Insert> | <Alternate dialysis / hospital / transportation / vendor / other> | <MOU / agreement / contract> | <Dates> | <Contact> | <Location> |
| <Insert> | <Alternate dialysis / hospital / transportation / vendor / other> | <MOU / agreement / contract> | <Dates> | <Contact> | <Location> |
| <Insert> | <Alternate dialysis / hospital / transportation / vendor / other> | <MOU / agreement / contract> | <Dates> | <Contact> | <Location> |
| <Insert> | <Alternate dialysis / hospital / transportation / vendor / other> | <MOU / agreement / contract> | <Dates> | <Contact> | <Location> |

# ATTACHMENT G - SUPPLY CHAIN & DIALYSIS RESOURCE CONTINUITY

| Resource | Normal Source | Emergency Source | On-Hand Target | Conservation / Substitute | Reorder / Transfer Trigger | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |

# ATTACHMENT H - EVACUATION / SIP / TREATMENT INTERRUPTION / TRACKING

| Item | Controlled Document / Location | Last Verified |
| --- | --- | --- |
| Evacuation map(s) / exit routes | <Location> | <Date> |
| Assembly / accountability / staff tracking | <Location> | <Date> |
| Patient tracking / receiving-location process | <Location> | <Date> |
| Accessible evacuation provisions | <Location> | <Date> |
| Safe treatment discontinuation/disconnection | <Location> | <Date> |
| Shelter-in-place areas / criteria | <Location> | <Date> |
| Closure / altered schedule procedure | <Location> | <Date> |
| Patient notification templates | <Location> | <Date> |
| External assistance / EMS process | <Location> | <Date> |
| Alternate dialysis / transfer process | <Location> | <Date> |

# ATTACHMENT I - PATIENT CONTINUITY / TRANSFER / TRACKING

| Continuity Function | Process / Tool / Controlled Location |
| --- | --- |
| Urgent dialysis need / transfer | <Insert> |
| Altered treatment schedule / prioritization | <Insert> |
| Alternate dialysis placement | <Insert> |
| Transportation continuity | <Insert> |
| Medication / emergency medical continuity | <Insert> |
| Home dialysis backup treatment | <Insert if applicable> |
| Patient tracking during evacuation / incident | <Secured tool/location> |
| Medical information transfer | <Insert> |
| Patient/caregiver notification | <Insert> |

# ATTACHMENT J - EMERGENCY STAFFING & VOLUNTEERS

| Staffing Strategy | Activation Trigger | Verification / Credential Process | Supervision / Role Assignment | Record Location |
| --- | --- | --- | --- | --- |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |

# ATTACHMENT K - MEDICAL RECORDS / EHR DOWNTIME

| Element | Facility Process / Controlled Location |
| --- | --- |
| Downtime activation authority | <Insert> |
| Paper treatment / tracking forms | <Location> |
| Access to dialysis prescription | <Method> |
| Access to medications / allergies | <Method> |
| Vascular access / treatment history | <Method> |
| Lab / result continuity | <Process> |
| Privacy / confidentiality safeguards | <Process> |
| Data backup / recovery contact | <Insert> |
| Cyber incident escalation | <Insert> |
| Reconciliation after restoration | <Process> |
| Extended outage patient communication | <Process> |

# ATTACHMENT L - WATER / DIALYSATE / UTILITIES / EQUIPMENT / GENERATOR

| System / Equipment | Normal Source / Condition | Backup / Contingency | PM / Test Record Location | Decision Trigger |
| --- | --- | --- | --- | --- |
| Water source | <Insert> | <Insert> | <Insert> | <Insert> |
| Water-treatment system | <Insert> | <Insert> | <Insert> | <Insert> |
| Dialysate / concentrates | <Insert> | <Insert> | <Insert> | <Insert> |
| Dialysis machines | <Insert> | <Insert> | <Insert> | <Insert> |
| Electricity | <Insert> | <Generator / portable / other> | <Insert> | <Insert> |
| Emergency generator / fuel | <Insert> | <Insert> | <Monthly 30-min log + PM location> | <Insert> |
| HVAC / heat | <Insert> | <Insert> | <Insert> | <Insert> |
| Potable water / sewer | <Insert> | <Insert> | <Insert> | <Insert> |
| Fire alarm / sprinkler | <Insert> | <Insert> | <Insert> | <Insert> |
| Telecommunications | <Insert> | <Insert> | <Insert> | <Insert> |

# ATTACHMENT M - FIRE / LIFE-SAFETY / CONSTRUCTION / ACCESSIBILITY DOCUMENTATION

SEPARATE FEDERAL / STATE LAYERS Document the federal §494.60(d)/(e) LSC/HCFC applicability determination separately from Maine FMO/local AHJ requirements. CMS-2786U is the ESRD/ASC fire-safety form when the federal ESRD LSC survey applies.

| Authority / Topic | Documentation | Controlled Location |
| --- | --- | --- |
| Federal §494.60(d) | Grade-level exit determination | <Location> |
| CMS Appendix H / CMS-2786U | Federal ESRD LSC survey evidence if applicable | <Location> |
| Federal §494.60(e) | HCFC applicability if no grade-level exit | <Location> |
| Maine FMO / local AHJ | Occupancy classification / determination | <Location> |
| Maine FMO | Construction / renovation / change-of-use permits | <Location> |
| Maine FMO / local AHJ | Fire alarm / signaling inspection/testing | <Location> |
| Maine FMO / local AHJ | Sprinkler / water-based fire protection records | <Location> |
| Maine FMO / local AHJ | Egress / exit signs / evacuation maps | <Location> |
| Local AHJ | Municipal permits / inspections / corrective actions | <Location> |
| Mixed/hospital occupancy - if applicable | Separation / governing survey layer determination | <Location> |

# ATTACHMENT N - INCIDENT MANAGEMENT FORMS

Maintain standardized forms appropriate to the organization. HCC-ME universal forms may be used when helpful.

| Form / Record | Controlled Location |
| --- | --- |
| Incident / Situation Status Form | <Location> |
| Staff Accountability Form | <Location> |
| Patient / Receiving Facility Tracking Form | <Location> |
| Emergency Contact Directory | <Location> |
| Vendor / Resource Contact List | <Location> |
| MOU / Agreement Tracker | <Location> |
| Corrective Action / Improvement Tracker | <Location> |
| Emergency Preparedness Training Log | <Location> |
| Annual Training & Exercise Calendar | <Location> |
| Patient Orientation Record | <Location> |
| Generator Monthly Operation Log | <Location> |
| Other incident forms | <Location> |

# ATTACHMENT O - RECOVERY / AAR / QAPI IMPROVEMENT DOCUMENTATION

| Event / Exercise | Date | AAR Location | Improvement / QAPI Location | Owner | Closed / Verified |
| --- | --- | --- | --- | --- | --- |
| <Insert> | <Date> | <Location> | <Location> | <Insert> | <Date / status> |
| <Insert> | <Date> | <Location> | <Location> | <Insert> | <Date / status> |
| <Insert> | <Date> | <Location> | <Location> | <Insert> | <Date / status> |
| <Insert> | <Date> | <Location> | <Location> | <Insert> | <Date / status> |
| <Insert> | <Date> | <Location> | <Location> | <Insert> | <Date / status> |
| <Insert> | <Date> | <Location> | <Location> | <Insert> | <Date / status> |
| <Insert> | <Date> | <Location> | <Location> | <Insert> | <Date / status> |
| <Insert> | <Date> | <Location> | <Location> | <Insert> | <Date / status> |

# ATTACHMENT P - AFFILIATED / SISTER SITE / INTEGRATED SYSTEM INFORMATION

| Location-Specific Documentation | Facility Entry | Controlled Location |
| --- | --- | --- |
| Facility/site profile / address / CCN | <Insert for each location> | <Location> |
| Facility-specific HVA / top hazards | <Insert> | <Location> |
| Dialysis modalities / stations / population | <Insert> | <Location> |
| Activation authority / succession / delegation | <Insert> | <Location> |
| Emergency contacts / staff roster | <Insert> | <Secured location> |
| Water system / generator / critical dependencies | <Insert> | <Location> |
| Floor plans / evacuation routes | <Insert> | <Location> |
| Training / exercise / patient orientation records | <Insert> | <Location> |
| Evidence of active participation in integrated program | <Insert> | <Location> |

# ATTACHMENT Q - HOME DIALYSIS EMERGENCY BACKUP - IF APPLICABLE

| Element | Facility Entry / Controlled Location |
| --- | --- |
| Home modalities supported | <PD / HHD / other> |
| Patient/caregiver emergency contact process | <Insert> |
| Emergency backup in-center dialysis | <Facility / process / agreement> |
| Equipment failure support | <Vendor / process> |
| Supply interruption support | <Vendor / emergency stock process> |
| Power / water disruption guidance | <Patient education / escalation process> |
| Communication outage alternatives | <Insert> |
| Nursing-home dialysis arrangement - if applicable | <Agreement / responsibilities> |
| Documentation / follow-up | <Insert> |

# ATTACHMENT R - EMERGENCY COVERAGE / PHYSICIAN ROSTER / HOSPITAL AGREEMENT

| Requirement / Evidence | Facility Entry / Controlled Location |
| --- | --- |
| Written patient/staff instructions for emergency medical care | <Location> |
| 24/7 dialysis-related emergency contact | <Insert> |
| 911 instructions for emergent medical conditions | <Location> |
| Current emergency physician / on-call roster | <Nursing/monitoring station location> |
| Hospital agreement | <Partner / agreement location> |
| Hospital provides inpatient care / routine-emergency dialysis / emergency medical care | <Evidence / agreement language> |
| Prompt acceptance / response assurance | <Evidence> |

# ATTACHMENT S - LICENSURE / CREDENTIALING / LABORATORY / PUBLIC HEALTH DOCUMENTATION

| Evidence | Applicable Basis | Controlled Location | Verified |
| --- | --- | --- | --- |
| Current Maine ESRD license | 22 MRS §2042 / Ch.126 | <Location> | <Date> |
| CMS certification / survey evidence | Part 494 / §2042 | <Location> | <Date> |
| Most recent survey within State renewal timeframe | §2042(7) | <Location> | <Date> |
| Medical Director qualifications | §494.140(a) | <Location> | <Date> |
| RN / LPN license verification | §494.140(b) / Maine Board of Nursing | <Location> | <Date> |
| Dietitian credentials / Maine license | §494.140(c) / Maine Dietetic Board | <Location> | <Date> |
| Social worker credentials / Maine license | §494.140(d) / Maine Social Worker Board | <Location> | <Date> |
| PCT certification / competency | §494.140(e) | <Location> | <Date> |
| CLIA / Maine laboratory evidence - if applicable | §494.130 / Ch.256 | <Location> | <Date> |
| Maine CDC notifiable disease procedure | Maine Ch.258 | <Location> | <Date> |
| FMO/local AHJ permits / inspections | Maine/local | <Location> | <Date> |

# ATTACHMENT T - PATIENT EMERGENCY PREPAREDNESS EDUCATION / ORIENTATION RECORDS

| Required / Recommended Topic | Education Material / Method | Language / Accessibility | Documentation Location | Last Reviewed |
| --- | --- | --- | --- | --- |
| Emergency notifications / what to do | <Insert> | <Insert> | <Location> | <Date> |
| Where to go / geographic evacuation | <Insert> | <Insert> | <Location> | <Date> |
| Who to contact / alternate emergency phone | <Insert> | <Insert> | <Location> | <Date> |
| Alternate dialysis locations / transfer services | <Insert> | <Insert> | <Location> | <Date> |
| Shelter-in-place expectations | <Insert> | <Insert> | <Location> | <Date> |
| Safe dialysis machine disconnection | <Insert> | <Insert> | <Location> | <Date> |
| HVA-specific hazards / KCER resources as appropriate | <Insert> | <Insert> | <Location> | <Date> |

# 17. ANNEXES

| Annex | Title |
| --- | --- |
| A | Required Emergency Communication Plan |
| B | Continuity of Operations / Dialysis Treatment Continuity |
| C | Emergency Medical Assistance / Equipment / Drugs |
| D | Infection Prevention / Outbreak / Public Health Coordination |
| E | Patient Continuity / Alternate Dialysis / Transportation |
| F | Water / Dialysate Interruption & Restoration |
| G | Supply Chain / Critical Dialysis Resources |
| H | Emergency Staffing / Volunteer Integration |
| I | Cybersecurity / IT / EHR Downtime |
| J | Home Dialysis Emergency Backup - If Applicable |
| K | EMResource / HCC-ME Situational Awareness - Optional |
| L | Fire / Life Safety / Generator / Facility Closure Coordination |
| M | §1135 Waiver / Alternate Care Site Operations |

# ANNEX A - REQUIRED EMERGENCY COMMUNICATION PLAN

CMS REQUIRED Customize this annex to satisfy §494.62(c)(1)-(7) and review/update it at least every 2 years.

| Communication Function | Facility Process |
| --- | --- |
| Required contacts / directory source | <Insert> |
| Staff notification | <Insert primary/alternate> |
| Emergency management/public health contacts | <Insert primary/alternate> |
| Patient/caregiver messaging | <Insert> |
| Medical information sharing with other providers | <Insert> |
| Patient information release during evacuation | <Insert> |
| General condition/location information process | <Insert> |
| Occupancy / needs / ability-to-assist reporting | <Insert AHJ/ICC/EOC pathway> |
| Media / spokesperson | <Insert> |
| Extended outage alternatives | <Insert> |
| Documentation / message log | <Insert> |

# ANNEX B - CONTINUITY OF OPERATIONS / DIALYSIS TREATMENT CONTINUITY

| Essential Function | Maximum Tolerable Downtime | Minimum Staffing | Critical Dependencies | Alternate Method / Site | Recovery Priority |
| --- | --- | --- | --- | --- | --- |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |

## Continuity Decision Triggers

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

# ANNEX C - EMERGENCY MEDICAL ASSISTANCE / EQUIPMENT / DRUGS

| Element | Facility Entry / Controlled Policy |
| --- | --- |
| EMS / 911 activation criteria | <Insert> |
| 24/7 dialysis emergency contact | <Insert> |
| Emergency physician / on-call roster | <Insert> |
| Hospital agreement / emergency coverage | <Insert> |
| Oxygen / airway equipment | <Insert> |
| Suction | <Insert> |
| AED / defibrillator | <Insert> |
| Artificial resuscitator | <Insert> |
| Emergency drugs | <Insert> |
| Nursing staff competency / training | <Insert> |
| Inspection / maintenance / expiration process | <Insert> |

# ANNEX D - INFECTION PREVENTION / OUTBREAK / PUBLIC HEALTH COORDINATION

| Planning Element | Facility Process / Controlled Location |
| --- | --- |
| Detection / screening triggers | <Insert> |
| Isolation / cohorting / patient flow | <Insert> |
| PPE / respiratory protection | <Insert> |
| Staff illness / exclusion / return-to-work | <Insert> |
| Dialysis treatment continuity during outbreak | <Insert> |
| Testing / specimen / laboratory coordination | <Insert> |
| Maine CDC reporting / consultation | <Insert> |
| Patient/staff communications | <Insert> |
| Supply continuity | <Insert> |
| Recovery / return to normal | <Insert> |

# ANNEX E - PATIENT CONTINUITY / ALTERNATE DIALYSIS / TRANSPORTATION

| Scenario | Process / Partner / Communication |
| --- | --- |
| Temporary facility closure | <Insert> |
| Water-treatment shutdown | <Insert> |
| Power / generator limitation | <Insert> |
| Loss of dialysis equipment capacity | <Insert> |
| Alternate dialysis placement | <Insert> |
| Hospital transfer / emergency dialysis | <Insert> |
| Transportation disruption | <Insert> |
| Altered treatment schedules | <Insert> |
| Home dialysis backup | <Insert if applicable> |
| Patient notification / follow-up | <Insert> |

# ANNEX F - WATER / DIALYSATE INTERRUPTION & RESTORATION

| Element | Facility Process / Decision Threshold |
| --- | --- |
| Water utility interruption | <Insert> |
| Well failure / source issue | <Insert> |
| RO/DI / water-treatment equipment failure | <Insert> |
| Water contamination concern | <Insert> |
| Monitoring / alarm failure | <Insert> |
| Alternate water source / supplier | <Insert> |
| Conservation / reduced treatment operations | <Insert> |
| Shutdown / transfer criteria | <Insert> |
| Patient/staff communication | <Insert> |
| Restoration verification before restart | <Insert> |
| Required documentation / reporting | <Insert> |
| Water-main break / distribution failure | <Insert> |
| Sudden source-water quality change | <Insert> |
| Critical water-treatment component failure | <Insert> |
| Chlorine / chloramine breakthrough | <Insert stop-treatment/corrective-action/retest criteria> |

# ANNEX G - SUPPLY CHAIN / CRITICAL DIALYSIS RESOURCES

| Critical Resource | Normal Source | Alternate Source | Conservation / Substitution | Escalation Trigger |
| --- | --- | --- | --- | --- |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |
| <Insert> | <Insert> | <Insert> | <Insert> | <Insert> |

# ANNEX H - EMERGENCY STAFFING / VOLUNTEER INTEGRATION

| Phase / Strategy | Trigger | Staffing Action | Credential / Scope / Supervision | Documentation |
| --- | --- | --- | --- | --- |
| Call-back | <Insert> | <Insert> | N/A | <Insert> |
| Reassignment / cross-coverage | <Insert> | <Insert> | <Insert> | <Insert> |
| Contract / agency | <Insert> | <Insert> | <Insert> | <Insert> |
| Volunteers | <Insert> | <Insert> | <Insert> | <Insert> |
| State/Federal designated professionals | <Insert> | <Insert> | <Insert> | <Insert> |
| Required RN coverage / charge responsibility | <Insert trigger> | Maintain RN responsible for nursing care whenever in-center patients are treated | <License / competency / scope verification> | <Record location> |

# ANNEX I - CYBERSECURITY / IT / EHR DOWNTIME

| Element | Facility Process |
| --- | --- |
| Activation / incident classification | <Insert> |
| EHR downtime forms / treatment documentation | <Insert> |
| Patient identity / registration | <Insert> |
| Dialysis prescription / treatment history access | <Insert> |
| Medication / allergy / lab continuity | <Insert> |
| Patient / alternate facility information transfer | <Insert> |
| Internal / external communications | <Insert> |
| Cybersecurity escalation / vendor / insurer | <Insert> |
| Backup / restoration / validation | <Insert> |
| Reconciliation after restoration | <Insert> |
| Extended downtime / service closure trigger | <Insert> |

# ANNEX J - HOME DIALYSIS EMERGENCY BACKUP - IF APPLICABLE

| Element | Facility Process |
| --- | --- |
| Affected home modalities | <Insert> |
| Patient/caregiver emergency instructions | <Insert> |
| Emergency contact pathway | <Insert> |
| Backup in-center treatment | <Insert> |
| Equipment failure | <Insert> |
| Supply interruption | <Insert> |
| Power / water interruption | <Insert> |
| Transportation / transfer | <Insert> |
| Nursing-home dialysis coordination - if applicable | <Insert> |
| Follow-up / documentation | <Insert> |

# ANNEX K - EMRESOURCE / HCC-ME SITUATIONAL AWARENESS (OPTIONAL)

OPTIONAL HCC-ME RESOURCE Participation in HCC-ME or EMResource does not replace required regulatory/public-health reporting. Document coalition participation when used for exercises, preparedness assistance, situational awareness or resource coordination.

| Field | Facility Entry |
| --- | --- |
| HCC-ME District Liaison | <Insert> |
| EMResource account / responsible role | <Insert> |
| Internal approval to submit status | <Insert> |
| Information shared / update triggers | <Insert> |
| Resource request pathway | <Insert> |
| Downtime alternative | <Insert> |

# ANNEX L - FIRE / LIFE SAFETY / GENERATOR / FACILITY CLOSURE COORDINATION

| Element | Facility Process / Controlled Location |
| --- | --- |
| Federal grade-level exit / LSC determination | <Insert> |
| CMS-2786U / federal LSC evidence - if applicable | <Insert> |
| Maine FMO / local AHJ occupancy determination | <Insert> |
| Fire alarm / sprinkler impairment | <Insert> |
| Egress / exit sign issue | <Insert> |
| Fire / smoke response | <Insert> |
| Generator activation / monthly operation / fuel | <Insert> |
| Building unsafe / closure decision | <Insert> |
| Construction / renovation coordination | <Insert> |
| FMO / local AHJ notification | <Insert> |
| Reopening approval / verification | <Insert> |

# ANNEX M - §1135 WAIVER / ALTERNATE CARE SITE OPERATIONS

CMS REQUIRED / EVENT-DEPENDENT Customize this annex to address the facility’s role under 42 CFR §494.62(b)(7) when a Secretary-declared §1135 waiver and emergency-management-designated alternate care site are applicable. This annex does not independently authorize operation of a temporary dialysis site; confirm current CMS, Maine, local/AHJ, licensure, credentialing, and emergency-management requirements for the event.

| Element | Facility Process / Controlled Location |
| --- | --- |
| Declaration / waiver / emergency authority | <Insert> |
| Alternate care site designation / approving authority | <Insert> |
| Site address / access / life-safety determination | <Insert> |
| Dialysis modalities / treatment capacity / hours | <Insert> |
| Patient selection / prioritization / continuity criteria | <Insert> |
| Staffing / RN coverage / credentials / scope / supervision | <Insert> |
| Water / dialysate / utilities / environmental verification | <Insert> |
| Machines / supplies / medications / emergency equipment | <Insert> |
| Medical records / prescription / PHI continuity | <Insert> |
| Transportation / transfer / receiving facility coordination | <Insert> |
| Emergency management / public health / HCC-ME coordination | <Insert> |
| Patient / caregiver instructions / communications | <Insert> |
| Activation documentation / situation reporting | <Insert> |
| Demobilization / return to normal / waiver expiration | <Insert> |
| AAR / QAPI / corrective action | <Insert> |

# 18. INCIDENT-SPECIFIC APPENDICES

The facility is not required to create a wholly separate procedure for every hazard when the same protective-action process applies. Response strategies may be consolidated, but hazards identified in the risk assessment should be addressed and important dialysis-specific differences documented.

| Appendix | Hazard / Scenario |
| --- | --- |
| A | Severe Winter Weather / Extreme Cold |
| B | Extended Power / Generator / HVAC Failure |
| C | Water Supply / Water-Treatment / Dialysate Quality Failure |
| D | Fire / Smoke / Building Emergency |
| E | Emerging Infectious Disease / Outbreak |
| F | Cyberattack / Extended IT-EHR Downtime |
| G | Flood / Severe Storm / High Wind |
| H | Dialysis Equipment / Machine Failure |
| I | Transportation / Access Disruption |
| J | Supply Chain / Critical Dialysis Supplies Disruption |
| K | Active Threat / Violence / Security Incident |
| L | Hazardous Materials / Indoor Air / Environmental Incident |
| M | Mass Casualty / Community Surge |

# APPENDIX A - SEVERE WINTER WEATHER / EXTREME COLD

REGULATORY CONNECTION Address this hazard when supported by the facility- and community-based all-hazards risk assessment. Customize dialysis-specific differences rather than duplicating generic activation, communication, evacuation or recovery procedures.

| Field | Facility Entry |
| --- | --- |
| Risk / HVA rating | <Insert> |
| Primary activation triggers | <Insert> |
| Decision authority | <Insert> |
| Immediate life-safety actions | <Insert> |
| Dialysis treatment / patient priorities | <Insert> |
| Safe treatment interruption / disconnection implications | <Insert> |
| Water / utility / equipment considerations | <Insert> |
| Staffing actions | <Insert> |
| Communication / reporting | <Insert> |
| Evacuation / SIP / closure implications | <Insert> |
| Alternate dialysis / transportation / external partners | <Insert> |
| Recovery / return-to-normal criteria | <Insert> |
| Required documentation / AAR-QAPI | <Insert> |

## Hazard-Specific Procedures / Notes

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

# APPENDIX B - EXTENDED POWER / GENERATOR / HVAC FAILURE

REGULATORY CONNECTION Address this hazard when supported by the facility- and community-based all-hazards risk assessment. Customize dialysis-specific differences rather than duplicating generic activation, communication, evacuation or recovery procedures.

| Field | Facility Entry |
| --- | --- |
| Risk / HVA rating | <Insert> |
| Primary activation triggers | <Insert> |
| Decision authority | <Insert> |
| Immediate life-safety actions | <Insert> |
| Dialysis treatment / patient priorities | <Insert> |
| Safe treatment interruption / disconnection implications | <Insert> |
| Water / utility / equipment considerations | <Insert> |
| Staffing actions | <Insert> |
| Communication / reporting | <Insert> |
| Evacuation / SIP / closure implications | <Insert> |
| Alternate dialysis / transportation / external partners | <Insert> |
| Recovery / return-to-normal criteria | <Insert> |
| Required documentation / AAR-QAPI | <Insert> |

## Hazard-Specific Procedures / Notes

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

# APPENDIX C - WATER SUPPLY / WATER-TREATMENT / DIALYSATE QUALITY FAILURE

REGULATORY CONNECTION Address this hazard when supported by the facility- and community-based all-hazards risk assessment. Customize dialysis-specific differences rather than duplicating generic activation, communication, evacuation or recovery procedures.

| Field | Facility Entry |
| --- | --- |
| Risk / HVA rating | <Insert> |
| Primary activation triggers | <Insert> |
| Decision authority | <Insert> |
| Immediate life-safety actions | <Insert> |
| Dialysis treatment / patient priorities | <Insert> |
| Safe treatment interruption / disconnection implications | <Insert> |
| Water / utility / equipment considerations | <Insert> |
| Staffing actions | <Insert> |
| Communication / reporting | <Insert> |
| Evacuation / SIP / closure implications | <Insert> |
| Alternate dialysis / transportation / external partners | <Insert> |
| Recovery / return-to-normal criteria | <Insert> |
| Required documentation / AAR-QAPI | <Insert> |

## Hazard-Specific Procedures / Notes

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

# APPENDIX D - FIRE / SMOKE / BUILDING EMERGENCY

REGULATORY CONNECTION Address this hazard when supported by the facility- and community-based all-hazards risk assessment. Customize dialysis-specific differences rather than duplicating generic activation, communication, evacuation or recovery procedures.

| Field | Facility Entry |
| --- | --- |
| Risk / HVA rating | <Insert> |
| Primary activation triggers | <Insert> |
| Decision authority | <Insert> |
| Immediate life-safety actions | <Insert> |
| Dialysis treatment / patient priorities | <Insert> |
| Safe treatment interruption / disconnection implications | <Insert> |
| Water / utility / equipment considerations | <Insert> |
| Staffing actions | <Insert> |
| Communication / reporting | <Insert> |
| Evacuation / SIP / closure implications | <Insert> |
| Alternate dialysis / transportation / external partners | <Insert> |
| Recovery / return-to-normal criteria | <Insert> |
| Required documentation / AAR-QAPI | <Insert> |

## Hazard-Specific Procedures / Notes

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

# APPENDIX E - EMERGING INFECTIOUS DISEASE / OUTBREAK

REGULATORY CONNECTION Address this hazard when supported by the facility- and community-based all-hazards risk assessment. Customize dialysis-specific differences rather than duplicating generic activation, communication, evacuation or recovery procedures.

| Field | Facility Entry |
| --- | --- |
| Risk / HVA rating | <Insert> |
| Primary activation triggers | <Insert> |
| Decision authority | <Insert> |
| Immediate life-safety actions | <Insert> |
| Dialysis treatment / patient priorities | <Insert> |
| Safe treatment interruption / disconnection implications | <Insert> |
| Water / utility / equipment considerations | <Insert> |
| Staffing actions | <Insert> |
| Communication / reporting | <Insert> |
| Evacuation / SIP / closure implications | <Insert> |
| Alternate dialysis / transportation / external partners | <Insert> |
| Recovery / return-to-normal criteria | <Insert> |
| Required documentation / AAR-QAPI | <Insert> |

## Hazard-Specific Procedures / Notes

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

# APPENDIX F - CYBERATTACK / EXTENDED IT-EHR DOWNTIME

REGULATORY CONNECTION Address this hazard when supported by the facility- and community-based all-hazards risk assessment. Customize dialysis-specific differences rather than duplicating generic activation, communication, evacuation or recovery procedures.

| Field | Facility Entry |
| --- | --- |
| Risk / HVA rating | <Insert> |
| Primary activation triggers | <Insert> |
| Decision authority | <Insert> |
| Immediate life-safety actions | <Insert> |
| Dialysis treatment / patient priorities | <Insert> |
| Safe treatment interruption / disconnection implications | <Insert> |
| Water / utility / equipment considerations | <Insert> |
| Staffing actions | <Insert> |
| Communication / reporting | <Insert> |
| Evacuation / SIP / closure implications | <Insert> |
| Alternate dialysis / transportation / external partners | <Insert> |
| Recovery / return-to-normal criteria | <Insert> |
| Required documentation / AAR-QAPI | <Insert> |

## Hazard-Specific Procedures / Notes

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

# APPENDIX G - FLOOD / SEVERE STORM / HIGH WIND

REGULATORY CONNECTION Address this hazard when supported by the facility- and community-based all-hazards risk assessment. Customize dialysis-specific differences rather than duplicating generic activation, communication, evacuation or recovery procedures.

| Field | Facility Entry |
| --- | --- |
| Risk / HVA rating | <Insert> |
| Primary activation triggers | <Insert> |
| Decision authority | <Insert> |
| Immediate life-safety actions | <Insert> |
| Dialysis treatment / patient priorities | <Insert> |
| Safe treatment interruption / disconnection implications | <Insert> |
| Water / utility / equipment considerations | <Insert> |
| Staffing actions | <Insert> |
| Communication / reporting | <Insert> |
| Evacuation / SIP / closure implications | <Insert> |
| Alternate dialysis / transportation / external partners | <Insert> |
| Recovery / return-to-normal criteria | <Insert> |
| Required documentation / AAR-QAPI | <Insert> |

## Hazard-Specific Procedures / Notes

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

# APPENDIX H - DIALYSIS EQUIPMENT / MACHINE FAILURE

REGULATORY CONNECTION Address this hazard when supported by the facility- and community-based all-hazards risk assessment. Customize dialysis-specific differences rather than duplicating generic activation, communication, evacuation or recovery procedures.

| Field | Facility Entry |
| --- | --- |
| Risk / HVA rating | <Insert> |
| Primary activation triggers | <Insert> |
| Decision authority | <Insert> |
| Immediate life-safety actions | <Insert> |
| Dialysis treatment / patient priorities | <Insert> |
| Safe treatment interruption / disconnection implications | <Insert> |
| Water / utility / equipment considerations | <Insert> |
| Staffing actions | <Insert> |
| Communication / reporting | <Insert> |
| Evacuation / SIP / closure implications | <Insert> |
| Alternate dialysis / transportation / external partners | <Insert> |
| Recovery / return-to-normal criteria | <Insert> |
| Required documentation / AAR-QAPI | <Insert> |

## Hazard-Specific Procedures / Notes

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

# APPENDIX I - TRANSPORTATION / ACCESS DISRUPTION

REGULATORY CONNECTION Address this hazard when supported by the facility- and community-based all-hazards risk assessment. Customize dialysis-specific differences rather than duplicating generic activation, communication, evacuation or recovery procedures.

| Field | Facility Entry |
| --- | --- |
| Risk / HVA rating | <Insert> |
| Primary activation triggers | <Insert> |
| Decision authority | <Insert> |
| Immediate life-safety actions | <Insert> |
| Dialysis treatment / patient priorities | <Insert> |
| Safe treatment interruption / disconnection implications | <Insert> |
| Water / utility / equipment considerations | <Insert> |
| Staffing actions | <Insert> |
| Communication / reporting | <Insert> |
| Evacuation / SIP / closure implications | <Insert> |
| Alternate dialysis / transportation / external partners | <Insert> |
| Recovery / return-to-normal criteria | <Insert> |
| Required documentation / AAR-QAPI | <Insert> |

## Hazard-Specific Procedures / Notes

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

# APPENDIX J - SUPPLY CHAIN / CRITICAL DIALYSIS SUPPLIES DISRUPTION

REGULATORY CONNECTION Address this hazard when supported by the facility- and community-based all-hazards risk assessment. Customize dialysis-specific differences rather than duplicating generic activation, communication, evacuation or recovery procedures.

| Field | Facility Entry |
| --- | --- |
| Risk / HVA rating | <Insert> |
| Primary activation triggers | <Insert> |
| Decision authority | <Insert> |
| Immediate life-safety actions | <Insert> |
| Dialysis treatment / patient priorities | <Insert> |
| Safe treatment interruption / disconnection implications | <Insert> |
| Water / utility / equipment considerations | <Insert> |
| Staffing actions | <Insert> |
| Communication / reporting | <Insert> |
| Evacuation / SIP / closure implications | <Insert> |
| Alternate dialysis / transportation / external partners | <Insert> |
| Recovery / return-to-normal criteria | <Insert> |
| Required documentation / AAR-QAPI | <Insert> |

## Hazard-Specific Procedures / Notes

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

# APPENDIX K - ACTIVE THREAT / VIOLENCE / SECURITY INCIDENT

REGULATORY CONNECTION Address this hazard when supported by the facility- and community-based all-hazards risk assessment. Customize dialysis-specific differences rather than duplicating generic activation, communication, evacuation or recovery procedures.

| Field | Facility Entry |
| --- | --- |
| Risk / HVA rating | <Insert> |
| Primary activation triggers | <Insert> |
| Decision authority | <Insert> |
| Immediate life-safety actions | <Insert> |
| Dialysis treatment / patient priorities | <Insert> |
| Safe treatment interruption / disconnection implications | <Insert> |
| Water / utility / equipment considerations | <Insert> |
| Staffing actions | <Insert> |
| Communication / reporting | <Insert> |
| Evacuation / SIP / closure implications | <Insert> |
| Alternate dialysis / transportation / external partners | <Insert> |
| Recovery / return-to-normal criteria | <Insert> |
| Required documentation / AAR-QAPI | <Insert> |

## Hazard-Specific Procedures / Notes

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

# APPENDIX L - HAZARDOUS MATERIALS / INDOOR AIR / ENVIRONMENTAL INCIDENT

REGULATORY CONNECTION Address this hazard when supported by the facility- and community-based all-hazards risk assessment. Customize dialysis-specific differences rather than duplicating generic activation, communication, evacuation or recovery procedures.

| Field | Facility Entry |
| --- | --- |
| Risk / HVA rating | <Insert> |
| Primary activation triggers | <Insert> |
| Decision authority | <Insert> |
| Immediate life-safety actions | <Insert> |
| Dialysis treatment / patient priorities | <Insert> |
| Safe treatment interruption / disconnection implications | <Insert> |
| Water / utility / equipment considerations | <Insert> |
| Staffing actions | <Insert> |
| Communication / reporting | <Insert> |
| Evacuation / SIP / closure implications | <Insert> |
| Alternate dialysis / transportation / external partners | <Insert> |
| Recovery / return-to-normal criteria | <Insert> |
| Required documentation / AAR-QAPI | <Insert> |

## Hazard-Specific Procedures / Notes

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

# APPENDIX M - MASS CASUALTY / COMMUNITY SURGE

REGULATORY CONNECTION Address this hazard when supported by the facility- and community-based all-hazards risk assessment. Customize dialysis-specific differences rather than duplicating generic activation, communication, evacuation or recovery procedures.

| Field | Facility Entry |
| --- | --- |
| Risk / HVA rating | <Insert> |
| Primary activation triggers | <Insert> |
| Decision authority | <Insert> |
| Immediate life-safety actions | <Insert> |
| Dialysis treatment / patient priorities | <Insert> |
| Safe treatment interruption / disconnection implications | <Insert> |
| Water / utility / equipment considerations | <Insert> |
| Staffing actions | <Insert> |
| Communication / reporting | <Insert> |
| Evacuation / SIP / closure implications | <Insert> |
| Alternate dialysis / transportation / external partners | <Insert> |
| Recovery / return-to-normal criteria | <Insert> |
| Required documentation / AAR-QAPI | <Insert> |

## Hazard-Specific Procedures / Notes

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

__________________________________________________________________________________________________

# 19. OFFICIAL SOURCES & VERSION REFERENCES

VERSION NOTE Federal and Maine sources in the attached ESRD checklist were rechecked September 16, 2026, and the checklist identifies CMS Appendix H Rev. 246 as effective August 17, 2026. Regulations, survey guidance, State rules, licensing requirements and code editions can change; verify the current controlling source during each formal review and before a compliance determination.

| Source Layer | Official Source | Link | Use in ESRD Toolkit |
| --- | --- | --- | --- |
| CMS / Federal | 42 CFR Part 494 - ESRD Conditions for Coverage | Open official source | Controlling federal ESRD Conditions for Coverage. |
| CMS / Federal | 42 CFR §494.62 - ESRD Emergency Preparedness | Open official source | Provider-specific ESRD emergency preparedness regulation. |
| CMS | CMS Emergency Preparedness Rule / Appendix Z resources | Open official source | Emergency preparedness E-tags, interpretive guidance and survey resources. |
| CMS | CMS ESRD Conditions for Coverage / Appendix H hub | Open official source | Current ESRD interpretive guidance and survey procedures. |
| CMS | R246SOMA Transmittal | Open official source | Appendix H Rev. 246 issue/implementation reference. |
| CMS | Life Safety Code & Health Care Facilities Code Requirements | Open official source | Federal LSC/HCFC survey framework and CMS-2786 forms. |
| CMS | CMS-2786U - Fire Safety Survey Report - ASC & ESRD | Open official source | Provider-specific federal fire-safety form when ESRD federal LSC applies. |
| CMS | QSO-24-16-ESRD - Medical Director Board Certification | Open official source | Medical director board-certification clarification. |
| Maine DHHS/DLC | Medical Facilities - ESRD | Open official source | Maine ESRD licensing/certification hub. |
| Maine DHHS/DLC | Rules & Regulations | Open official source | Official Maine DLC rule listing including Chapter 126 / laboratory rules. |
| Maine Legislature | 22 MRS §2042 - Licensing of ESRD Facilities | Open official source | State ESRD licensing, survey and backup generator provisions. |
| Maine FMO | State Adopted NFPA Standards | Open official source | Current Maine-adopted NFPA editions. |
| Maine FMO | Rules of the State Fire Marshal | Open official source | State Fire Marshal rules and incorporated standards. |
| Maine FMO | Inspections & Plans Review | Open official source | Healthcare inspection / plan review overview. |
| Maine CDC | 10-144 CMR Ch. 258 - Control of Notifiable Diseases and Conditions | Open official source | Maine reportable disease/public-health emergency rule resource. |
| Maine Nursing | Maine Board of Nursing - License Verification | Open official source | RN/LPN/APRN verification. |
| Maine Medicine | Board of Licensure in Medicine - License Verification | Open official source | MD/PA primary-source verification. |
| Maine Osteopathic | Board of Osteopathic Licensure - Verification | Open official source | DO/PA primary-source verification. |
| Maine Dietetics | Board of Licensing of Dietetic Practice | Open official source | Dietitian licensing and verification. |
| Maine Social Work | State Board of Social Worker Licensure | Open official source | Social worker licensing and verification. |
| Maine Pharmacy | Board of Pharmacy | Open official source | Apply when the ESRD site operates a regulated pharmacy/drug-outlet function. |
| Maine / CLIA | Maine Medical Facilities / Laboratory resources | Open official source | Laboratory / CLIA resources and applications. |
| ASPR TRACIE | CMS Emergency Preparedness Rule Resources | Open official source | Optional preparedness tools; not a controlling regulation. |
| KCER | Kidney Community Emergency Response | Open official source | Dialysis emergency preparedness/patient resource referenced in CMS ESRD guidance. |
| FEMA | HSEEP Resources | Open official source | Exercise design/evaluation resource. |

# SOURCE VERIFICATION LOG

| Date | Review / Change | Sources Verified / Notes | Initials |
| --- | --- | --- | --- |
| 09/16/2026 | Initial HCC-ME ESRD toolkit source set | CMS Part 494 / §494.62; Appendix Z; Appendix H Rev.246; Maine DLC / Ch.126; 22 MRS §2042; FMO; Maine professional boards; Maine CDC; CLIA | HCC-ME |
| <Date> | <Review / change> | <Sources / notes> | <Initials> |
| <Date> | <Review / change> | <Sources / notes> | <Initials> |

# Facility Review / Sign-Off

| Role | Name / Signature or Electronic Approval | Date |
| --- | --- | --- |
| Administrator / CEO | <Insert> | <Date> |
| Medical Director | <Insert> | <Date> |
| Nurse Manager / Clinical Lead | <Insert> | <Date> |
| Emergency Preparedness Lead | <Insert> | <Date> |
| Facilities / Safety Lead | <Insert> | <Date> |
| Other Required Reviewer | <Insert> | <Date> |

FINAL USE NOTE After facility customization, update all controlled-document locations, owners, dates, local contacts, applicable code/AHJ determinations, facility-specific policies, agreements, water/generator details, patient orientation materials and emergency contacts. This template is a planning resource and is not the sole basis for a compliance determination.