INTERMEDIATE CARE FACILITY FOR INDIVIDUALS

WITH INTELLECTUAL DISABILITIES (ICF/IID)

EMERGENCY OPERATIONS PLAN

COMPLIANCE & REGULATORY REVIEW CHECKLIST

━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━

CMS Emergency Preparedness • ICF/IID Physical Environment / Life Safety
Maine Chapter 118 • Maine Fire Marshal / Local AHJ • ICF/IID-Specific

| Field | Facility Entry |
| --- | --- |
| Facility / Organization |  |
| Site / Location |  |
| Provider Type | Intermediate Care Facility for Individuals with Intellectual Disabilities (ICF/IID) |
| CMS Certification / Medicaid Provider No. |  |
| Prepared By |  |
| Review Date |  |

Designed for Maine ICF/IID facilities. This checklist integrates 42 CFR §483.475 and CMS Appendix Z with the ICF/IID evacuation-drill and fire/life-safety requirements at 42 CFR §483.470, Maine 10-144 CMR Chapter 118, and applicable Maine State Fire Marshal / local-AHJ requirements.

Version: September 14, 2026

HOW TO USE THIS CHECKLIST A survey-readiness, EOP-development, policy, life-safety, and regulatory crosswalk for Maine ICF/IIDs

IMPORTANT REGULATORY NOTE This is an HCC-ME readiness and planning tool, not an official CMS, Maine DHHS/DLC, Maine Office of State Fire Marshal, accreditation, Protection & Advocacy, or local-AHJ survey form. Current statutes, regulations, codes, CMS survey guidance, State rules, and AHJ determinations control if they differ from this checklist.

## Purpose

Use this checklist to verify that an ICF/IID emergency preparedness program and EOP contain the applicable federal emergency preparedness elements; that required ICF/IID policies, procedures, training, exercises, evacuation drills, communication processes, transfer arrangements, and supporting documentation can be produced; and that Maine-specific licensing and fire/life-safety requirements have been addressed. Appendices A and B consolidate the policy/procedure and regulatory crosswalks so facilities can map each requirement to the EOP or another controlled document.

## ICF/IID-specific differences to keep visible

| Topic | ICF/IID-specific application |
| --- | --- |
| Federal EP review cycle | Under 42 CFR §483.475, the emergency plan, EP policies/procedures, communication plan, and training/testing program are reviewed and updated at least every 2 years. Maine Chapter 118 separately requires the emergency plan itself to be reviewed annually. |
| Missing clients | The ICF/IID all-hazards risk assessment and written emergency planning must include missing clients. This is an express provider-specific CMS requirement. |
| Inpatient subsistence | ICF/IIDs must plan for food, water, medical/pharmaceutical supplies, alternate energy, safe temperatures, emergency lighting, fire systems, and sewage/waste whether evacuating or sheltering. |
| Client/staff tracking | The facility must track on-duty staff and sheltered clients during and after an emergency and document the receiving location if they are relocated. |
| Communication | ICF/IIDs have the full inpatient communication set, including client medical-information continuity, evacuation release information, general condition/location, occupancy/needs/capability reporting, and sharing appropriate EOP information with clients/families/representatives. |
| State P&A contact | The communication plan must include the State Protection and Advocacy Agency in addition to the State Licensing and Certification Agency. |
| Exercises + evacuation drills | ICF/IIDs conduct two CMS EP exercises each year AND must also satisfy §483.470(i) evacuation-drill requirements: at least quarterly on each shift under varied conditions, with actual client evacuation at least once per year on each shift and written evaluation/corrective action. |
| Life Safety Code occupancy | ICF/IIDs are subject to federal fire/life-safety requirements. The facility must verify whether each building/portion is surveyed as Health Care Occupancy or Residential Board and Care Occupancy. CMS-2786R is the Health Care Occupancy form; it is not the only possible ICF/IID LSC form. |
| Maine licensing | Maine DLC identifies ICF/IIDs as both State-licensed and federally certified. Maine Chapter 118 adds emergency-plan and fire/safety requirements. |

## Recommended workflow

| Step | Action | What to do |
| --- | --- | --- |
| 1 | Confirm facility applicability | Document CMS certification, Maine license, building(s), bed count, LSC occupancy chapter/form, client evacuation capability, and any integrated-system participation. |
| 2 | Complete CMS EP review | Work through Part I and identify the EOP section, policy, plan, record, agreement, or other evidence for each §483.475 requirement. |
| 3 | Complete ICF/IID drill / physical-environment review | Review §483.470(i) evacuation drills and §483.470(j) fire/life-safety requirements, then confirm the applicable CMS LSC survey form and records. |
| 4 | Complete Maine overlay | Review Chapter 118 emergency plan, annual review, fire incident reporting, equipment testing, Maine FMO/AHJ requirements, and applicable public-health requirements. |
| 5 | Complete crosswalks and close gaps | Use Appendices A/B, assign owners/dates, revise documents, train staff, test changes, and retain evidence. |

## Identifier key

| Identifier | Meaning |
| --- | --- |
| CMS-EP E-#### | CMS Appendix Z emergency preparedness survey tag. |
| 42 CFR §483.475 | Federal ICF/IID Emergency Preparedness Condition of Participation. |
| 42 CFR §483.470 | Federal ICF/IID Physical Environment requirements, including evacuation drills and fire protection. |
| CMS-LSC K-### | CMS Life Safety / Health Care Facilities Code K-tag when the cited CMS survey form is applicable. |
| CMS ICF/IID LSC | Federal ICF/IID LSC occupancy/survey layer; may be Health Care or Residential Board and Care based on the building/client characteristics and survey determination. |
| ME-DLC Ch. 118 | Maine DHHS/DLC ICF/IID licensing rule. |
| ME-FMO / AHJ | Maine State Fire Marshal / local Authority Having Jurisdiction requirement or applicability determination. |
| ME-CDC | Maine CDC public-health reporting / infection-control overlay, when applicable. |
| HCC-ME REC | HCC-ME recommended operational practice; not a stand-alone regulatory requirement. |
| CROSS-REG | Verification item connecting multiple regulatory layers. |

SOURCE INTERPRETATION NOTE ICF/IID emergency preparedness is not simply the LTC checklist with a different label. This checklist follows the ICF/IID-specific text in §483.475, including the 2-year CMS review cycle, missing-client planning, ICF/IID communication contacts, twice-yearly CMS EP exercises, and the separate §483.470(i) evacuation-drill requirements. Maine Chapter 118 and federal/state fire-safety layers are shown separately so facilities can identify who requires each item.

FACILITY APPLICABILITY PROFILE Complete before using the compliance tables

| Field | Facility Entry |
| --- | --- |
| Facility / Organization |  |
| Physical Address / Building |  |
| CMS Certification / Medicaid Provider Number |  |
| Maine License Number |  |
| Licensed / Certified Beds |  |
| Emergency Preparedness Lead |  |
| Administrator / Executive Lead |  |
| Clinical / Health Services Lead |  |
| Qualified Intellectual Disability Professional (QIDP) Lead |  |
| Facilities / Life Safety Lead |  |
| Date of Review |  |
| Last Maine Annual EOP Review |  |
| Next CMS EP Program Review Due |  |

## Federal / State program profile

| Select | Select |
| --- | --- |
| ☐ Federally certified ICF/IID | ☐ Maine State-licensed ICF/IID |
| ☐ Stand-alone EP program | ☐ Unified / integrated health-system EP program |
| ☐ 24-hour residential operation | ☐ Live-in or relief staff used |
| ☐ Clients requiring evacuation assistance | ☐ Clients dependent on electrical / medical / adaptive equipment |
| ☐ Medicaid active-treatment services documented | ☐ Accreditation / other external standards: __________ |
| ☐ Maine DLC certification/recertification survey applies | ☐ Maine FMO / local AHJ inspection applies |

## Life Safety Code / occupancy applicability

| Field | Facility determination / notes |
| --- | --- |
| Federal LSC occupancy basis | ☐ Health Care Occupancy ☐ Residential Board & Care ☐ Mixed / different by building ☐ Pending verification |
| CMS survey form / chapter | ☐ CMS-2786R Health Care ☐ ICF/IID Board & Care form(s) ☐ Other: __________ |
| Client evacuation capability, if Board & Care | ☐ Prompt ☐ Slow ☐ Impractical ☐ N/A / Health Care Occupancy |
| Determination verified by | ☐ CMS / Maine DLC survey record ☐ Maine FMO ☐ Local AHJ ☐ Design professional ☐ Other |
| Federal NFPA 101 / 99 layer | ☐ Applicability verified ☐ Open item / needs review |
| Maine FMO / State-adopted code layer | ☐ Applicability verified ☐ Open item / needs review |
| Construction / renovation / change-of-use | ☐ None/currently N/A ☐ Planned / recent — permits and plan review verified |

DO NOT ASSUME ONE ICF/IID LIFE-SAFETY FORM 42 CFR §483.470(j) allows ICF/IID facilities/buildings to fall under applicable Health Care Occupancy or Residential Board and Care Occupancy provisions. The attached CMS-2786R specifically identifies ICF/IID under Health Care Occupancy. Verify the actual survey occupancy and form before applying individual K-tags. The EOP should reference the controlling LSC/fire-safety documentation rather than duplicate the full survey form.

PART I — ICF/IID CMS EMERGENCY PREPAREDNESS COMPLIANCE CHECKLIST Core 42 CFR §483.475 / CMS Appendix Z requirements

## 1. Emergency Preparedness Program Administration

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0001 | A written emergency preparedness program is established and maintained for the ICF/IID. | ☐ | ☐ | ☐ | ☐ |  |
| E-0001 | The ICF/IID complies with applicable Federal, State, and local emergency preparedness requirements. | ☐ | ☐ | ☐ | ☐ |  |
| E-0004 | A written emergency preparedness plan is maintained. | ☐ | ☐ | ☐ | ☐ |  |
| E-0013 | Written emergency preparedness policies and procedures are maintained and are based on the plan, risk assessment, and communication plan. | ☐ | ☐ | ☐ | ☐ |  |
| E-0029 | A written emergency preparedness communication plan is maintained. | ☐ | ☐ | ☐ | ☐ |  |
| E-0036 | A written emergency preparedness training and testing program is maintained. | ☐ | ☐ | ☐ | ☐ |  |
| E-0001 | The facility can produce written/electronic evidence of the emergency preparedness program for survey review. | ☐ | ☐ | ☐ | ☐ |  |
| §483.475 | The CMS emergency plan, P&Ps, communication plan, and training/testing program are reviewed and updated at least every 2 years. | ☐ | ☐ | ☐ | ☐ |  |
| ME-DLC Ch.118 | The facility separately documents the Maine-required annual review of the emergency plan. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Document control identifies owner, version, approval/review dates, revision history, controlled copies/locations, and supporting-document locations. | ☐ | ☐ | ☐ | ☐ |  |

## 2. Facility & Community Risk Assessment / HVA

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0006 | A documented facility-based risk assessment has been completed. | ☐ | ☐ | ☐ | ☐ |  |
| E-0006 | A documented community-based risk assessment is included or incorporated into planning. | ☐ | ☐ | ☐ | ☐ |  |
| E-0006 | The risk assessment uses an all-hazards approach and reflects geographic location, facility characteristics, client population, staffing, utilities, transportation, supply chain, and community dependencies. | ☐ | ☐ | ☐ | ☐ |  |
| E-0006 / ICF/IID | The risk assessment and emergency planning expressly include missing clients. | ☐ | ☐ | ☐ | ☐ |  |
| E-0006 | Natural, human-caused, facility/utility, communications/cyber, supply-chain, security/violence, infectious-disease, severe-weather, transportation, and other locally relevant hazards are considered. | ☐ | ☐ | ☐ | ☐ |  |
| E-0006 | Strategies are documented for the emergency events identified through the risk assessment. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | The HVA is reconsidered after significant facility/client/service changes, exercises, actual events, infrastructure changes, or major community-risk changes. | ☐ | ☐ | ☐ | ☐ |  |

## 3. Client Population, Services & Continuity of Operations

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0007 / §483.475(a)(3) | The plan addresses the special needs of the ICF/IID client population, including persons at risk. | ☐ | ☐ | ☐ | ☐ |  |
| E-0007 | The plan identifies services the ICF/IID can continue, modify, reduce, relocate, or suspend during an emergency. | ☐ | ☐ | ☐ | ☐ |  |
| E-0007 | Continuity of operations addresses essential functions, staffing, health services, active-treatment/program supports, medications, nutrition, records/data, transportation, vendors, utilities, adaptive equipment, and other dependencies as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| E-0007 | Delegations of authority identify who may activate the plan and make critical emergency decisions. | ☐ | ☐ | ☐ | ☐ |  |
| E-0007 | Succession planning identifies who assumes leadership/essential functions when normal leaders are unavailable. | ☐ | ☐ | ☐ | ☐ |  |
| ICF/IID REC | Plans account for communication, sensory, behavioral, mobility, cognitive, medical, dietary, and equipment/support needs that may affect response, evacuation, relocation, or sheltering. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | The plan addresses continuity of client routines, habilitation/active treatment, behavior supports, guardians/representatives, community appointments/services, and reunification/return after disruption as appropriate. | ☐ | ☐ | ☐ | ☐ |  |

## 4. Cooperation & Collaboration with Emergency Preparedness Officials

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0009 / §483.475(a)(4) | The plan includes a process for cooperation and collaboration with local, tribal, regional, State, and Federal emergency preparedness officials. | ☐ | ☐ | ☐ | ☐ |  |
| E-0009 | The facility identifies coordination pathways with EMA, EMS/fire/law enforcement, public health, Maine DLC, HCC-ME, utilities, transportation, and other response partners as appropriate. | ☐ | ☐ | ☐ | ☐ |  |
| E-0009 | The plan identifies how official warnings, protective-action guidance, resource requests, and situational information are received and acted upon. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Participation in coalition/community planning or exercises is documented when used to support compliance or readiness. | ☐ | ☐ | ☐ | ☐ |  |

## 5. Emergency Policies & Procedures Framework

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0013 / §483.475(b) | P&Ps are based on the emergency plan, HVA/risk assessment, and communication plan. | ☐ | ☐ | ☐ | ☐ |  |
| E-0013 | P&Ps identify authority and triggers for initiating emergency response actions. | ☐ | ☐ | ☐ | ☐ |  |
| E-0013 | P&Ps clearly address evacuation, shelter-in-place, subsistence, tracking, continuity, staffing/volunteers, records, transfers/receiving arrangements, communications, §1135 alternate care role, and recovery as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| E-0013 | Required elements may be embedded in the EOP or maintained as separate controlled policies/procedures if the facility can clearly identify and produce them. | ☐ | ☐ | ☐ | ☐ |  |
| E-0013 | CMS P&Ps are reviewed and updated at least every 2 years. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Interim revisions are made when significant changes or lessons learned make procedures inaccurate, unsafe, or operationally incomplete. | ☐ | ☐ | ☐ | ☐ |  |

## 6. Subsistence Needs & Alternate Energy

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0015 / §483.475(b)(1) | P&Ps provide for subsistence needs of staff and clients whether they evacuate or shelter in place. | ☐ | ☐ | ☐ | ☐ |  |
| E-0015 | Food and potable water needs are addressed for the duration of planned operations / until evacuation and cessation of operations. | ☐ | ☐ | ☐ | ☐ |  |
| E-0015 | Medical and pharmaceutical supplies are addressed, including critical medications and client-specific medical/specialty supplies as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| E-0015 | Alternate energy is planned to maintain temperatures that protect client health/safety and safe/sanitary storage of provisions. | ☐ | ☐ | ☐ | ☐ |  |
| E-0015 | Alternate energy supports emergency lighting as required. | ☐ | ☐ | ☐ | ☐ |  |
| E-0015 | Alternate energy supports required fire detection, extinguishing, and alarm systems. | ☐ | ☐ | ☐ | ☐ |  |
| E-0015 | Sewage and waste disposal contingencies are addressed. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | The facility documents critical electrical loads, electrically dependent clients/equipment, refrigeration, charging needs, fuel/vendor dependencies, and thresholds for relocation/evacuation. | ☐ | ☐ | ☐ | ☐ |  |

## 7. On-Duty Staff & Client Tracking During / After Emergencies

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0018 / §483.475(b)(2) | A system tracks the location of on-duty staff during and after an emergency. | ☐ | ☐ | ☐ | ☐ |  |
| E-0018 | A system tracks clients sheltering in the facility during and after an emergency. | ☐ | ☐ | ☐ | ☐ |  |
| E-0018 | If staff or clients are relocated, the specific name and location of the receiving facility or other location is documented. | ☐ | ☐ | ☐ | ☐ |  |
| E-0018 | Tracking remains workable during electronic/network downtime and protects confidential client information. | ☐ | ☐ | ☐ | ☐ |  |
| ICF/IID REC | Client tracking links, as operationally appropriate, to transportation, escort/staff assignment, medications/equipment, receiving-site handoff, guardian/family notification, and return/reunification status. | ☐ | ☐ | ☐ | ☐ |  |

## 8. Safe Evacuation, Relocation & Transportation

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0020 / §483.475(b)(3) | A safe evacuation policy/procedure exists for the ICF/IID. | ☐ | ☐ | ☐ | ☐ |  |
| E-0020 | Evacuation planning considers client care and treatment needs. | ☐ | ☐ | ☐ | ☐ |  |
| E-0020 | Staff responsibilities and decision authority during evacuation are defined. | ☐ | ☐ | ☐ | ☐ |  |
| E-0020 | Transportation resources and contingencies are identified. | ☐ | ☐ | ☐ | ☐ |  |
| E-0020 | Primary and alternate evacuation/relocation locations are identified. | ☐ | ☐ | ☐ | ☐ |  |
| E-0020 | Primary and alternate communication methods with external sources of assistance are identified. | ☐ | ☐ | ☐ | ☐ |  |
| E-0020 | Evacuation prioritization/triage considers mobility, acuity, adaptive/medical equipment, behavioral/sensory needs, communication supports, location in the building, and receiving destination as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(i) | Evacuation planning supports the separate federal drill/training requirements reviewed in Part II. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | The EOP identifies procedures for medication/records/equipment transfer, client identification, staff escorts, transportation manifests, accountability, and receiving-facility handoff. | ☐ | ☐ | ☐ | ☐ |  |

## 9. Shelter-in-Place

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0022 / §483.475(b)(4) | P&Ps provide a means to shelter in place for clients, staff, and volunteers who remain in the facility. | ☐ | ☐ | ☐ | ☐ |  |
| E-0022 | Shelter-in-place criteria align with the HVA and building/site capabilities. | ☐ | ☐ | ☐ | ☐ |  |
| E-0022 | Plans address designated safer areas, client support needs, staffing, supplies, medication, sanitation, security, communications, utilities, and access to health services as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| E-0022 | The plan identifies conditions requiring transition from sheltering to relocation/evacuation. | ☐ | ☐ | ☐ | ☐ |  |

## 10. Medical Documentation, Client Records & Downtime

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0023 / §483.475(b)(5) | A medical documentation system preserves client information during emergencies. | ☐ | ☐ | ☐ | ☐ |  |
| E-0023 | The system protects confidentiality of client information. | ☐ | ☐ | ☐ | ☐ |  |
| E-0023 | The system secures and maintains availability of records during emergencies. | ☐ | ☐ | ☐ | ☐ |  |
| E-0033 | Records/information needed for continuity can be shared with receiving or other health care providers as permitted and necessary. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | EHR/network downtime procedures address access to critical information, medication/treatment documentation, paper forms, secure storage, reconciliation, restoration, and cybersecurity/vendor dependencies. | ☐ | ☐ | ☐ | ☐ |  |

## 11. Volunteers & Emergency Staffing Strategies

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0024 / §483.475(b)(6) | P&Ps address use of volunteers in an emergency or other emergency staffing strategies. | ☐ | ☐ | ☐ | ☐ |  |
| E-0024 | The process and role for integrating State- or Federally-designated healthcare professionals for surge needs is addressed. | ☐ | ☐ | ☐ | ☐ |  |
| E-0024 | Credential/identity verification, scope, role assignment, supervision, orientation, documentation, and safety are addressed as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| E-0024 | Staff call-back, reassignment/cross-coverage, agency/contract support, sister-facility staff, and relief strategies are addressed as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Long-duration operations consider fatigue/relief, transportation, lodging, food, childcare/family needs, behavioral health, safety, and other staff supports. | ☐ | ☐ | ☐ | ☐ |  |

## 12. Receiving-Facility / Continuity Arrangements

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0025 / §483.475(b)(7) | P&Ps include arrangements with other ICF/IIDs or other providers to receive clients if the facility has limitations or ceases operations. | ☐ | ☐ | ☐ | ☐ |  |
| E-0025 | Arrangements support continuity of services for ICF/IID clients. | ☐ | ☐ | ☐ | ☐ |  |
| E-0025 Guidance | Written agreements/MOUs/transfer arrangements are maintained as appropriate and identify receiving capacity/capabilities. | ☐ | ☐ | ☐ | ☐ |  |
| E-0025 Guidance | Transportation arrangements are pre-planned and documented. | ☐ | ☐ | ☐ | ☐ |  |
| E-0025 Guidance | The facility maintains primary and backup receiving options in case nearby facilities are also affected or cannot accept all clients. | ☐ | ☐ | ☐ | ☐ |  |
| E-0018 / E-0025 | Receiving arrangements account for client tracking and the receiving location for relocated clients. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Agreements consider active-treatment/support needs, accessibility, behavioral/sensory supports, medication/equipment needs, guardian/family communication, and return/re-entry. | ☐ | ☐ | ☐ | ☐ |  |

## 13. Section 1135 Waivers & Alternate Care Sites

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0026 / §483.475(b)(8) | P&Ps describe the ICF/IID’s role under a §1135 waiver in providing care/treatment at an alternate care site identified by emergency management officials. | ☐ | ☐ | ☐ | ☐ |  |
| E-0026 Guidance | The plan distinguishes actions available under ordinary authority from flexibilities that require a declared emergency/waiver/approval. | ☐ | ☐ | ☐ | ☐ |  |
| E-0026 Guidance | Activation/coordination, staffing, documentation, client safety, services, records, supplies, and communication responsibilities at an alternate care site are addressed as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | The facility identifies who monitors waiver guidance and how temporary flexibilities are communicated, documented, terminated, and reconciled after the event. | ☐ | ☐ | ☐ | ☐ |  |

## 14. Emergency Communication Plan

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0029 / §483.475(c) | A written emergency communication plan complies with Federal, State, and local law and is reviewed/updated at least every 2 years. | ☐ | ☐ | ☐ | ☐ |  |
| E-0030 / c(1) | Names/contact information are maintained for staff. | ☐ | ☐ | ☐ | ☐ |  |
| E-0030 / c(1) | Names/contact information are maintained for entities providing services under arrangement. | ☐ | ☐ | ☐ | ☐ |  |
| E-0030 / c(1) | Names/contact information are maintained for clients’ physicians. | ☐ | ☐ | ☐ | ☐ |  |
| E-0030 / c(1) | Names/contact information are maintained for other ICF/IIDs. | ☐ | ☐ | ☐ | ☐ |  |
| E-0030 / c(1) | Names/contact information are maintained for volunteers as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| E-0031 / c(2) | Contact information is maintained for Federal, State, tribal, regional, and local emergency preparedness staff and other sources of assistance. | ☐ | ☐ | ☐ | ☐ |  |
| E-0031 / ICF/IID | Contact information is maintained for the State Licensing and Certification Agency. | ☐ | ☐ | ☐ | ☐ |  |
| E-0031 / ICF/IID | Contact information is maintained for the State Protection and Advocacy Agency. | ☐ | ☐ | ☐ | ☐ |  |
| E-0032 / c(3) | Primary and alternate means exist to communicate with ICF/IID staff and emergency management agencies. | ☐ | ☐ | ☐ | ☐ |  |
| E-0033 / c(4) | A method exists to share client information and medical documentation with other health care providers as necessary for continuity of care. | ☐ | ☐ | ☐ | ☐ |  |
| E-0033 / c(5) | During evacuation, the facility has a means to release client information as permitted by 45 CFR 164.510(b)(1)(ii). | ☐ | ☐ | ☐ | ☐ |  |
| E-0033 / c(6) | A means exists to provide general condition and location information for clients as permitted by 45 CFR 164.510(b)(4). | ☐ | ☐ | ☐ | ☐ |  |
| E-0034 / c(7) | A means exists to provide information about occupancy, facility needs, and ability to provide assistance to the AHJ / Incident Command Center / designee. | ☐ | ☐ | ☐ | ☐ |  |
| E-0035 / c(8) | A method exists to share appropriate emergency-plan information with clients and their families or representatives. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Communication methods account for power/network/cellular failures and for clients/families with language, sensory, cognitive, accessibility, or communication-support needs. | ☐ | ☐ | ☐ | ☐ |  |

## 15. Training Program

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0036 / §483.475(d) | The training/testing program is based on the EOP, HVA, P&Ps, and communication plan and is reviewed/updated at least every 2 years. | ☐ | ☐ | ☐ | ☐ |  |
| E-0037 / d(1) | Initial EP training is provided to all new and existing staff, individuals providing services under arrangement, and volunteers consistent with expected roles. | ☐ | ☐ | ☐ | ☐ |  |
| E-0037 | Emergency preparedness training is provided at least every 2 years. | ☐ | ☐ | ☐ | ☐ |  |
| E-0037 | Training documentation is maintained. | ☐ | ☐ | ☐ | ☐ |  |
| E-0037 | Staff can demonstrate knowledge of emergency procedures appropriate to their roles. | ☐ | ☐ | ☐ | ☐ |  |
| E-0037 | When EP P&Ps are significantly updated, training is conducted on the updated P&Ps. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(i) | Training includes and supports the separate evacuation-drill responsibilities and fire-protection features applicable to each shift. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Training records identify date, objectives/content, audience/participants, method/instructor, competencies as applicable, and controlled record location. | ☐ | ☐ | ☐ | ☐ |  |

## 16. CMS Emergency Preparedness Testing / Exercises

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0039 / §483.475(d)(2) | The ICF/IID conducts exercises to test the emergency plan at least twice per year. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 | Each year, the ICF/IID participates in a community-based full-scale exercise when accessible. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 | When a community-based full-scale exercise is not accessible, the ICF/IID conducts an individual facility-based functional exercise. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 | If a qualifying actual natural or human-caused emergency requires EOP activation, documentation supports any exemption from the next required full-scale/functional exercise. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 | The facility also conducts an additional annual exercise: second full-scale/functional, mock disaster drill, or facilitator-led clinically relevant tabletop/workshop. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 | The actual-event exemption does not remove the separate additional annual exercise requirement. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 | The ICF/IID analyzes and documents response to drills, tabletop exercises, and actual events and revises the EOP as needed. | ☐ | ☐ | ☐ | ☐ |  |
| CMS Guidance | Exercises are tied to the HVA, P&Ps, communication plan, client population/services, and meaningful staff participation. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Exercise files include scenario/objectives, participation evidence, evaluator notes, AAR/IP, assigned corrective actions, completion evidence, and program changes. | ☐ | ☐ | ☐ | ☐ |  |

## 17. Unified / Integrated Healthcare System Program — If Applicable

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0042 / §483.475(e) | If the ICF/IID participates in a unified/integrated healthcare-system EP program, participation is documented. | ☐ | ☐ | ☐ | ☐ |  |
| E-0042 | Each separately certified participating facility actively participates in development of the unified/integrated program. | ☐ | ☐ | ☐ | ☐ |  |
| E-0042 | The program accounts for the ICF/IID’s unique circumstances, client population, location, and services. | ☐ | ☐ | ☐ | ☐ |  |
| E-0042 | The ICF/IID can demonstrate active use of and compliance with the integrated program. | ☐ | ☐ | ☐ | ☐ |  |
| E-0042 | The integrated plan includes a community-based all-hazards risk assessment. | ☐ | ☐ | ☐ | ☐ |  |
| E-0042 | An individual facility-based all-hazards risk assessment exists for the separately certified ICF/IID. | ☐ | ☐ | ☐ | ☐ |  |
| E-0042 | Integrated P&Ps, communication, and training/testing meet §483.475 requirements. | ☐ | ☐ | ☐ | ☐ |  |
| E-0042 Guidance | Facility participation in program reviews/updates and changes affecting participating facilities is documented. | ☐ | ☐ | ☐ | ☐ |  |

## 18. After-Action Review, Improvement & Record Retention

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| E-0039 | Exercise and actual-event response is analyzed and documented. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 | Strengths, gaps, corrective actions, owners, due dates, and follow-up are documented. | ☐ | ☐ | ☐ | ☐ |  |
| E-0039 | The EOP and supporting P&Ps/communication/training are revised as needed based on lessons learned. | ☐ | ☐ | ☐ | ☐ |  |
| CMS Guidance | Required EP documentation is retained sufficiently to demonstrate compliance with the current and prior cycle; inpatient providers are encouraged to retain at least 2 years of EP documentation. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Improvement items are tracked to closure and retested when appropriate. | ☐ | ☐ | ☐ | ☐ |  |

PART II — ICF/IID EVACUATION DRILLS, PHYSICAL ENVIRONMENT & LIFE SAFETY Requirements that directly interact with the EOP but are separate from the core §483.475 E-tags

## 19. Federal ICF/IID Evacuation Drills — 42 CFR §483.470(i)

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| §483.470(i)(1) | Evacuation drills are held at least quarterly for each shift of personnel. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(i)(1) | Drills are conducted under varied conditions. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(i)(1)(i) | Drills ensure personnel on all shifts are trained to perform assigned emergency tasks. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(i)(1)(ii) | Drills ensure personnel on all shifts are familiar with facility fire-protection features. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(i)(1)(iii) | Drills evaluate the effectiveness of emergency and disaster plans/procedures. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(i)(2)(i) | Clients are actually evacuated during at least one drill each year on each shift. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(i)(2)(ii) | Special provisions exist for evacuation of clients with physical disabilities. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(i)(2)(iii) | A report and evaluation is filed for every evacuation drill. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(i)(2)(iv) | Problems/accidents identified during drills are investigated and corrective action is taken. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(i)(2)(v) | For facilities certified under Health Care Occupancy, fire drills may evacuate clients to a safe area as permitted by the regulation. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(i)(3) | Quarterly/annual drill requirements are met for live-in and relief staff when used. | ☐ | ☐ | ☐ | ☐ |  |

KEEP THREE TESTING / DRILL LAYERS DISTINCT 1) CMS EP under §483.475(d)(2): two emergency preparedness exercises each year. 2) ICF/IID §483.470(i): evacuation drills at least quarterly on each shift, including actual client evacuation at least annually on each shift and written evaluation/corrective action. 3) Applicable Life Safety Code / CMS fire-drill requirements, such as K712 when surveyed under Health Care Occupancy. One activity may support more than one requirement only when it independently meets and documents every applicable standard.

## 20. Federal ICF/IID Fire Protection / LSC Occupancy — §483.470(j)

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| §483.470(j) | The facility has documented whether each building/portion is surveyed under applicable Health Care Occupancy or Residential Board and Care Occupancy provisions. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(j) | The facility maintains or can produce the applicable CMS Life Safety Code survey documentation for its occupancy classification. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(j) | If Residential Board and Care Occupancy applies, evacuation capability / FSES-BC requirements are documented as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(j) | Fire/life-safety plans, evacuation procedures, doors/egress, alarms, detection, sprinklers, smoke/fire barriers, hazardous areas, utilities, and related systems are coordinated with the EOP. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(j) | Where a sprinkler system outage triggers federal requirements, required evacuation/fire-watch actions and AHJ coordination are addressed. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(j) | Applicable NFPA 99 Health Care Facilities Code requirements are identified and facility records are maintained as required. | ☐ | ☐ | ☐ | ☐ |  |
| CROSS-REG | Federal LSC/NFPA editions and Maine State-adopted NFPA editions are evaluated as separate applicable layers; the facility does not assume one automatically replaces the other. | ☐ | ☐ | ☐ | ☐ |  |

## 21. CMS-2786R Health Care Occupancy Readiness — If Applicable

Use this subsection only when the facility/building is surveyed under the Health Care Occupancy layer reflected in the attached CMS-2786R. If the ICF/IID is surveyed under a Residential Board and Care occupancy form, document the applicable form and use that survey layer instead.

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| K711 | Written evacuation/relocation and fire-safety plan is current, available, and staff duties are addressed. | ☐ | ☐ | ☐ | ☐ |  |
| K712 | Fire drills transmit/simulate fire alarm conditions and are conducted at expected/unexpected times under varying conditions at least quarterly on each shift. | ☐ | ☐ | ☐ | ☐ |  |
| K211 / K2xx | Means of egress, exit access, doors/locking arrangements, corridors, stairs/ramps, and emergency movement pathways remain compliant and usable. | ☐ | ☐ | ☐ | ☐ |  |
| K321 / K3xx | Hazardous areas, interior finishes, fire alarm, smoke detection, sprinklers, smoke barriers, and related protection systems are maintained as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| K345 / K3xx | Fire-alarm testing/maintenance and impairment procedures/records are current and retrievable. | ☐ | ☐ | ☐ | ☐ |  |
| K511 / K5xx | Gas/electric utilities and HVAC systems are maintained and emergency impacts are integrated into EOP decision thresholds. | ☐ | ☐ | ☐ | ☐ |  |
| K918 | If an essential electric system/generator is applicable, maintenance/testing and records meet the controlling federal NFPA/CMS requirements. | ☐ | ☐ | ☐ | ☐ |  |
| K9xx | Applicable NFPA 99 medical gas/electrical/equipment requirements are identified and supporting maintenance/testing records are retrievable. | ☐ | ☐ | ☐ | ☐ |  |
| CMS-2786R | Current survey findings, plans of correction, waivers/FSES documentation, and corrective work affecting emergency readiness are cross-referenced to the EOP/supporting-document index. | ☐ | ☐ | ☐ | ☐ |  |

## 22. Infection Control / Communicable Disease Readiness — §483.470(l)

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| §483.470(l) | The facility maintains a sanitary environment and active program to prevent, control, and investigate infection and communicable disease. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(l) | Corrective action is implemented in identified infection-control problem areas. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(l) | Records of infection-related incidents and corrective actions are maintained. | ☐ | ☐ | ☐ | ☐ |  |
| §483.470(l) | Employees with symptoms/signs of communicable disease are restricted from direct client/food contact as required. | ☐ | ☐ | ☐ | ☐ |  |
| CMS EP / HVA | Emerging infectious disease/pandemic effects on staffing, PPE, client movement, isolation/source control, supplies, communication, and public-health coordination are included in the all-hazards program. | ☐ | ☐ | ☐ | ☐ |  |

PART III — MAINE ICF/IID REGULATORY & FIRE/LIFE-SAFETY OVERLAY 10-144 CMR Chapter 118, Maine DHHS/DLC, Maine FMO / local AHJ, and related State requirements

## 23. Maine DHHS / DLC — ICF/IID Licensing & Emergency Plan

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| ME-DLC | The facility maintains current Maine ICF/IID licensure and federal certification documentation. | ☐ | ☐ | ☐ | ☐ |  |
| ME-DLC | The facility recognizes Maine DLC certification, recertification, complaint, and revisit survey oversight for ICF/IIDs. | ☐ | ☐ | ☐ | ☐ |  |
| Ch.118 §11.K.1 | The emergency plan is made available as required. | ☐ | ☐ | ☐ | ☐ |  |
| Ch.118 §11.K.1 | Staff receive training on the emergency plan. | ☐ | ☐ | ☐ | ☐ |  |
| Ch.118 §11.K.1 | The emergency plan is reviewed annually; the annual review date and resulting revisions are documented. | ☐ | ☐ | ☐ | ☐ |  |
| CROSS-REG | The facility reconciles Maine’s annual EOP review with the federal §483.475 2-year minimum review cycle for the CMS EP program elements. | ☐ | ☐ | ☐ | ☐ |  |

## 24. Maine Chapter 118 — Fire / Safety / Equipment Testing

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| Ch.118 §11.N.1 | The facility maintains Department of Public Safety / State Fire Marshal certification demonstrating compliance with applicable fire protection and prevention requirements. | ☐ | ☐ | ☐ | ☐ |  |
| Ch.118 §11.N.2 | A written report is submitted to the State Fire Marshal Office and Maine DHHS within 72 hours of any smoke or fire incident involving the facility or any client. | ☐ | ☐ | ☐ | ☐ |  |
| Ch.118 §11.N.2 | Fire/smoke incident report includes date, time, place, description of what occurred, and action taken. | ☐ | ☐ | ☐ | ☐ |  |
| Ch.118 §11.N.3(a) | Manual fire alarm system is tested monthly. | ☐ | ☐ | ☐ | ☐ |  |
| Ch.118 §11.N.3(b) | Emergency lights are checked at least monthly. | ☐ | ☐ | ☐ | ☐ |  |
| Ch.118 §11.N.3(c) | Automatic fire detection system is tested at least monthly. | ☐ | ☐ | ☐ | ☐ |  |
| Ch.118 §11.N.3(d) | Sprinkler system is checked by a qualified sprinkler serviceman at least annually. | ☐ | ☐ | ☐ | ☐ |  |
| Ch.118 §11.N.3(e) | Fire extinguishers are checked/tagged at least yearly or more often when condition indicates. | ☐ | ☐ | ☐ | ☐ |  |
| Ch.118 §11.N.3(f) | Emergency generator, when required, is made operational for at least 30 minutes each month. | ☐ | ☐ | ☐ | ☐ |  |
| Ch.118 §11.N.3(g) | A record book documents the date/day of each required test/check and who performed it. | ☐ | ☐ | ☐ | ☐ |  |
| Ch.118 §11.N.3(h) | Defective safety equipment is immediately fully repaired. | ☐ | ☐ | ☐ | ☐ |  |

## 25. Maine State Fire Marshal / Local AHJ

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| ME-FMO / AHJ | The facility verifies applicable Maine Fire Marshal rules, local fire/building requirements, and actual occupancy classification rather than relying only on provider type. | ☐ | ☐ | ☐ | ☐ |  |
| ME-FMO | Current applicable State-adopted NFPA standards are identified for the site, including NFPA 1, 10, 13-series, 25, 72, 80, 99, 101, 110 and others as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| ME-FMO / AHJ | Required inspections, permits, plan reviews, certificates, corrective work, fire-watch/impairment documentation, and local approvals are current and retrievable. | ☐ | ☐ | ☐ | ☐ |  |
| ME-FMO | Construction, alteration, renovation, or change-of-use projects are reviewed for State Fire Marshal / local permitting and code impacts before work begins as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| CROSS-REG | The EOP references the controlled fire/life-safety documentation location rather than duplicating all inspection/testing records. | ☐ | ☐ | ☐ | ☐ |  |

## 26. Maine Public Health / Protection & Advocacy / Other Applicability Checks

| ID | Requirement | Met | Partial | Not Met | N/A | EOP Location / Evidence / Notes |
| --- | --- | --- | --- | --- | --- | --- |
| ME-CDC | Current Maine notifiable-disease/public-health reporting requirements are incorporated into infection/outbreak procedures as applicable. | ☐ | ☐ | ☐ | ☐ |  |
| CMS + Maine | The communication plan contains the current State Licensing & Certification Agency contact information. | ☐ | ☐ | ☐ | ☐ |  |
| CMS + Maine | The communication plan contains the current State Protection & Advocacy Agency contact information and the facility periodically verifies the designated agency/contact. | ☐ | ☐ | ☐ | ☐ |  |
| IF APPLICABLE | Any separately licensed/certified service operated at the ICF/IID site is reviewed for additional emergency, physical-environment, reporting, staffing, pharmacy, clinical, or fire/life-safety requirements. | ☐ | ☐ | ☐ | ☐ |  |
| HCC-ME REC | Facility planning aligns with current local/county emergency management and Maine statewide emergency planning/coordination structures as appropriate. | ☐ | ☐ | ☐ | ☐ |  |

CORRECTIVE ACTION / GAP CLOSURE LOG Use for requirements marked Partial / Not Met and for operational readiness improvements

| # | Finding / Gap | Corrective Action | Owner / Due Date | Completion / Evidence |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |
| 11 |  |  |  |  |
| 12 |  |  |  |  |
| 13 |  |  |  |  |
| 14 |  |  |  |  |
| 15 |  |  |  |  |

CLOSE THE LOOP A revised document alone may not close a gap. Determine whether the change also requires staff/client communication, training, evacuation drill or exercise validation, updates to agreements/contact/vendor information, leadership approval, maintenance/repair, or evidence that the corrective action was effective.

APPENDIX A — ICF/IID POLICIES & PROCEDURES CROSSWALK Identify what should exist, the basis, where it lives, and when it was last reviewed

A separate stand-alone policy is not required for every row. CMS allows flexible organization. The facility should be able to show where every required element is addressed and produce the current controlled document. Maine’s annual emergency-plan review and federal 2-year program-element review cycles should be documented distinctly where applicable.

| Policy / Procedure Subject | Applicable Basis | Source Layer | EOP / Separate? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Facility Policy / Document Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Controlled Location | Owner | Last Review | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EP governance / document control | §483.475; E-0001/E-0004 | CMS + ME-DLC | EOP / admin policy |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Facility & community HVA / all hazards | §483.475(a)(1); E-0006 | CMS | EOP + HVA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Missing client response / search | §483.475(a)(1); E-0006 | CMS ICF/IID | EOP / policy / annex |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Client population / persons at risk / support needs | §483.475(a)(3); E-0007 | CMS | EOP / client-support annex |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Continuity / delegation / succession | §483.475(a)(3); E-0007 | CMS | EOP / COOP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Emergency-official coordination | §483.475(a)(4); E-0009 | CMS | EOP / coordination |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Subsistence — food / water / medical / pharmacy | §483.475(b)(1); E-0015 | CMS | EOP / supplies |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Alternate energy / safe temperature / emergency lighting / fire systems | §483.475(b)(1); E-0015 | CMS + LSC + ME | EOP / utilities |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sewage / waste contingency | §483.475(b)(1); E-0015 | CMS | EOP / utilities |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff & client emergency tracking | §483.475(b)(2); E-0018 | CMS | EOP / tracker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Safe evacuation / relocation / transportation | §483.475(b)(3); E-0020 | CMS | EOP / evacuation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Shelter-in-place | §483.475(b)(4); E-0022 | CMS | EOP / SIP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical documentation / EHR downtime | §483.475(b)(5); E-0023 | CMS + HIPAA | Records / downtime |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Volunteers / emergency staffing | §483.475(b)(6); E-0024 | CMS | Staffing policy |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Receiving ICF/IID / provider arrangements | §483.475(b)(7); E-0025 | CMS | MOU / transfer plan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| §1135 / alternate care site role | §483.475(b)(8); E-0026 | CMS | EOP / ACS policy |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Emergency communication plan | §483.475(c); E-0029 | CMS | EOP annex / plan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff / vendors / physicians / other ICF/IID / volunteers contacts | §483.475(c)(1); E-0030 | CMS | Contact directory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Emergency officials / DLC / Protection & Advocacy contacts | §483.475(c)(2); E-0031 | CMS | Contact directory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Primary / alternate communications | §483.475(c)(3); E-0032 | CMS | Communication / downtime |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Client records / continuity information sharing | §483.475(c)(4)-(6); E-0033 | CMS + HIPAA | Communication / records |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Occupancy / needs / capability reporting | §483.475(c)(7); E-0034 | CMS | Situational awareness |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| EOP information to clients / families / representatives | §483.475(c)(8); E-0035 | CMS ICF/IID | Communication / fact sheet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| EP training program | §483.475(d)(1); E-0037 | CMS | Training plan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Two annual CMS EP exercises / AAR-IP | §483.475(d)(2); E-0039 | CMS | Exercise tracker / AAR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Quarterly each-shift evacuation drills | §483.470(i) | CMS ICF/IID | Evacuation drill policy/log |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fire safety plan / fire drills / impairment response | §483.470(j); applicable K-tags | CMS LSC | Fire-safety plan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Infection control / outbreak response | §483.470(l); CMS HVA | CMS + ME-CDC | IPC / outbreak plan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual Maine emergency-plan review / staff training | Ch.118 §11.K.1 | ME-DLC | EOP admin / training |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maine fire incident reporting | Ch.118 §11.N.2 | ME-DLC / FMO | Fire incident procedure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maine fire/safety equipment testing & repair | Ch.118 §11.N.3 | ME-DLC / FMO | Facilities logs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| APPENDIX B — ICF/IID REGULATORY CROSSWALK Map Federal CMS, ICF/IID physical-environment/life-safety, Maine sources, and facility documents |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Topic / Requirement | Federal CMS / Other Source | Maine / State / Local Source | Suggested EOP Section | Facility Policy / Document Location | Last Review | Status |
| --- | --- | --- | --- | --- | --- | --- |
| EP program / written plan | §483.475; E-0001/E-0004 | Ch.118 §11.K.1 | EOP Administration |  |  |  |
| HVA / missing clients | §483.475(a)(1); E-0006 | Community/local hazard sources | HVA / Risk Assessment |  |  |  |
| Hazard strategies | §483.475(a)(2); E-0006 | — | EOP / hazard annexes |  |  |  |
| Client population / services / COOP | §483.475(a)(3); E-0007 | — | COOP / Client Support |  |  |  |
| Delegation / succession | §483.475(a)(3); E-0007 | — | Governance / COOP |  |  |  |
| Emergency-official coordination | §483.475(a)(4); E-0009 | MEMA / EMA / Maine CDC / HCC-ME | Command & Coordination |  |  |  |
| P&P framework / 2-year CMS review | §483.475(b); E-0013 | Ch.118 annual EOP review | Policies & Procedures |  |  |  |
| Subsistence / alternate energy | §483.475(b)(1); E-0015 | Ch.118 §11.N; ME-FMO as applicable | Resources / Utilities |  |  |  |
| Staff/client tracking | §483.475(b)(2); E-0018 | — | Tracking / Accountability |  |  |  |
| Evacuation / transportation | §483.475(b)(3); E-0020 | §483.470(i); FMO/AHJ | Evacuation |  |  |  |
| Shelter-in-place | §483.475(b)(4); E-0022 | FMO/AHJ as applicable | Shelter-in-Place |  |  |  |
| Medical documentation | §483.475(b)(5); E-0023 | HIPAA / applicable Maine law | Records / Downtime |  |  |  |
| Volunteers / emergency staffing | §483.475(b)(6); E-0024 | — | Staffing / Volunteers |  |  |  |
| Receiving arrangements | §483.475(b)(7); E-0025 | — | MOUs / Relocation |  |  |  |
| §1135 alternate care site role | §483.475(b)(8); E-0026 | Emergency management coordination | Alternate Care Sites |  |  |  |
| Communication plan | §483.475(c); E-0029 | Federal/State/local law | Communication Plan |  |  |  |
| Required contacts | §483.475(c)(1)-(2); E-0030/E-0031 | DLC + State P&A + Maine response contacts | Communication / Directory |  |  |  |
| Primary / alternate communications | §483.475(c)(3); E-0032 | Local interoperability | Communication Plan |  |  |  |
| Client records / release / general condition | §483.475(c)(4)-(6); E-0033 | 45 CFR 164.510 | Communication / Privacy |  |  |  |
| Occupancy / needs / ability to assist | §483.475(c)(7); E-0034 | AHJ / Incident Command | Situational Awareness |  |  |  |
| Plan information to clients/families | §483.475(c)(8); E-0035 | — | Communication / Education |  |  |  |
| Training / 2-year cycle | §483.475(d)(1); E-0037 | Ch.118 §11.K.1 | Training Plan |  |  |  |
| Two annual CMS EP exercises | §483.475(d)(2); E-0039 | Community/HCC exercise opportunities | Exercise Plan / Tracker |  |  |  |
| Quarterly evacuation drills each shift | §483.470(i) | Ch.118 / FMO interface as applicable | Evacuation Drill Log |  |  |  |
| Integrated system EP program | §483.475(e); E-0042 | — | System Program + Site Evidence |  |  |  |
| Fire protection / LSC occupancy | §483.470(j); applicable CMS LSC form | ME-FMO / Ch.118 §11.N | Fire / Life Safety |  |  |  |
| Health Care Occupancy K711/K712 | CMS-2786R if applicable | ME-FMO/AHJ | Fire Safety / Drills |  |  |  |
| Emergency generator / EES | CMS LSC/NFPA 99/110 if applicable | Ch.118 §11.N.3(f); ME-FMO NFPA 110 | Utilities / Generator |  |  |  |
| Fire/smoke incident reporting | — | Ch.118 §11.N.2 | Incident Reporting |  |  |  |
| Fire system/equipment testing | CMS LSC if applicable | Ch.118 §11.N.3; ME-FMO | Facilities / Testing |  |  |  |
| Infection / emerging infectious disease | §483.470(l); CMS EP all-hazards | ME-CDC Ch.258 as applicable | Infection / Public Health |  |  |  |

OFFICIAL SOURCES & VERSION REFERENCES Primary authorities and resources used to develop this ICF/IID checklist

VERSION NOTE Federal and Maine sources were reviewed September 14, 2026. Regulations, survey guidance, Maine rules, and State-adopted fire-code editions can change. Verify the current controlling source, occupancy classification, and AHJ interpretation during each formal review and before making a compliance determination.

## Primary Federal CMS sources

| CMS / Federal | 42 CFR §483.475 — Emergency Preparedness for ICF/IID Official link | Controlling ICF/IID emergency preparedness regulation. |
| --- | --- | --- |
| CMS | State Operations Manual, Appendix Z — Emergency Preparedness Official link | Emergency preparedness E-tags, interpretive guidance, and provider-specific survey procedures. |
| CMS / Federal | 42 CFR Part 483, Subpart I — ICF/IID Conditions of Participation Official link | Federal ICF/IID Conditions of Participation. |
| CMS / Federal | 42 CFR §483.470 — Physical Environment Official link | ICF/IID evacuation drills, fire protection/LSC, physical-environment, and infection-control requirements. |
| CMS | State Operations Manual, Appendix J — ICF/IID Survey Guidance Official link | ICF/IID survey guidance / W-tag framework; verify current CMS posting. |
| CMS | Form CMS-2786R — 2012 LSC Health Care Occupancy Official link | Health Care Occupancy K-tag survey layer when applicable to the ICF/IID building. |

## Maine sources

| Maine DHHS/DLC | Medical Facilities — Intermediate Care Facilities for Individuals with Intellectual Disabilities Official link | Official provider page confirming Maine licensure, federal certification, §483.475, LSC, and Chapter 118 sources. |
| --- | --- | --- |
| Maine DHHS/DLC | 10-144 CMR Chapter 118 — ICF/IID Licensing Rule Official link | State ICF/IID licensing rule; emergency plan and safety/fire requirements. |
| Maine DHHS/DLC | Rules & Regulations — Intermediate Care Facilities Official link | Official State rule and CMS Appendix J resource listing. |
| Maine FMO | State Adopted NFPA Standards Official link | Current State-adopted fire/life-safety code editions. |
| Maine FMO | Rules of the State Fire Marshal Official link | State Fire Marshal rules and incorporated standards. |
| Maine CDC | Control of Notifiable Diseases and Conditions — 10-144 CMR Ch. 258 Official link | Maine reportable-disease/public-health overlay as applicable. |
| Maine Legislature | Title 5, Ch. 511 — Protection & Advocacy for Persons with Disabilities Official link | State protection-and-advocacy framework; use current designated agency/contact in the communication plan. |

## Current Maine Fire Marshal code editions — applicability varies

| Standard | Maine-published edition reviewed | Typical relevance |
| --- | --- | --- |
| NFPA 1 | 2018 | Fire Prevention Code |
| NFPA 10 | 2018 | Portable Fire Extinguishers |
| NFPA 13 / 13D / 13R | 2016 | Sprinkler installation, as applicable |
| NFPA 25 | 2014 | Water-based fire protection inspection/testing/maintenance |
| NFPA 72 | 2019 | Fire Alarm and Signaling — verify current State posting at each review |
| NFPA 80 | 2019 | Fire doors/opening protectives |
| NFPA 99 | 2021 | Health Care Facilities |
| NFPA 101 | 2018 | Life Safety Code |
| NFPA 110 | 2022 | Emergency and Standby Power Systems |

FEDERAL VS. MAINE CODE EDITIONS Federal ICF/IID requirements at §483.470(j) incorporate federal LSC/Health Care Facilities Code editions specified in federal regulation, while Maine publishes its own State-adopted NFPA editions. Facilities must evaluate each applicable Federal, State, and local layer; one edition does not automatically replace another.

## Reference-file applicability note

The supplied CMS Appendix Z file was used as the primary CMS emergency preparedness survey-guidance source. The supplied CMS-2786R was used for Health Care Occupancy K-tag references and confirms ICF/IID as a certification category under that form. Because federal ICF/IID fire protection may instead be surveyed under Residential Board and Care Occupancy depending on the facility/building, this checklist requires facilities to document the actual occupancy and survey form before applying individual K-tags.

## Facility Review / Sign-Off

| Role | Name / Signature | Date |
| --- | --- | --- |
| Emergency Preparedness Lead |  |  |
| Administrator / Executive Lead |  |  |
| QIDP / Program Lead |  |  |
| Clinical / Health Services Lead |  |  |
| Facilities / Life Safety Lead |  |  |
| Other reviewer |  |  |